
[image: image1.png]



APGCL BID DOCUMENT
Name of Work:

Major Overhauling along with Supply of Spares of the BHEL make 37.2 MW Steam Turbine (HNK 71/2.8-4, T-669) and Steam Turbine Generator (TARI 800-24P, TG1587) Unit-8 of Waste Heat Recovery Project (WHRP) at Lakwa Thermal Power Station, APGCL, Maibella.
OPEN COMPETITIVE BIDDING

(e-Procurement)

Tender No.:

APGCL/CGM (Gen)/2025-26/Major Overhauling of STG-LTPS/41
Issued by:

The Chief General Manager (Generation), 
Assam Power Generation Corporation Limited

3rd Floor, Bijulee Bhawan, Paltan Bazar, Guwahati-781001

Contents

5SECTION-I


51.
NOTICE INVITING TENDER (NIT)


6SECTION-II


62.
INSTRUCTION TO BIDDERS (ITB)


62.1
Introduction


62.2
Language of Bids


62.3
Code of Integrity


72.4
Conflict of Interest


82.5
Bidders’ Eligibility


102.6
Bidders’ Qualification


11BIDDING DOCUMENT


112.7
Content of this Bidding Document


112.8
Clarifications of Bidding Documents


112.9
Pre-Bid Meeting


112.10
Amendments to Bidding (Tender) Document


12PREPARATION OF BIDS


122.11
Documents Comprising the Technical Bid


122.12
Price Bid


122.13
Preparation and Submission of Bid


132.14
Bid Prices


132.15
Bid Currency


132.16
Documents Establishing Compliance


142.17
Documents Establishing Eligibility & Qualification of the Bidder


142.18
Period of Validity of Bids


142.19
Bid Processing Fee


142.20
Bid Security (EMD)


16OPENING OF BIDS


162.21
Extension of Due Date for Submission of Bids


162.22
Opening of Bids


16EVALUATION AND COMPARISON OF BIDS


162.23
Confidentiality


162.24
Preliminary Examination of Bids


172.25
Clarification of Bids


172.26
Immaterial Non-conformities in Bids


172.27
Determination of Responsiveness


182.28
Non-conformities, Errors, and Omissions.


182.29
Evaluation and Comparison of Bids.


182.30
Right to Accept or Reject any or all Bids


18AWARD OF CONTRACT


182.31
Award of Contract


192.32
Notification of Award


192.33
Performance Security


192.34
Signing of Contract


20SECTION-III


203.
Evaluation and Qualification Criteria


203.1
Evaluation Criteria & Methodologies


203.2
Qualification Criteria


22SECTION-IV


224.
Schedule of Requirements:


37SECTION-V


375.
Bidding Forms


375.1
Letter of Bid


395.2
Bidder Information Form


415.3
Letter of Authorization


425.4
Details of Orders


435.5
Financial Strength of the Bidder


445.6
Power of Attorney for Signing of Bid


455.7
Undertaking by the Bidder


465.8
Bank Guarantee Format for Bid Security (EMD)


485.9 Statutory Tax Compliance


495.10
Checklist of Documents


50SECTION-VI


506.
General Terms and Conditions (GTC):


506.1
Firm Price:


506.2
Performance Security Deposit:


516.3
Packing:


516.4
Insurance:


526.5
Clarification and Additional Information:


526.6
Precautions to be Taken During Execution of Work:


526.7
Liability for Accident and Damage:


526.8
Acceptance of the Order/LOA:


526.9
Force Majeure:


536.10
Settlement of Disputes:


546.11
Legal Jurisdiction:


546.12
Mistakes/Errors in submitted Bid:


546.13
Indemnification:


546.14
Subletting Contract:


546.15
Variation of Quantity:


546.16
Co-Operation with Other Contractors:


546.17
Contractual Failure:


546.18
Rejection:


556.19
Deduction from Contract Price:


556.20
Death, Bankruptcy etc.:


556.21
Regulation of Local Authorities:


556.22
Suspension Of Business Dealings with Firms/Contractors:


566.23
Banning Of Business Dealings with Firms/ Contractors:


566.24
Language:


566.25
Joint Venture or Consortium:


576.26
Nationality and Country of Origin Requirements:


576.27
Tax and Duty Responsibility.:


576.28
Inspection & Testing:


586.29
Confidential Information:


596.30
Limitation of Liability:


596.31
Copyright:


60SECTION VII


607.
Special Terms and Conditions (STC)


607.1
Terms of Payment


607.2
Warranty Clause:


617.3
Work Completion Period:


627.4
Liquidated Damage (LD):


627.5
Technical Documents:


627.7
Cyber Security Clause:


637.8
Mandatory documents:




SECTION-I

1. NOTICE INVITING TENDER (NIT)

Assam Power Generation Corporation Limited

3rd Floor, Bijulee Bhawan, Paltan Bazar, Guwahati-781001

Website: - www.apgcl.org

Notice Inviting Tender
Tender Ref. No: APGCL/CGM (Gen)/2025-26/Major Overhauling of STG-LTPS/41
The Chief General Manager (Generation) APGCL hereby invites online Bids from eligible Bidders following two-bid system of bidding for “ Major Overhauling along with Supply of Spares of the BHEL make 37.2 MW Steam Turbine (HNK 71/2.8-4, T-669) and Steam Turbine Generator (TARI 800-24P, TG1587) Unit-8 of Waste Heat Recovery Project (WHRP) at Lakwa Thermal Power Station, APGCL, Maibella”.
(i) Open Competitive Bidding method shall be followed for selection of the most preferred bidder for the tendered Item(s). 
(ii) The Bidding Documents can be downloaded by any prospective bidders from the e-Procurement/e-Tender portal i.e., http://assamtenders.gov.in, free of cost.
(iii) All Bids must be accompanied by Bid Processing Fee of Rs. 18,000.00 (Rupees Eighteen Thousand only) and Bid Security (EMD) of the amount of Rs. 18,00,000/- (Rupees Eighteen Lakh only).

 No Exemptions to Bid Security (EMD) & Tender Fee is allowed in this Tender.
(iv) Bids must be submitted online on the e-Procurement portal (i.e., http://assamtenders.gov.in) on or before the due date for submission i.e., up to 12:00 Hrs of 02/03/2026.
(v) The Technical Bid will be opened online on 12:00 Hrs of 06/03/2026 and the Price Bid shall be opened online only for the technically qualified bidders. (The date of opening of the price bid shall be intimated later on the Portal).
    Chief General Manager (Gen)

APGCL, Bijulee Bhawan, Guwahati-1

SECTION-II
2. INSTRUCTION TO BIDDERS (ITB)

(Note: The Terms – ‘Bidder’, ‘Contractor’, ‘Supplier’ has been used interchangeably in this document.) 

2.1 Introduction

2.1.1 Assam Power Generation Corporation Ltd. (APGCL) is a state GENCO operating in the state of Assam and with the vision of availability of reliable and quality power at competitive rates and on a sustainable basis. 

APGCL has various gas based thermal power plants as well as hydro power plants. The Thermal Power Plants of APGCL are Lakwa Thermal Power Station, located in the District of Charaideo and Namrup Thermal Power Station, located in the District of Dibrugarh in the State of Assam. The various Hydro Plants of APGCL are Karbi Langpi Hydro Electric Power Project and Myntriang Small Hydro Electric Project, both located in the District of Karbi Anglong in the State of Assam. In addition, there are a few hydro and solar projects in pipeline/under construction of APGCL.

2.1.2 The Procuring Entity (i.e., APGCL) has issued this Bidding Document for the Supply of goods and Service as specified in “Section IV- Schedule of Requirement” in connection with the notice inviting tenders from the eligible bidders.
2.1.3 This Section provides the relevant information as well as instructions to assist prospective bidders in preparation and submission of bids. It also includes the mode and procedure to be adopted by the Procuring Entity (APGCL) for receipt and opening as well as scrutiny and evaluation of bids and subsequent placement of award of contract.
2.1.4 Before preparing and submitting the bids (Technical & Price) online at the e-Procurement portal in the prescribed manner, the bidder should read and examine all the terms and conditions, instructions, etc., contained in this Bidding Document. Failure to provide the required information or to comply with the instructions incorporated in this Bidding Document may result in rejection of bid.
2.1.5 The Bidder shall bear all costs and expenditure incurred and/or to be incurred by it in connection with its bid including preparation, mailing and submission of its bid and subsequently processing the same. The Procuring Entity (APGCL) shall, in no case be responsible or liable for any such cost, expenditure, etc., regardless of the conduct or outcome of the bidding process.

2.2 Language of Bids

Bid submitted by the Bidder and all subsequent correspondences and documents relating to the bid exchanged between the Bidder and the Procuring Entity (APGCL), shall be written in English language. However, the language of any printed literature furnished by the bidder in connection with its bid may be written in any other language, provided the same is accompanied by a self-certified English translation and, for purposes of interpretation of the bid, the English translation shall prevail.

2.3 Code of Integrity

2.3.1 The Procuring Entity (APGCL) and all its officials or employees, whether involved in the procurement process or otherwise, or bidders and their representatives or consultants or service providers participating in a procurement process or other persons involved, directly or indirectly in any way in a procurement process shall maintain an unimpeachable standard of integrity.
2.3.2 Govt. of Assam prescribes to uphold the Code of Integrity, which prohibits officials or employees of a Procuring Entity or any person(s) participating in the bidding process, as bidder or otherwise, the following:

(i) any offer, solicitation or acceptance of any bribe, reward or gift or any material benefit, either directly or indirectly, in exchange for an unfair advantage in the procurement process or to otherwise influence the procurement process;

(ii) any omission, including a misrepresentation that misleads or attempts to mislead so as to obtain a financial or other benefit or avoid an obligation;

(iii) any collusion, bid rigging or anti-competitive behavior to impair the transparency, fairness and progress of the procurement process;

(iv) improper use of information shared between the procuring entity and the bidders with an intent to gain unfair advantage in the procurement process or for personal gain;

(v) any financial or business transactions between the bidder and any officer or employee of the Procuring Entity, who are directly or indirectly related to the tender or execution process of contract;

(vi) any coercion including impairing or harming or threatening to do the same, directly or indirectly, to any party or to its property to influence the procurement process;

(vii) any obstruction of any investigation or audit of a procurement process;

(viii) making false declaration or providing false information for participation in

a) tender process or to secure a contract;

b) disclosure of Conflict of Interest;

c) disclosure by the bidder of any previous transgressions with any entity in India or any other country during the last three years or of any debarment by any other Procuring Entity.

2.3.3 In case of any breach of the Code of Integrity by a bidder or a prospective bidder, as the case may be, the TIA (Tender Inviting Authority)/APGCL after giving a reasonable opportunity of being heard, may take appropriate measures including –

(i) exclusion of the bidder from the procurement process;
(ii) calling off pre-contract negotiations and forfeiture or encashment of bid security;
(iii) forfeiture or encashment of any other security or bond relating to procurement;
(iv) recovery of payments made by the Tender Inviting Entity (APGCL) along with interest thereon at bank rate;
(v) cancellation of the relevant contract and recovery of compensation for loss incurred by it;
(vi) Initiate available legal actions available under different laws in India.

(vii) debarment of the bidder from participation in any tender issued by the Procuring Entity (APGCL) for a period not exceeding three years.

2.4 Conflict of Interest

2.4.1 Conflict of Interest for a Procuring Entity or its personnel (i.e., officials or employees) and bidders is a situation in which a party has interests that could improperly influence that performance of its duties or responsibilities, contractual obligations, or compliance with applicable laws and regulations.

2.4.2 Govt. of Assam describes the situations in which a Procuring Entity or its personnel maybe considered to be in a situation of Conflict of Interest include, but are not limited to the following-

(i) Conflict of Interest occurs when the private interests of a Procuring Entity or its personnel, such as personal, non-official, extra-professional or other relationships or personal financial assets, interfere or appear to interfere with the proper performance of its professional functions or obligations as a procurement official.

(ii) within the procurement environment, a Conflict of Interest may arise in connection with such private interests as personal investments and assets, political or other social activities and affiliations while in the service of the Procuring Entity, employment after retirement from service or of relatives or the receipt of a gift that may place the Procuring Entity or its personnel in a position of obligation;

(iii) Conflict of Interest also includes the use of assets of the Procuring Entity including human, financial and material assets, or the use of the office of the Procuring Entity or knowledge gained from official functions for private gain or to prejudice the position of someone the Procuring Entity or its personnel does not favour;

(iv) Conflict of Interest may also arise in situations where the Procuring Entity or any of its personnel is seen to benefit directly or indirectly or allow a third party, including family, friends, or someone they favour, to benefit directly or indirectly from the decision or action of the Procuring Entity.

2.4.3 The situations in which bidders participating in a procurement process or their representatives may be in Conflict of Interest include, but are not limited to the following:

(i) If they or their personnel or representatives or agents have any relationship or financial or business transactions or interests with any official of the Procuring Entity that are directly or indirectly involved in or related to the procurement process or execution of contract;

(ii) If they receive or have received any direct or indirect subsidy from any other bidder;

(iii) If they have the same legal representative for purposes of the bid;

(iv) If they have a relationship with each other, directly or through common third parties that puts them in a position to have access to information about or influence on the bid of another;

(v) If they participate in more than one bid in the same bidding process;

(vi) If they have controlling partners in common;

(vii) If a bidder or any of its affiliates participated as a consultant in the preparation of the design or technical specifications of the subject matter of procurement of the bidding process or were involved in such preparation in anyway.

2.4.4 In case of a holding company having more than one independently manufacturing/processing/producing unit or more than one unit having common business ownership or management, only one unit shall be allowed to submit bid or quote to prevent any Conflict of Interest. Similar restrictions shall apply to closely related sister or subsidiary companies. Such bidders must proactively declare such sister or subsidiary company or common business or management units in similar lines of business.

2.5 Bidders’ Eligibility

2.5.1 Bidder shall be a single business entity (or JV/Consortium/LLP/Corporation etc.) having a formal intent and legal competency to enter into an agreement or contract.
2.5.2 The Bidder shall be one or more of the following categories of entities to be eligible to participate in the bidding process:
A1. The bidder is the Original Equipment Manufacturer (OEM) of BHEL make Steam Turbine and Generator OR Manufacturer of Capital Parts of BHEL make 30.00 MW or Higher Capacity Steam Turbine and Generator. Necessary documents to authenticate the above should be furnished in technical bid by bidder.
                                                         OR
A2. The bidder is an Erection & Commissioning/Overhauling Agency for BHEL make 30.00 MW or Higher Capacity Steam Turbine and Generator and must either possess or have access to the necessary technology/know-how for Erection & Commissioning/Overhauling of BHEL make Steam Turbine and Generator.
      Necessary documents to authenticate the above should be furnished in technical bid by bidder.
OR
A3. A Consortium / Joint Venture (JV) comprising of the following:
i) Erection & Commissioning/Overhauling Agency for BHEL make 30.00 MW or Higher Capacity Steam Turbine and Generator.
ii) OEM of BHEL make Steam Turbine and Generator OR Manufacturer of Capital Parts of BHEL make 30.00 MW or Higher Capacity Steam Turbine and Generator.
iii) Combination of any of the above. 

The Consortium /JV shall submit in technical bid their Agreement copy and other Statutory Documents clearly defining the roles, responsibilities, and scope of work of each partner.  
Site Visit Requirement: The bidder shall mandatorily undertake a site visit to LTPS prior to submission of the bid to familiarize themselves with the existing installation, site conditions, scope of work, etc. A Site Visit Certificate, duly issued by the General Manager LTPS, shall be submitted along with the Technical Bid by bidder.
Bids not accompanied by the Site Visit Certificate shall be rejected.
Documentary Requirements:

• For OEM/Manufacturer: Valid Manufacturing License/Factory Registration Certificate, indicating manufacturing address, etc.

· For Erection & Commissioning/Overhauling Service Agency: Statutory Registration Document, other Statutory Document regarding providing such service, etc.

• For JVs/Consortia: Copy of the JV/Consortium Agreement, duly signed by all members, along with relevant documents of individual partners with regards to being OEM/Manufacturer or Service Agency as mentioned in the above two points. 
The Bidder must possess required man power strength along with engineer supervisory personnel to safely & successfully carry out the Major Overhauling of the BHEL make Steam Turbine and Generator and other related works in the STG Unit etc. The minimum manpower requirement of bidder for executing the Major Overhauling work are as given below (Table-I):
Table-I

	Designation with Qualifications
	Minimum manpower requirement (nos.)
	Required Experience

	Service Engineer
(Graduate Engineer, Mechanical) 
	1
	Must have experience in carrying out Major Overhauling Works in Steam Turbine Units.

	Service Engineer
(Graduate Engineer, Electrical)
	1
	Must have experience in carrying out Major Overhauling Works in Steam Turbine Units.

	Service Engineer (Graduate Engineer, Instrumentation)
	1
	Must have experience in carrying out Major Overhauling Works in Steam Turbine Units.

	Rigger (ITI Certificate holder)
	3
	Must have experience in carrying out Major Overhauling Works in Steam Turbine Units.

	Fitter (ITI Certificate holder)
	3
	Must have experience in carrying out Major Overhauling Works in Steam Turbine Units.

	Grinder (ITI Certificate holder)
	3
	Must have experience in carrying out Major Overhauling Works in Steam Turbine Units.

	Welder (ITI Certificate holder)
	2
	Must have experience in carrying out Major Overhauling Works in Steam Turbine Units.

	Mechanic (ITI Certificate holder)
	2
	Must have experience in carrying out Major Overhauling Works in Steam Turbine Units.

	Electrician (ITI Certificate holder)
	3
	Must have experience in carrying out Major Overhauling Works in Steam Turbine Units.

	Instrumentation Fitter (ITI Certificate holder) 
	2
	Must have experience in carrying out Major Overhauling Works in Steam Turbine Units.

	Helper
	30
	Must be experience in carrying out works in similar industries.

	EOT Crane Operator
	02
	Must be experienced in operating EOT Crane. 

	Any other manpower required to carry out the work
	As per requirement.
	Bidder shall mention the same in his bid.


Bidder must submit details of the name along with qualification of their manpower to execute the Major Overhauling work as per the above list of APGCL in technical bid. Also, copies of qualification Certificates (Degree, ITI Certificates & EOT Crane Operator Certificate) of the bidder’s personnel should be attached in the technical bid.
Note: Failure to submit the manpower with required qualification as per the above list (Table-1) during execution of Major Overhauling at STG Unit of LTPS can lead to disqualification of the bidder. 
2.5.3 Bidder should not have a Conflict of Interest as prescribed and specified in ITB Para 2.4, which materially affects fair competition.
2.5.4 In addition, any bidder participating in the bidding process shall–

(i) Have fulfilled his obligation to pay such of the tax payable to the Central Government or the State Government or any local authority.
(ii) not be insolvent, in receivership, bankrupt or being wound up, not have its affairs administered by a court or a judicial officer, not have its business activities suspended and must not be the subject of legal proceedings for any of the foregoing reasons;
(iii) not have, and their directors and officers do not have, been convicted of any criminal offence related to their professional conduct or the making of false statements or misrepresentations as to their qualifications to enter into a procurement contract within a period of three years preceding the commencement of the procurement process, or not have been otherwise disqualified pursuant to debarment proceedings.
(iv) not be debarred by any Procuring Entity under the State Government, the Central Government, Autonomous body, Authority by whatever name called under them.
2.6 Bidders’ Qualification

2.6.1 Bidders should substantially meet the qualification criteria as stipulated in the “Section III - Evaluation and Qualification Criteria”.
2.6.2 Bidders should fill and submit the Forms provided in “Section V - Bidding Forms” with relevant information and supporting evidence of fulfillment of their qualification, along with the technical bid.
BIDDING DOCUMENT

2.7 Content of this Bidding Document

2.7.1 The Bidding Documents include the following Sections, which should be read in conjunction with any amendment issued in accordance with ITB Para 2.10.

(i) Section I

Notice Inviting Tender (NIT)

(ii) Section II

Instructions to Bidders (ITB)

(iii) Section III 
Evaluation and Qualification Criteria

(iv) Section IV
Schedule of Requirements

(v) Section V 

Bidding Forms

(vi) Section VI 
General Terms and Conditions (GTC)
(vii) Section VII
Special Terms and Conditions (STC)
2.7.2 Unless downloaded directly from the e-Procurement portal (assamtenders.gov.in), the Procuring Entity (APGCL) shall not be responsible for the correctness of the Bidding Document, responses to requests for clarification, the Minutes of the Pre-bid meeting, if any, or amendment(s) to the Bidding Documents in accordance with ITB Para 2.10.
2.7.3 Bidders are expected to examine all instructions, forms, terms, and specifications in the Bidding Documents and to furnish with its Bid all relevant information and documents as required by the Bidding Documents.

2.8 Clarifications of Bidding Documents

2.8.1 A Bidder requiring any clarification of the Bidding Document shall communicate in writing to the Procuring Entity through email with reference to the Bidding Document at the following email Ids:
· abhijit.saha@apgcl.org
· migom.mili@apgcl.org 
The Procuring Entity (APGCL) will respond in writing to any request for clarification, provided that such a request is received well before the end date of bid submission date.

2.8.2 The Procuring Entity (APGCL) may also promptly publish a brief description of the enquiry but without identifying its source and its response at the official website/e-Procurement portal.

2.8.3 Should the clarification result in changes to the essential elements of the Bidding Documents, the Procuring Entity shall amend the Bidding Documents following the procedure given under ITB Para 2.10.

2.9 Pre-Bid Meeting

DELETED
2.10 Amendments to Bidding (Tender) Document

2.10.1 At any time prior to the due date for submission of bid, the Procuring Entity (APGCL) may amend or modify the Bidding Document by issuing amendment(s) pursuant to ITB Para 2.8 and 2.9 or for any other reason, it deemed fit.
2.10.2 Such amendment(s) will be published at the e-Procurement portal and the same shall be binding on all prospective Bidders.
2.10.3 To give reasonable time to prospective bidders to take necessary action in preparing their bids, the Procuring Entity (APGCL) may, at its discretion, extend the deadline for the submission of bids and other allied time frames, which are linked with that deadline.
2.10.4 Any Bidder who has downloaded the Bidding Documents should check the amendment(s), if any, issued on the Procurement portal. The Procuring Entity (APGCL) shall not be responsible, in any manner, if any prospective Bidder misses any amendment(s) published on the portal.
PREPARATION OF BIDS
2.11 Documents Comprising the Technical Bid

2.11.1 The bid shall be submitted online in two parts (i.e., Technical Bid & Price Bid) at the e-Procurement portal by the bidder within due date and time. The Technical Bid shall consist of the following documents:
i) “Letter of Bid” as per Form provided in Section V – Bidding Forms (Form-B1);

ii) “Bidder Information” as per Form provided in Section V: Bidding Forms (Form-B2);
iii) “Authorization Letter” (Form B3): NOT APPLICABLE.
iv) “Details of Supply and Work Done by Bidder” as per format given in Section V: Bidding Form along with supporting documents (Form-B4);
v) “Certificate on Financial Strength” of the Bidder as per format given in Section V: Bidding Forms (Form-B5) along with all supporting documents.
vi) Duly Executed “Power of Attorney” for the Authorized Signatory of the Bid as per format given in Section V: Bidding Forms (Form-B6);
vii) “Undertaking by the Bidder” as per format given in Section V: Bidding Forms (Form-B7)
viii) Self-Undertaking on Statutory Tax Compliance” as per format given in Section V: Bidding Forms (Form- B9) 

ix) “Bid Processing Fee” in accordance with ITB Para 2.19;
x) “Bid Security” furnished in accordance with ITB Para2.20;
xi) Documents establishing compliance of the product and service offered in accordance with ITB Para 2.16 and Section-IV: Schedule of Requirements. 
xii) Bidder’s Certificate of Incorporation/Registration, Article and Memorandum of Association/JV Document or any such registration document as applicable. 
xiii) Self-attested copy of PAN;
xiv) Self-attested copy of GST Registration Certificate.
xv) Audited Statement of Accounts/Chartered Accountant Certified Financial Documents (Balance Sheet, P&L Statement, Cash Flow Statement) for last three financial years ending on 31/03/2025.
xvi)  Copies of degree, ITI, EOT crane operator qualification certificates of bidder’s manpower for executing the Major Inspection Work at STG Unit at LTPS as per Table-I.
xvii) All other documents as per this Bid requirement.
xviii) “Checklist of Documents” submitted along with the Bid in the Format (Form-B10) as given in Section V: Bidding Forms
2.12 Price Bid

2.12.1 The blank Price Bid in the form of BoQ should be downloaded from the portal https://assamtenders.gov.in and saved on Bidder’s computer without changing filename otherwise price bid will not get uploaded. The Bidder should fill in the details in the same file (BoQ) and upload the same back to the portal. Hardcopy of Price bid will not be accepted.
2.12.2 Price Bid (BoQ) must be submitted online (soft copies) only on Portal. The BoQ (excel sheet available in e-procurement portal) is specific to the Bidder and is not interchangeable. The BoQ file shall be downloaded from the e-procurement portal and prices shall be quoted in the respective fields before uploading it. The Price bids submitted in any other formats will be treated as non-responsive and not considered for tabulation and comparison. The BoQ should be submitted online on the portal i.e., https://assamtenders.gov.in.
2.12.3 Price Bid shall be prepared in accordance with ITB Para 2.14.
2.13 Preparation and Submission of Bid

2.13.1 The Bidder shall prepare the Technical Bid comprising of all documents as mentioned in ITB-2.11 and any other document as requested or as required as per this tender. APGCL Bid document along with all documents submitted by the bidder against this APGCL Tender shall be signed & sealed on all pages by the competent person as named in the Power of Attorney document provided in Form B6. Also, all documents submitted by bidder against any request for shortfall documents on the Portal must be signed and sealed by the competent person as named in the Power of Attorney document provided in Form B6. Corrections in the bid such as interlineations, erasures, or overwriting shall be valid only if they are duly signed or initialed by the person signing the bid.
2.13.2 The Bidder shall submit both Technical and Price Bid online at the e-Procurement portal within due the date and time for submission.
2.13.3 The bidding documents issued by the Procuring Entity in the e-procurement portal (i.e., https://assamtenders.gov.in) will appear in the “Latest Tender”. The Bidders/Guest users can download the Bidding documents only after the due date & time of issue. The publication of the Bidding Document (i.e., Tender) will be for specific period till the due date for submission of bids after which the same will be removed from the list of “Latest Tender”.
2.13.4 Portal Registration: The bidder intending to participate in the bid is required to register in the e-Procurement portal using an active personal/official e-mail ID as his/her Login ID and attach his/her valid Digital Signature Certificate (DSC) - Class II or III to his/her unique Login ID. He/She must submit the relevant information as asked for about the bidder. The portal registration of the bidder is to be authenticated by the State Procurement Cell after verification of original valid certificates/documents.
For further details, the bidder may visit the Assam Tender Portal https://assamtenders.gov.in.
2.13.5 The bidder can download the bidding document and undertake the necessary preparatory work and thereafter upload the completed bid at their convenience before due date and time for submission.
2.13.6 The bidder shall upload technical bid in “.pdf” format.

2.14 Bid Prices

2.14.1 The prices quoted by the Bidder in the Price Bid (Price Schedule i.e., BoQ) shall conform to the requirements specified below.
2.14.2 The Bidder must quote for all items in the price schedule (BoQ). No part offer of the tender shall be accepted.
2.14.3 The price quoted by the Bidder shall be fixed (remain firm) during the Bidder’s performance of the Contract and shall not be subject to variation on any account, unless otherwise specified in this Bidding Document. The bid submitted with adjustable price quotation shall be treated as nonresponsive and shall be rejected.
2.14.4 The price offered in the Price Bid (BoQ) for the item(s) shall be based on FOR consignee location/DDP (Place of destination) price. (Any charges against Freight, Transit Insurance, Packing and Forwarding etc. shall be all inclusive).
2.14.5 The price quoted by bidder shall also be inclusive of any charges against loading/unloading, travelling expenses of Contractor’s Personnel, boarding & lodging of Contractor’s Personnel at site, etc. 
2.14.6 The bidder must unconditionally offer in the Bid to supply the goods and services as specified for each item in Section-IV: Schedule of Requirements.
2.15 Bid Currency

2.15.1 The bidder should submit its quote in Indian Rupees (INR) only.

2.15.2 Bids, where prices are quoted in any other currency, shall be treated as non-responsive and rejected.
2.16 Documents Establishing Compliance

2.16.1 The Bidder shall furnish as part of its Bid the documentary evidence that the item(s) offered by it are of correct specification and quality standard suitable for installation and use in the Steam Turbine Unit of LTPS.

2.16.2 The documentary evidence may be in the form of literature, drawings, certificate, etc.
2.17 Documents Establishing Eligibility & Qualification of the Bidder

2.17.1 To establish their eligibility in accordance with ITB Para 2.5, Bidders shall fill-up and submit all Bidding Forms and submit all requisite documents, etc. as per APGCL requirement.
2.17.2 The documentary evidence of the Bidder’s qualifications to participate in the bid and own the contract, shall be established to the Bid Evaluation Committee’s satisfaction that the Bidder meets each of the qualification criteria specified in Section-III: Evaluation and Qualification Criteria and any other criteria/clause mentioned in APGCL Bid Document.
2.18 Period of Validity of Bids

2.18.1 Bids shall remain valid for the period 180 (one hundred eighty days) from start date of online bid submission. A bid valid for a shorter period shall be rejected as non-responsive.

2.18.2 In exceptional circumstances, prior to the expiration of the bid validity period, the Procuring Entity may request bidders to extend the period of validity of their bids. The request and the responses shall be made in writing. A Bidder may refuse the request without forfeiting its Bid Security.

2.18.3 The Bidder who agrees to the extension of the period of validity of bids so requested by the Procuring Entity (APGCL) shall also extend the period of validity of bid securities submitted by them or submit new bid security to cover the extended period of validity of their bids. A bidder whose bid security is not extended, or new bid securities not submitted shall be considered to have refused the request to extend the period of validity of its bids and rejected as non-responsive. The decision of the Procuring Entity will be final and binding in this regard.
2.19 Bid Processing Fee

2.19.1 The Bidder shall furnish as part of its bid, the Bid Processing Fee (non- refundable), of the amount Rs. 18,000.00 (Rupees Eighteen Thousand only) which shall be collected online from Bidder during bid submission at https://assamtenders.gov.in. 
2.20 Bid Security (EMD)
2.20.1 The Bidder shall furnish as part of its bid, a Bid Security (EMD) of amount Rs. 18,00,000/- (Rupees Eighteen Lakh only) which shall be deposited online during bid submission at https://assamtenders.gov.in.
2.20.2 The bid security can also be submitted in the form of Bank Guarantee issued by a Scheduled Bank in India.

(i) If EMD is submitted through BG, the bidder will be required to upload the scan copy of the BG during online Bid submission and the original Hard Copy of the BG should reach APGCL HQ on or before bid opening.

2.20.3 In case, bid security is submitted in form of Bank Guarantee, it should be submitted using the format provided below in this document. The Bank Guarantee submitted as Bid Security shall be verified and confirmed from the competent authority of the concerning issuing Bank.
2.20.4 The Bid Security must remain valid for a period of one year from the start date of online submission of bid. 
2.20.5 Any bid not accompanied by a Bid Security (EMD) as specified in ITB Para 2.20 shall be rejected as non-responsive.
2.20.6 The Bid Security of unsuccessful bidder (Technically Rejected) shall be released upon completion and declaration of Technical Evaluations of the submitted bids.
2.20.7 The Bid Security of unsuccessful bidder (Technically Accepted but is/are not the L1 bidder) shall be released within 30 working days after signing of Agreement and deposit of performance security by the successful bidder.
2.20.8 The Bid Security of successful Bidders shall be released within 30 working days upon the successful Bidder’s signing the contract and furnishing the Performance Security pursuant to ITB Para 2.33 and ITB Para 2.34.
2.20.9 In case Procuring Entity (APGCL) decides to cancel the procurement process, it shall return the bid security of all bidders after the decision to cancel procurement process.
2.20.10 The Bid Security of the bidder, who withdraws its bid prior to deadline for submission of bids, in case bid withdrawal is permitted, shall be returned after the opening of the bids.
2.20.11 The Bid Security deposited by a Bidder may be forfeited in the following cases:

i) when the bidder withdraws or modifies its bid after due date for submission.
ii) when the bidder does not deposit the required performance security and/or sign the contract within the specified period; and 
iii) if the bidder breaches any provisions of Code of Integrity prescribed for bidders as per ITB Para 2.3.

2.20.12 Instructions to bidder who intends to pay the EMD (bid security) amount of the tender through Bank Guarantee (BG).
For bidders opting for payment of EMD through BG, the bidder shall follow the below steps at online portal https://assamtenders.gov.in 
· The bidder shall select the EMD exemption option as “Yes” and in the following steps shall upload the Scanned BG documents and proceed.
· If the bidder selects the EMD exemption option as “No” then the system shall prompt to pay the EMD fees online. There shall be no option to upload the scanned BG document against EMD in that case and the bidder has to pay the EMD online only. This is due to limitation/restriction of the portal. The bidder may not be able to proceed further or revert to the former menu. Hence for BG payment of EMD, the bidder shall select “YES” option.
· Since EMD exemption is not given for this tender and due to the limitation/restriction of the portal, the bidder may not be able to proceed with BG as EMD by selecting the “No EMD exemption option” of the portal, hence, the bidders are advised to proceed by selecting the EMD exemption as “Yes” in case EMD is submitted though BG.

Address to which the Original BG is to be submitted on or before Bid Opening:

The Deputy General Manager (Procurement), 

Assam Power Generation Corporation Ltd.,

3rd Floor, Bijulee Bhawan, Paltan Bazar,

Guwahati-1.

The BG shall be duly pledged in favour of the Chief General Manager (Gen), APGCL and shall be valid for 01 (one) year period from the Start Date of online Bid submission.

No interest shall be payable on such deposits.

Note: The bidder is requested to advice the Bank Guarantee Issuing Bank to comply with the following and ensure to submit, the receipt of the copy of SFMS message as sent by the issuing bank branch, along with the original bank Guarantee in APGCL’s tender issuing office:

The Bank Guarantee issued by the Bank must be routed through SFMS platform as per the following details:

I.
MT/IFN760/MT/IFN760 COV for issuing of Bank Guarantee.

II.
MT/IFFN 760/MT/IFN 767 COV for amendment of Bank Guarantee.

The above message/intimation shall be sent through SFMS by the BG issuing bank branch to Axis Bank, Paltan Bazar Branch, A/C no. 375010200007573, IFS code-UTIB0000375, Branch Address- AXIS Bank Ltd, Commercial Building, A.T. Road, Guwahati-781001, India.

BG format for EMD is given below in Section V of this document.
Note: No EMD Exemption is provided for this Tender.
OPENING OF BIDS
2.21 Extension of Due Date for Submission of Bids

2.21.1 Bids must be submitted online (on e-tender portal) within due date and time for submission of bid.   
2.21.2 The date of submission and opening of bids shall not be extended except when–

i) Sufficient number of bids have not been received within the given time and the Purchase Committee of the Procuring Entity is of the opinion that further bids are likely to be submitted if time is extended; or
ii) The Bidding Documents are required to be substantially modified because of discussions in pre-bid meeting or otherwise for any other reason and the time for preparations of bids by the prospective bidders appears to be insufficient for which such extension is required.
2.21.3 In cases where the time and date of submission of bids is extended, an amendment to the Bidding Documents shall be issued in accordance with ITB Para 2.10, in which case all rights and obligations of the Procuring Entity and Bidders previously subject to the deadline shall thereafter be subject to the deadline extended.
2.21.4 If the due date for submission of bids is not a working day, the bids shall be opened at the same time and hour on the next working day.
2.21.5 Bidder can withdraw or resubmit an online bid any time prior to the due date and time for submission of Bid (except details of online submission of Bid Security & Processing fee). In case of online resubmission of the bid, the latest submitted bid shall be available for evaluation.
2.22 Opening of Bids

2.22.1 Technical Bids submitted by the Bidders through the e-Procurement portal shall be opened online on the due date for opening of the bid.

EVALUATION AND COMPARISON OF BIDS

2.23 Confidentiality

2.23.1 Information relating to the evaluation of bids including finalization of the list of technically qualified bidders, price comparison and recommendation for award of contract, shall not be disclosed to bidders or any other persons not officially concerned with the bidding process until information on Contract Award is officially communicated to all Bidders.

2.23.2 Any effort by a Bidder to influence the officials of the Procuring Entity (APGCL) or its committee in the evaluation or contract award decisions may result in the rejection of its Bid.

2.23.3 Notwithstanding ITB Para 2.23.2, from the time of bid opening to the time of Contract Award, if any Bidder wishes to contact the officials of the Procuring Entity (APGCL) on any matter related to the bidding process, it should do so in writing.

2.24 Preliminary Examination of Bids

2.24.1 The Bid Evaluation Committee duly constituted by the Procuring Entity (APGCL) shall conduct a preliminary scrutiny of the bids at the beginning to assess the prima-facie responsiveness and record its findings thereof particularly in respect of the following:

i) That the bid is prepared in the prescribed manner and contains the documents and information as required.

ii) the bid is valid for the period, specified in the Bidding Documents.

iii) that the bid is accompanied by due Bid Security and Bid Processing Fee.

iv) That the bid is unconditional, and that the bidder has agreed to give the required performance security; and

v) whether any other conditions specified in the Bidding Documents are fulfilled.
2.25 Clarification of Bids

2.25.1 To assist in the examination, evaluation, comparison and qualification of the bids, the Bid Evaluation Committee may, at its discretion, ask any bidder in writing for clarification by a specific date regarding its bid specifically therein that if the bidder does not comply or respond by that date his bid shall be liable to be rejected. The request of the Committee for clarification and the response of the bidder thereto shall be in writing. Depending on the outcome, such bids shall be ignored or considered further.
2.25.2 Any clarification submitted by a bidder about his bid that is not in response to a request by the Committee specifically shall not be considered.
2.25.3 No substantive change to qualification information or to a submission, including changes aimed at making an unqualified bidder qualified or an unresponsive submission, responsive shall be sought, offered, or permitted under any circumstances.
2.25.4 All communication generated as above shall be included in the record of the procurement proceedings.

2.26 Immaterial Non-conformities in Bids

2.26.1 The Bid Evaluation Committee may waive non-conformities in the bid that do not constitute a material deviation, reservation or omission and deem the bid to be responsive.

2.26.2 The Bid Evaluation Committee may request the bidder to submit necessary information or documents which are historical in nature like audited statements of accounts, tax clearance certificate, PAN, etc. within a reasonable period. Failure of the bidder to comply with the request within the given time shall result in the rejection of its bid.

2.26.3 The Bid Evaluation Committee may rectify immaterial non-conformities or omissions based on the information or documentation received from the bidder under ITB Para 2.26.2.

2.27 Determination of Responsiveness

2.27.1 The Bid Evaluation Committee constituted by the Procuring Entity shall determine the responsiveness of a bid to the Bidding Documents based on the contents of the bid submitted by the Bidder;
2.27.2 A bid shall be deemed to be substantially responsive if it meets the requirements of the Bidding Documents without any material deviation, reservation, or omission where: 

(a) “deviation” is a departure from the requirements specified in the Bidding Document;
(b) “reservation” is the setting of limiting conditions or withholding from complete acceptance of the requirements specified in the Bidding Documents; and
(c) “omission” is the failure to submit part or all of the information or documentation required in the bidding documents.

2.27.3 A “material deviation, reservation, or omission” is one that,

(a) If accepted, shall: -

i) effect in any substantial way the scope, quality, or performance of the subject matter of procurement specified in the Bidding Documents; or
ii) limit in any substantial way, inconsistent with the Bidding Documents, the rights of the Procuring Entity or the obligation of the Bidder under the proposed contract; or

(b) if rectified shall unfairly affect the competitive position of other Bidders presenting responsive bids.
2.27.4 The Bid Evaluation Committee shall examine the technical aspects of the bid to confirm that all requirements of Bidding Documents have been met without any material deviation, reservation or omission.
2.27.5 The Bid Evaluation Committee shall regard a bid as responsive if it conforms to all requirements set out in the Bidding Documents, or contains minor deviations that do not materially alter or depart from the characteristics, terms, conditions and other requirements set out in the Bidding Documents, that is, there is no material deviation, or if it contains errors or oversights that can be corrected without any change in the substance of the bid;
2.27.6 Bids that are not responsive or contain any material deviation shall be rejected. Bids declared as non-responsive shall be excluded from any further evaluation.
2.28 Non-conformities, Errors, and Omissions.

2.28.1 Provided that a Bid is substantially responsive, the Bid Evaluation Committee may waive any non-conformities in the Bid.
2.28.2 Provided that a bid is substantially responsive, the Bid Evaluation Committee may request that the Bidder submit the necessary information or documentation, within a reasonable period, to rectify non-material non-conformities or omissions in the bid related to documentation requirements. Such omission shall not be related to any aspect of the price of the Bid. Failure of the Bidder to comply with the request may result in the rejection of its Bid.

2.29 Evaluation and Comparison of Bids.

2.29.1 The Evaluation Committee of the Procuring Entity (APGCL) for Evaluation of this Bid shall use the criteria and methodologies listed in this Clause/document. 
2.29.2 The Price Bid of only those bidders who are technically responsive/qualified shall be opened online for comparative evaluation.
2.29.3 Unless otherwise specified in “Section III: Evaluation and Qualification Criteria”, the evaluation shall be done on the total offered price in BOQ which shall be inclusive of Total Basic Price, Freight, Insurance, Packing and Forwarding, GST. 
(Note: Unit GST shall be quoted by bidder in BOQ.)
The responsive bidder offering lowest total price (inclusive of Total Basic Price, Freight, Insurance, Packing and Forwarding, GST etc.) shall be declared L1 (lowest) bidder. In case of tie, the bidder having highest average annual turnover in last three years shall be declared as the most preferred bidder.
2.29.4 The list of responsive and non-responsive bidder shall be published at the e-Procurement portal i.e., https://assamtenders.gov.in along with the reason for non-responsiveness.

2.30 Right to Accept or Reject any or all Bids

2.30.1 The Procuring Entity (APGCL) reserves the right to accept or reject any bid, and to cancel/annul the bidding process and reject all bids at any time prior to contract award, without thereby incurring any liability to the Bidders for which the management of the Procuring Entity shall keep record of clear and logical reasons properly for any such action/recall of bidding process. In case of cancellation / annulment, all bids submitted and specifically, bid securities, shall be promptly returned to the Bidders.
AWARD OF CONTRACT
2.31 Award of Contract

2.31.1 Subject to ITB 2.30.1, the contract shall be awarded to the lowest responsive bidder for the tendered item(s) as determined in the manner specified in ITB 2.29.

2.31.2 Procuring Entity (APGCL) shall award the tendered work to L1 bidder.

2.31.3 In case of a tie between two or more bidders in the price bid, then the bidder having highest average annual turnover during last three FY (i.e., all L1 bidders) shall be declared as most preferred bidder.
2.32 Notification of Award

2.32.1 Prior to the expiration of the period of bid validity, the Procuring Entity (APGCL) shall notify the successful Bidder, in writing, that its Bid has been accepted. The notification letter (called the “Letter of Acceptance”) shall specify the price of the goods/works/service that the Procuring Entity (APGCL) will pay the Supplier/Contractor in consideration of timely completion of contracted work (called “the Contract Price”). In addition, the contracted rate quantity to be supplied and scope of work/service to be carried out by the contracted party shall also be specified (called “the Contract Qty/Works”). APGCL will also issue a Work Order/Purchase Order containing details of the Scope of Supply & Service, Price, Terms & Conditions etc. 
2.32.2 Until a formal Contract is prepared and executed, the Letter of Acceptance/Work Order/Purchase Order shall constitute a binding Contract. In case where a Contract is not executed, the Work Order/Purchase Order shall constitute the final binding of the contract for Contractor to execute and complete.
2.32.3 Procurement Entity (APGCL) shall promptly respond in writing to any unsuccessful Bidder who, after notification of award in accordance with ITB Para 2.32.1, requests in writing the grounds on which its bid was not selected.

2.33 Performance Security

2.33.1 Within twenty-eight (28) days of the receipt of Letter of Acceptance/Order from the Procuring Entity (APGCL) or before signing of the Contract, whichever is earlier, the successful Bidder, shall furnish the Performance Security in accordance with the General Terms & Condition (GTC). 
2.33.2 Failure of the successful Bidder to submit the above-mentioned Performance Security or sign the Contract shall constitute sufficient grounds for the annulment of the award and forfeiture of the Bid Security. In that event the Procuring Entity (APGCL) may award the Contract to the next lowest evaluated Bidder, whose bid is substantially responsive, provided it agrees to lowest evaluated bid price i.e., L1 price.
2.33.3 The validity of the performance security shall be for a period of 45 (forty-five) days beyond the date of completion of all contractual obligations including warranty and maintenance obligations, if any. All claims under the warranty, etc. shall be preferred to the executants bank up to 6 (six) months from the above mentioned 45 (forty-five) days period.
2.33.4 Performance Security Deposit can also be submitted by the Contractor in the form of Fixed Deposit/Demand Draft.

2.34 Signing of Contract

2.34.1 Promptly after notification of Award/issue of Letter of Acceptance/issue of Purchase Order, the Procuring Entity may send the successful Bidder the draft Contract Agreement.

2.34.2 The successful Bidder shall sign, date, and return the contract to the Procuring Entity (APGCL) within twenty-eight (28) days of receipt of the Letter of Acceptance/Purchase Order along with required performance security.
SECTION-III
3. Evaluation and Qualification Criteria

3.1 Evaluation Criteria & Methodologies

3.1.1 Evaluation Criteria 

(i) The Procuring Entity shall use the criteria and methodologies listed in this Section/in this Document to evaluate Bids. By applying the criteria and methodologies, the TEC (Tender Evaluation Committee) shall determine the Most Advantageous Bid for Item/Schedule/Work. That is, the Bid that meets the Qualification Criteria and has been determined to be:

a) substantially responsive to the bidding document, and
b) the lowest evaluated cost for the item(s) or the Schedule, Works, as the case may be, as per ITB 2.29.

(ii) The determination of bidder quoting lowest cost shall be based on the comparison of evaluated total bid price carried out on “Delivery Duty Paid (DDP) consignee site basis”, quoted by substantially responsive bidders and shall be inclusive of all P&F, Freight, Insurance, loading/unloading charges, travelling charges, boarding, lodging, fooding charges, GST, any other tax/duties, etc. That is, L1 bidder shall be the one who quoted the lowest total price inclusive of all cost components, including GST in the BoQ (i.e., Price Bid) of the tender. 
3.2 Qualification Criteria

3.2.1 Eligibility Criteria

The Bidder shall be of the following categories of entities as mentioned in Clause 2.5 to be eligible to participate in the bidding process.
3.2.2 Required Minimum Experience 

a) The bidder must have successfully executed at least - 02 (two) nos. of Major Overhauling works of BHEL make 30.00 MW or Higher Capacity Steam Turbine and Generator within the last 05 (five) years and that STG Unit must have achieved at least 8,000 RH of successful operation following the Major Overhauling.
AND

b) The bidder must have executed at least 2 (two) nos. supply contracts for Capital Parts of BHEL make 30.00 MW or Higher Capacity Steam Turbine and Generator within the last 5 (five) years. 
In addition to the above requirement, the bidder must also fulfill any one of the following criteria:

· 1 (One) no. contract shall be of value not less than Rs. 7.00 Crore (Rupees seven crore only), OR, 

· 2 (Two) no. contracts, each of value not less than Rs. 5.00 Crore (Rupees five crore only), OR 

· 3 (Three) no. contracts, each of value not less than Rs. 4.00 Crore (Rupees four crore only).
The 05 years mentioned above shall be counted from the start date of bid submission of this e-tender.

· Bidders shall submit relevant documents in support of their past experience along with their technical bid. Such documents shall include Work Order copy, Work Completion Report and Performance Certificate of the submitted work order copy issued by Client of the bidder.

Such documents must be duly signed by an authorized representative of the client and must specify: 

· Make, Model and Capacity (MW rating) of the Steam Turbine.

· Scope and nature of the executed service/work and supply.

· Work Completion date.

· Confirmation of satisfactory performance.

· The submitted documents must also substantiate that the Steam Turbine(s) have achieved at least 8,000 RH of successful operation following the Major Overhauling. 
· Any adverse remark on the performance of the bidder, such as poor quality of materials supplied, deficient workmanship, failure to meet work schedule by the bidder, persistent delays, or failure to meet contractual obligations etc. received from any Client of the bidder may be considered as ground for disqualification of the bidder from this tender. The Purchaser (APGCL) reserves the right to reject the bid at any stage and the Purchaser’s (APGCL) decision in this regard shall be final and binding.
Note: 
In case of Joint Venture or Consortium, each member/partner must comply with the criteria as mentioned in this Clause 3.2.2: - “Required Minimum Experience” of this Tender Document. 
3.2.3 Financial Standing

(i) The Bidder must have an average annual Turnover of at least Rs. 15,00,00,000/- (Rupees Fifteen Crore only) during the 03 (three) Financial Years, FY: 2022-23, 2023-24 & 2024-25. 
(ii) The bidder should have positive Net Worth for each of the last three financial years – FY: 2022-23, 2023-24 & 2024-25. 
(iii) With regards to the above points (i) and (ii), a certified copy from the Chartered Accountant or Audited Financial Report for FY: 2022-23, 2023-24 & 2024-25 should be submitted by the bidder along with their technical bid.
(iv) This must be accompanied by relevant CA Certified/Audited financial documents viz. –Balance Sheet, Profit & Loss Statement, Cash Flow Statement, ITR, etc. of the 03 (three) financial year, FY 2022-23, 2023-24 & 2024-25 certified by Chartered Accountant.
Note: In case of Joint Venture or Consortium, each member/partner must comply with the criteria as mentioned this Clause 3.2.3: - “Financial Standing” of this Tender Document.
SECTION-IV

4. Schedule of Requirements:
Name of Work: Major Overhauling along with Supply of Spares of the BHEL make 37.2 MW Steam Turbine (HNK 71/2.8-4, T-669) and Steam Turbine Generator (TARI 800-24P, TG1587) Unit-8 of Waste Heat Recovery Project (WHRP) at Lakwa Thermal Power Station, APGCL, Maibella.
List of Materials to be supplied by Bidder for the Major Overhauling Work of the STG Unit of LTPS:
Spares for 37.2MW STG Turbine (HNK 71/2.8-4, T-669):
	Sl. No.
	Part Number
	Item Description
	Qty
	Unit

	
	
	OUTER CASING PARTING PLANE FASTENERS
	
	

	1
	HY301010172669
	STUD M80X482
	2
	NO

	2
	HY301010182669
	STUD M80X382
	4
	NO

	3
	HY301010192669
	HEXAGONAL NUT M80
	6
	NO

	4
	HY301010212669
	STUD M90X377
	28
	NO

	5
	HY301010222669
	HEXAGONAL NUT M90
	28
	NO

	6
	HY301010232669
	STUD M90X427
	14
	NO

	7
	HY301010242669
	HEXAGONAL NUT M90
	14
	NO

	
	
	INNER CASING
	
	

	8
	HY301020162669
	SEALING FIN FOR INNER CASING
	1
	SET

	9
	HY301020142669
	CAULKING WIRE FOR INNER CASING
	1
	SET

	
	
	STEAM GLANDS
	
	

	10
	HY301210002669
	FRONT LABYRINTH GLAND
	1
	NO

	11
	HY301210052669
	SEALING FIN FOR FRONT LABYRINTH GLAND
	1
	SET

	12
	HY301210072669
	CAULKING WIRE FOR FRONT LABYRINTH GLAND
	1
	SET

	13
	HY301220002669
	BALANCE PISTON GLAND
	1
	NO

	14
	HY301220082669
	SEALING FIN FOR BALANCE PISTON GLAND
	1
	SET

	15
	HY301220072669
	CAULKING WIRE FOR BALANCE PISTON GLAND
	1
	SET

	16
	HY301320102669
	REAR LABYRINTH GLAND
	1
	NO

	17
	HY301320152669
	SEALING FIN FOR REAR LABYRINTH GLAND
	1
	SET

	18
	HY301320162669
	CAULKING WIRE FOR REAR LABYRINTH GLAND
	1
	SET

	
	
	H.P. GUIDE BLADES
	
	

	19
	HY301754592669
	SEALING FIN FOR GUIDE BLADE CARRIERS
	1
	SET

	20
	HY301754612669
	CAULKING WIRE FOR GUIDE BLADE CARRIERS
	1
	SET

	
	
	BEARINGS
	
	

	21
	HY302140012669
	FRONT JOURNAL BEARING
	1
	NO

	22
	HY302150002669
	REAR JOURNAL BEARING WITH TORUS & CYL SUPPORT
	1
	NO

	23
	HY302180012669
	THRUST BEARING
	1
	NO

	
	
	OIL GLANDS
	
	

	24
	HY302320002669
	FRONT OIL GLAND
	1
	NO

	25
	HY302320032669
	SCRAPER RING FOR FRONT OIL GLAND
	5
	NO

	26
	HY302330002669
	REAR-FRONT OIL GLAND
	1
	NO

	27
	HY302330032669
	SCRAPER RING FOR REAR-FRONT OIL GLAND
	7
	NO

	28
	HY302340002669
	REAR-REAR OIL GLAND
	1
	NO

	29
	HY302340052669
	SCRAPER RING FOR REAR-REAR OIL GLAND
	7
	NO

	
	
	FRONT BEARING PEDESTAL CONNECTING PARTS
	
	

	30
	HY302360012669
	PARALLEL KEY
	4
	NO

	31
	HY302360022669
	PLATE 
	2
	NO

	32
	HY302360032669
	SLIDING PIECE 
	4
	NO

	33
	HY302360042669
	CAP SCREW
	4
	NO

	34
	HY302360052669
	WASHER SPRING
	4
	NO

	35
	HY302360062669
	HEX SCREW
	4
	NO

	36
	HY302360072669
	WASHER MCD
	4
	NO

	37
	HY302360082669
	WASHER
	2
	NO

	38
	HY302360092669
	DISC
	2
	NO

	39
	HY302360112669
	PLATE 
	2
	NO

	40
	HY302360122669
	HEX.HD.BOLT
	2
	NO

	41
	HY302360142669
	WASHER
	2
	NO

	42
	HY302360162669
	DISC SPRING
	10
	NO

	43
	HY302360172669
	WASHER
	2
	NO

	44
	HY302360182669
	DISC
	2
	NO

	45
	HY302360192669
	PLATE 
	2
	NO

	46
	HY302360212669
	WASHER
	2
	NO

	47
	HY302360222669
	PLATE 
	6
	NO

	48
	HY302360232669
	HEX.SOC.HD.CAP SCREW
	12
	NO

	49
	HY302360242669
	SPRING WASHER
	12
	NO

	50
	HY302360372669
	DISC SPRING
	6
	NO

	
	
	HP STOP VALVE
	
	

	51
	HY305020042669
	VALVE CONE
	1
	NO

	52
	HY305020052669
	PACKING RING
	1
	NO

	53
	HY305020062669
	SEGMENT RING
	1
	NO

	54
	HY305020152669
	PACKING RING
	1
	NO

	55
	HY305020162669
	BUSH
	1
	NO

	56
	HY305020172669
	BUSH
	1
	NO

	57
	HY305020182669
	BUSH
	1
	NO

	58
	HY305020232669
	VALVE SPINDLE
	1
	NO

	59
	HY305020242669
	THREADED BUSH
	1
	NO

	60
	HY305020262669
	PACKING RING
	5
	NO

	61
	HY305020292669
	BUSH
	1
	NO

	62
	HY305020312669
	PACKING
	1
	NO

	63
	HY305020322669
	PACKING
	1
	NO

	64
	HY305020352669
	PISTON SPINDLE
	1
	NO

	65
	HY305020552669
	TAR PTFE ABSTRIEFER
	1
	NO

	66
	HY305020612669
	TURCON STEP SEAL
	3
	NO

	67
	HY305020622669
	TOROIDAL SEALING RING ID 61
	1
	NO

	68
	HY305020632669
	TOROIDAL SEALING RING ID 54
	1
	NO

	69
	HY305020682669
	TOROIDAL SEALING RING ID 400
	1
	NO

	
	
	HP STOP VALVE OIL ACTUATOR/CYLINDER
	
	

	70
	HY305030142669
	HELICOIL INSERT
	3
	NO

	71
	HY305030152669
	SEALING WASHER
	2
	NO

	72
	HY305030172669
	CYL COMPRESSION SPRING
	1
	NO

	73
	HY305030192669
	TOROIDAL SEALING RING ID 440
	1
	NO

	74
	HY305030212669
	TOROIDAL SEALING RING ID 460
	1
	NO

	
	
	LP STOP VALVE
	
	

	75
	HY305540042669
	VALVE SEAT
	1
	NO

	76
	HY305540052669
	VALVE CONE
	1
	NO

	77
	HY305540062669
	VALVE SPINDLE
	1
	NO

	78
	HY305540072669
	THREADED BUSH
	1
	NO

	79
	HY305540082669
	BUSH
	1
	NO

	80
	HY305540092669
	BUSH
	2
	NO

	81
	HY305540112669
	BUSH
	1
	NO

	82
	HY305540232669
	TURCON STEP SEAL
	2
	NO

	83
	HY305540242669
	TOROIDAL SEALING RING ID94
	2
	NO

	84
	HY305540252669
	TAR PTFE ABSTRIEFER
	1
	NO

	85
	HY305540262669
	TOROIDAL SEALING RING ID 340
	1
	NO

	86
	HY305160002669
	STEAM STRAINER
	1
	NO

	
	
	LP STOP VALVE OIL ACTUATOR/CYLINDER
	
	

	87
	HY305070262669
	SEALING WASHER 1
	1
	NO

	88
	HY305070272669
	SEALING WASHER 2
	2
	NO

	89
	HY305070282669
	SEALING WASHER 3
	3
	NO

	90
	HY305070292669
	SEALING WASHER 4
	1
	NO

	91
	HY305070312669
	CYL COMPRESSION SPRING
	1
	NO

	92
	HY305090002669
	STEAM STRAINER
	1
	NO

	
	
	H.P. GOVERNING VALVE
	
	

	93
	HY305460022669
	VALVE CONE I
	1
	NO

	94
	HY305460032669
	VALVE CONE II
	1
	NO

	95
	HY305460052669
	VALVE SPINDLE
	2
	NO

	96
	HY305470042669
	BUSH
	2
	NO

	97
	HY305460102669
	VLV SPINDLE PACKING ASSEMBLY
	2
	SET

	98
	HY305470162669
	DEVA SWIVEL BEARING 50
	2
	NO

	99
	HY305470182669
	CIRCLIP
	4
	NO

	100
	HY305470222669
	DU-BUSH
	4
	NO

	101
	HY305470252669
	CYL COMPRESSION SPRING
	2
	NO

	102
	HY305470322669
	DISC SPRING
	4
	NO

	103
	HY305470332669
	FORK
	2
	NO

	104
	HY305470342669
	BUSH
	1
	NO

	105
	HY305470352669
	BUSH
	1
	NO

	106
	HY305470362669
	DEVA SWIVEL BEARING 60
	2
	NO

	107
	HY305470412669
	CIRCLIP
	2
	NO

	108
	HY305470422669
	DEVA SWIVEL BEARING 50
	2
	NO

	109
	HY305470442669
	CIRCLIP
	4
	NO

	110
	HY305460522669
	DISC SPRING
	40
	NO

	111
	HY305460552669
	CIRCLIP
	2
	NO

	112
	HY305460562669
	SPHERICAL PLAIN BEARING
	1
	NO

	
	
	L.P. GOVERNING VALVE
	
	

	113
	HY305480022669
	VALVE CONE
	1
	NO

	114
	HY305480042669
	BUSH
	1
	NO

	115
	HY305480102669
	VALVE GUIDE ASSY. 
	1
	SET

	116
	HY305480142669
	BUSH
	1
	NO

	117
	HY305480172669
	BUSH
	2
	NO

	118
	HY305480182669
	BUSH
	2
	NO

	119
	HY305480192669
	VALVE SPINDLE 
	1
	NO

	120
	HY305480212669
	WASHER
	1
	NO

	121
	HY305480222669
	THREADED RING
	1
	NO

	122
	HY305480232669
	WASHER
	1
	NO

	123
	HY305480242669
	BUSH
	2
	NO

	124
	HY305480262669
	PACKING BUSH
	1
	NO

	125
	HY305480292669
	THREADED BUSH
	1
	NO

	126
	HY305480402669
	VLV SPINDLE PACKING ASSEMBLY
	1
	SET

	127
	HY305480842669
	LEVER JOINTING HEAD
	2
	NO

	128
	HY305480862669
	DU-BUSH
	2
	NO

	129
	HY305480872669
	DU THRUST WASHER
	2
	NO

	130
	HY305480892669
	CIRCLIP
	6
	NO

	131
	HY305480922669
	CLAMPING SLEEVE
	4
	NO

	132
	HY305480932669
	SEALING WASHER
	1
	NO

	133
	HY305480942669
	SEALING WASHER
	1
	NO

	134
	HY305480952669
	SEALING WASHER
	1
	NO

	135
	HY305481062669
	SPHERICAL PLAIN BEARING
	1
	NO

	136
	HY305481132669
	DISC SPRING
	40
	NO

	
	
	HP PILOT VALVE
	
	

	137
	HY306030022669
	HELICOIL INSERT
	4
	NO

	138
	HY306030032669
	HELICOIL INSERT
	6
	NO

	139
	HY306030042669
	HELICOIL INSERT
	22
	NO

	140
	HY306030052669
	CONTROL BUSH
	1
	NO

	141
	HY306030112669
	BUSH
	1
	NO

	142
	HY306030132669
	BUSH
	1
	NO

	143
	HY306030202669
	CONTROL SLIDE
	1
	NO

	144
	HY306030282669
	SINGLE THRUST BALL BEARING
	1
	NO

	145
	HY306030312669
	CYL COMPRESSION SPRING
	1
	NO

	146
	HY306030352669
	TOROIDAL SEALING RING ID28
	1
	NO

	147
	HY306030432669
	VENT FILTER
	1
	NO

	148
	HY306030462669
	TOROIDAL SEALING RING ID16
	1
	NO

	149
	HY306030512669
	TURCON STEP SEAL
	1
	NO

	150
	HY306030522669
	ABSTREIFER
	1
	NO

	
	
	LP PILOT VALVE
	
	

	151
	HY306070052669
	CONTROL BUSH
	1
	NO

	152
	HY306070112669
	BUSH
	1
	NO

	153
	HY306070132669
	BUSH
	1
	NO

	154
	HY306070202669
	CONTROL SLIDE 22
	1
	NO

	155
	HY306070272669
	TOROIDAL SEALING RING ID 130
	2
	NO

	156
	HY306070292669
	SINGLE THRUST BALL BEARING
	1
	NO

	157
	HY306070352669
	TOROIDAL SEALING RING ID26
	1
	NO

	158
	HY306070512669
	TURCON STEP SEAL
	1
	NO

	159
	HY306070522669
	ABSTREIFER
	1
	NO

	160
	HY306070532669
	CYL COMPRESSION SPRING
	1
	NO

	161
	HY306070562669
	CYL COMPRESSION SPRING
	1
	NO

	
	
	HP SERVOMOTOR
	
	

	162
	HY306110482669
	TOROIDAL SEALING RING ID56
	4
	NO

	163
	HY306110512669
	HELICOIL INSERT
	1
	NO

	164
	HY306110522669
	CIRCLIP
	10
	NO

	165
	HY306110532669
	CIRCLIP
	3
	NO

	166
	HY306110562669
	DU-BUSH
	1
	NO

	167
	HY306110572669
	DU-BUSH
	1
	NO

	168
	HY306110582669
	DU-BUSH
	1
	NO

	169
	HY306110592669
	DU-BUSH
	1
	NO

	170
	HY306110612669
	PROTECTION ROLLER BEARING
	2
	NO

	171
	HY306110622669
	LEVER JOINTING HEAD WITH INT THREADS EF 10
	1
	NO

	172
	HY306110632669
	LEVER JOINTING HEAD WITH INT THREADS EF 10L
	1
	NO

	173
	HY306110652669
	HYDRAULIC CYLINDER
	1
	NO

	
	
	LP SERVOMOTOR
	
	

	174
	HY306120482669
	HELICOIL INSERT
	1
	NO

	175
	HY306120492669
	CIRCLIP
	2
	NO

	176
	HY306120512669
	CIRCLIP
	1
	NO

	177
	HY306120522669
	CIRCLIP
	2
	NO

	178
	HY306120532669
	CIRCLIP
	8
	NO

	179
	HY306120552669
	DU-BUSH
	3
	NO

	180
	HY306120562669
	DU-BUSH
	2
	NO

	181
	HY306120572669
	HELICOIL INSERT
	1
	NO

	182
	HY306120582669
	PROTECTION ROLLER BEARING
	2
	NO

	183
	HY306120592669
	LEVER JOINTING HEAD WITH EXT THREADS EM6
	1
	NO

	184
	HY306120612669
	LEVER JOINTING HEAD WITH EXT THREADS EM6L
	1
	NO

	185
	HY306120632669
	HYDRAULIC CYLINDER
	1
	NO

	
	
	QUICK CLOSING SLIDE VALVE
	
	

	186
	HY307340022669
	BUSH
	1
	NO

	187
	HY307340032669
	BUSH
	1
	NO

	188
	HY307340042669
	SLIDE
	1
	NO

	189
	HY307340262669
	TOROIDAL SEALING RING ID12
	1
	NO

	190
	HY307340312669
	CYL COMPRESSION SPRING
	1
	NO

	191
	HY307340322669
	CLAMPING SLEEVE 1
	1
	NO

	192
	HY307340332669
	CLAMPING SLEEVE 2
	2
	NO

	
	
	CONN. PARTS BETW. OUTER CASING & ST. INSERTS
	
	

	193
	HY307681192669
	ANGLE RING
	2
	NO

	194
	HY307681212669
	THREADED RING 
	2
	NO

	
	
	CONN.PARTS BETWEEN O.C. & B.P GLAND 
	
	

	195
	HY307680202669
	ECCENTRIC GUIDE ASSLY
	1
	NO

	196
	HY307680272669
	SPHERICAL WASHER
	4
	NO

	197
	HY307680282669
	THREADED CUP 1
	2
	NO

	198
	HY307680292669
	THREADED CUP 2
	2
	NO

	
	
	CONN. PARTS BETW. OUTER CASING & INNER CASING
	
	

	199
	HY307680402669
	ECCENTRIC GUIDE ASSLY
	1
	NO

	
	
	CONN. PARTS BETW. OUTER CASING & GBC-1
	
	

	200
	HY307681002669
	ECCENTRIC GUIDE ASSLY
	1
	NO

	201
	HY307681082669
	SPHERICAL WASHER
	4
	NO

	202
	HY307681092669
	THREADED CUP 1
	2
	NO

	203
	HY307681112669
	THREADED CUP 2
	2
	NO

	
	
	CONN. PARTS BETW. OUTER CASING & GBC-2
	
	

	204
	HY307680802669
	ECCENTRIC GUIDE ASSLY
	1
	NO

	205
	HY307680882669
	SPHERICAL WASHER
	8
	NO

	206
	HY307680892669
	THREADED CUP 1
	4
	NO

	207
	HY307680912669
	THREADED CUP 2
	4
	NO

	
	
	CONN. PARTS BETW. OUTER CASING & GBC-3
	
	

	208
	HY307680602669
	ECCENTRIC GUIDE ASSLY
	1
	NO

	209
	HY307680682669
	SPHERICAL WASHER
	8
	NO

	210
	HY307680692669
	THREADED CUP 1
	4
	NO

	211
	HY307680712669
	THREADED CUP 2
	4
	NO

	
	
	RIGID COUPLING BETWEEN TURBINE & GENERATOR
	
	

	212
	HY311070012669
	COUPLING BOLT
	12
	NO

	213
	HY311070022669
	COUPLING NUT
	12
	NO

	214
	HY311070032669
	GRUB SCREW
	12
	NO

	215
	HY311070042669
	CYLINDERICAL PIN
	12
	NO

	
	
	ADDL. SPARES
	
	

	216
	HY306140012669
	DAMPING DEVICE FOR HP SERVOMOTOR
	1
	NO

	217
	HY306150072669
	DAMPING DEVICE FOR LP SERVOMOTOR
	1
	NO

	218
	HY301320592669
	COMPENSATOR BELLOW AT TURBINE REAR HOUSING
	1
	NO

	219
	HY306560012669
	SPEED PROBE
	6
	NO

	220
	HY306670012669
	I/H CONVERTER WEATHER PROOF
	2
	NO

	221
	HY308190112669
	BEARING RTD
	10
	NO

	
	
	SOME SPECIAL TOOLS AND CONSUMABLES
	
	

	222
	
	STIRRUP FRONT SIDE
	1
	NO

	223
	
	STIRRUP REAR SIDE
	1
	NO

	224
	
	HEATING DEVICE FOR OUTER CASING BOLTS
	1
	NO

	225
	
	METALLIC O RING GASKET 8" CLASS 1500
	2
	NO

	226
	
	METALLIC O RING GASKET 6" CLASS 1500
	2
	NO

	227
	
	INSULATION (MINERAL WOOL MATTRESS: PURCHASE SPEC. TC51765
	30
	CUBIC METER

	228
	
	GASKET AND CONSUMABLES FOR HP AND LP STEAM LINE TO TURBINE CONNECTION JOINT
	1
	Lot


Spares for 37.2MW STG Generator (TARI 800-24P, TG1587):
	Sl. No.
	Part Number
	Item Description
	Qty
	Unit

	1
	HY-TG1587-13901010
	BEARING SHELL ASSEMBLY
	2
	NO

	2
	HY-TG1587-13901050
	SEALING RING FOR BEARING
	4
	NO

	3
	HY-TG1587-13901054
	SCRAPER FIN FOR BEARING
	3
	KG

	4
	HY-TG1587-13901500
	INSULATION OF BEARING
	1
	SET

	5
	HY-TG1587-14308010
	HEAT SINK
	18
	NO

	6
	HY-TG1587-14308015
	DIODE (POSITIVE) FOR ROTARY RECTIFIER
	9
	NO

	7
	HY-TG1587-14308016
	DIODE (NEGATIVE) FOR ROTARY RECTIFIER
	9
	NO

	8
	HY-TG1587-14308017
	FUSE FOR ROTARY RECTIFIER
	18
	NO

	9
	HY-TG1587-14601103
	MAGNET CATRIDGE ASSLY WITH N-POLE
	6
	NO

	10
	HY-TG1587-14601104
	MAGNET CATRIDGE ASSLY WITH S-POLE
	6
	NO

	11
	HY-TG1587-13916002
	DOUBLE BRUSH HOLDER FOR EARTHING
	2
	NO

	12
	HY-TG1587-13916003
	BRUSH DESIGN-'A' FOR EARTHING
	2
	NO

	13
	HY-TG1587-13916005
	BRUSH DESIGN-'B' FOR EARTHING
	2
	NO

	14
	HY-TG1587-13916544
	DOUBLE BRUSH HOLDER FOR EARTH FAULT MONITORING
	2
	NO

	15
	HY-TG1587-13916545
	BRUSH DESIGN-'A' FOR EARTH FAULT MONITORING
	4
	NO

	16
	HY-TG1587-13916546
	BRUSH DESIGN-'B' FOR EARTH FAULT MONITORING
	2
	NO

	17
	HY-TG1587-13918001
	FLEXIBLE PRESSURE HOSE
	2
	NO

	18
	HY-TG1587-13933001
	SPACE HEATER
	4
	NO

	19
	HY-TG1587-13506284
	RTD FOR BEARING
	4
	NO

	20
	HY-TG1587-13520021
	FIRE DETECTOR 100 DegC
	6
	NO

	21
	HY-TG1587-13520022
	FIRE DETECTOR 80 DegC
	6
	NO

	22
	HY-TG1587-13521001
	RTD FOR HOT/COLD AIR
	4
	NO

	23
	HY-TG1587-13612010
	SKID PLATE ASSEMBLY
	1
	NO

	24
	HY-TG1587-13612030
	SKID SHOE ASSEMBLY
	2
	NO

	25
	HY-TG1587-13612040
	REST ASSEMBLY
	1
	NO


Detailed Scope of Work for Major Overhauling of Steam Turbine and Turbo Generator:

1. Pre-Shutdown Activity
1.1 Operating Data Recording
1.1.1 Recording of all operating parameters at base load and no-load condition.
1.1.2 All preparatory activities related to shutdown.
1.1.3 Complete mobilization of manpower and materials at site.
1.2 Notes
1.2.1 The vendor shall visit the site prior to the start of major overhauling work of the Steam Turbine so that site conditions can be assessed appropriately for different kinds of arrangements for timely completion of the overhauling work.

1.2.2 The vendor shall submit the list of all spares required for carrying out the overhauling work with the tender documents so that necessary processing can be started at the earliest for procurement of spares.



2. Shutdown Activity – Dismantling
2.1 Turbine Shutdown and Preliminary Checks

2.1.1 Shutdown of turbine, measurement of coasting-down time, and turning gear operation for cooling.
2.1.2 Removal of insulation.
2.1.3 Disconnection of steam inlet and extraction steam lines.
2.1.4 Removal of lubricating and control oil pipes.
2.1.5 Opening of bearing housing and lifting of bearing top halves.
2.1.6 Measurement of rotor position relative to outer casing and bearing housing.
2.1.7 Measurement of radial and axial runout at shaft ends.
2.1.8 Examination and release of joint bolts.
2.1.9 Removal of locating devices; raising of outer casing top half with jacking bolts after fitting guide bars; lift-off of top half.
2.1.10 Release of inner casing bolts, guide blade carriers, shaft glands, and labyrinth seals.
2.1.11 Raising of top halves of inner casing, guide blade carriers, and gland bushes with jacking bolts; lift-off of top halves.
2.1.12 Radial runout check along full length of the shaft.
2.1.13 Lift rotor.
2.1.14 Removal of bottom halves of inner casing, guide blade carriers, and gland bushes.
2.1.15 Inspection of all parts, taking into account dismantling procedures; deciding on overhaul and repair/replacement work needed and use of spares. Dimensional inspection of all components; deciding on cleaning and further examination if required.



3. Inspection of Outer Casing
3.1 Examine casing.
3.2 Clean and examine all measuring, sealing, connection, and surfaces; check according to findings. Measure joint faces and correct as necessary.
3.3 Refit or renew seals.
3.4 Examine and free bolts and nuts.
3.5 Examine and refit pins and holes.
3.6 Measure casing holes.
3.7 Examine support surfaces of guide blade carriers and inner casing; correct as necessary.
3.8 Examine and free internal guides.
3.9 Check and readjust angle ring clearances.


4. Inspection of Inner Casing

4.1 Check parts for further service.
4.2 Clean and examine all measuring, sealing, connection, and control surfaces; check according to findings. Measure joint faces and correct as necessary.
4.3 Examine and free nuts and bolts.
4.4 Check precision holes (taper pins, parallel pins, etc.); examine and refit both if necessary.
4.5 Examine guide blades and sealing strips; replace sealing strips and blades if necessary; crack test.
4.6 If silica deposit is found on blades, clean off with grit blasting.
4.7 Examine nozzles for external damage and cracks.
4.8 Examine and measure angle ring.
4.9 Examine support and guide surfaces; smooth or renew as necessary.
4.10 Bolt inner casing together; measure horizontal and vertical casing holes.



5. Inspection of Guide Blade Carriers (1, 2, 3, etc.)

5.1 Examine parts.
5.2 Remove, inspect, and free adjusting devices; renew spherical washers.
5.3 Smooth axial and radial guide blade carrier guides.
5.4 Clean measuring, sealing, connection, and control surfaces and refit as necessary.
5.5 Examine guide blades and sealing strips and replace if necessary.
5.6 If silica deposit is found on blades, clean off with grit blasting.
5.7 Check and free nuts and bolts.
5.8 Inspect taper pins and holes; re-ream if required.
5.9 Bolt carriers together; check concentricity.



6. Inspection of Dummy Piston Labyrinth Ring

6.1 Examine sealing strips and renew if necessary.
6.2 Bolt carriers together; check concentricity.
6.3 Examine and free adjusting devices; renew spherical washers.
6.4 Smooth guides; examine spherical mounting.



7. Inspection of Gland Bushes

7.1 Check parts for further service.
7.2 Examine and clean joint faces and bolts.
7.3 Measure outside diameter of support.
7.4 Examine and free bolts, nuts, and pins.
7.5 Examine sealing strips and renew if necessary.



8. Inspection of Rotor

8.1 Clean surfaces for dimensional inspection and axial and radial runout checks.
8.2 Inspect, smooth, and measure front and rear bearing journals.
8.3 Smooth and measure thrust bearing section.
8.4 Clean and smooth bearing sealing ring section.
8.5 Radial runout check.
8.6 Examine rotor blades and sealing strips; renew sealing strips/blades if necessary.
8.7 If silica deposit is found on blades, clean off with grit blasting.
8.8 Crack test the blades.
8.9 Crack test the shaft.
8.10 Clean and smooth coupling bolt holes.
8.11 Check balancing if vibration is excessive.



9. Inspection of Front Bearings (Thrust and Journal)

9.1 Examine all parts for further service.
9.2 Clean housing; examine joints and holes; check joints for leaks and refit if necessary.
9.3 Examine and free bolts, nuts, adjusting devices, and guides; renew spherical washers.
9.4 Clean bearing sealing rings, inspect and fit new strips, refit to shaft.
9.5 Checking of bearing health by Ultrasonic Testing.
9.6 Clean and refit thrust and journal bearings.
9.7 Mount and align bearing housing on pedestal.
9.8 Visual inspection of foundations; check condition of pedestal; retighten anchor bolts.


10. Inspection of Rear Bearings (Journal)

10.1 Examine parts for further service.
10.2 Clean housing; examine joint faces and holes; check joints and leaks and refit if necessary.
10.3 Free bolts and nuts.
10.4 Checking of bearing health by Ultrasonic Testing.
10.5 Clean and refit journal bearing.
10.6 Clean and examine bearing sealing rings; fit new strips and refit to shaft.
10.7 Reassemble bearing housing.
10.8 Inspect pedestal and foundation; retighten anchor bolts.
10.9 Overhaul turning gear, including valve.



11. Reassembly of the Turbine Set

11.1 Prepare foundation deck for re-erection.
11.2 Align the turbine shaft with generator shaft.



12. Reassembly of Turbine

12.1 Assembly of inner casing; measurement of clearances and vertical alignment.
12.2 Assembly and alignment of guide blade carrier; measurement of axial and radial clearances.
12.3 Assembly of gland bushes; measurement of clearances; check axial freedom movement in all internals when fitted.
12.4 Assemble and pin top halves of inner casing, guide blade carrier, and gland bushes.
12.5 Check position of outer casing to rotor.
12.6 Tighten joint bolts of gland bushes, LP guide blade carriers, and inner casing.
12.7 Fit and tighten outer casing joint bolts according to bolt tightening protocol.
12.8 Check measurement of internal and external alignment: rotor-to-casing alignment for axial and radial and positioning in the bearing housing bores.
12.9 Coupling of turbine to generator shaft; tighten coupling bolts according to bolt tightening protocol.
12.10 Fitting of oil and steam pipework.
12.11 Closing up of bearing housing and coupling enclosures.



13. Oil System and Bearing Housing Works

13.1 Closing up of bearing housing.
13.2 Replacing oil and steam pipework.
13.3 Oil flushing.
13.4 Opening of bearing housing; removal of bearing for cleaning.
13.5 Complete assembly of front bearing; closing up; fitting of supervisory devices.
13.6 Complete assembly of rear bearing; closing up of housings; fitting of coupling enclosures.



14. Emergency Stop Valves (02 Nos.)

14.1 Remove valves; dismantle, clean, and inspect.
14.2 Examine parts for further service.
14.3 Check oil side for leaks; renew any O-ring seals.
14.4 Inspect sealing faces.
14.5 Free bolts and nuts.
14.6 Inspect valve stems and seats; check packing.
14.7 Renew and replace components as necessary.
14.8 Refit components by hand if necessary and possible.
14.9 Check re-assembly; adjust clearances.
14.10 Check position indicators or limit switches; renew if necessary.
14.11 Functional check after replacement.


15. Miscellaneous Works

15.1 Examine surrounding equipment such as oil system and governing system.
15.2 Overhaul the oil system.
15.3 Drain the oil tank; clean the strainers; inspect visually and clean.
15.4 Drain the oil coolers; remove the water boxes; withdraw the tube nest; clean; examine protective film; clean film; clean shell and water boxes; check gaskets; check inlet, outlet, and vent pipes; overhaul three-way valves; reassemble.
15.5 Open the oil filters; clean and inspect the elements; check the inlet, outlet, and vent pipes.
15.6 Clean oil pipework; examine for chafing and rubbing; repair any leaks; renew seals.
15.7 Check SJAE ejector nozzles (1st and 2nd) and replace the nozzle if necessary; also clean the condenser tubes.
15.8 Complete servicing of the nitrogen accumulator system along with supply of spares.
15.9 Servicing of HRSG and other valves along with supply of spares (list given in annexure).



16. Re-Commissioning

16.1 Checking of oil system.
16.2 Adjustment of governing system.
16.3 Checking of supervisory devices.
16.4 Checking and adjustment of supervisory protection and safety systems.
16.5 Checking of steam and oil systems for leaks.
16.6 Adjustment of all oil throttles and restrictors according to bearing temperature.
16.7 No-load trial with overspeed test.
16.8 Logging of operating data with vibration analysis for shafting, casing, and foundations.
16.9 Examination of oil and steam system pipework for satisfactory functioning.



17. Turbo Generator Works (As per OEM Manual)

17.1 Measuring insulation resistance of stator winding.
17.2 Implementation of insulation test.
17.3 Check condition of stator core.
17.4 Replace all cable lead-out plate gaskets.
17.5 Perform runout check.
17.6 Withdraw and check rotor.
17.7 Check rotor wedges and retaining rings.
17.8 Check windings and air ducts.
17.9 Measure insulation resistance of rotor winding.
17.10 Check journal surfaces.
17.11 Check rotor fans.
17.12 Check coupling flanges.
17.13 Check rotor alignment.
17.14 Check and, if required, replace bearing insulation.
17.15 Check bearing surfaces and Babbitt bonding.
17.16 Check bearing clearances.
17.17 Check seating of bearing sleeves on bearing pedestals.
17.18 Check labyrinth rings and, if required, replace seal strips.
17.19 Check condition and performance of bearing temperature monitoring system.
17.20 Check IR value of field winding, armature winding, and PMG winding.
17.21 Check ohmic resistance of field winding and PMG winding.
17.22 Check tightness of all fasteners.
17.23 Check journal surface.
17.24 Check condition of bearing Babbitt surface.
17.25 Check and ensure locking of PMG yoke to exciter frame with grub screws.



18. Air Cooler

18.1 Clean air cooler on water side.
18.2 Check condition and, if required, recondition air cooler water channels.
18.3 Dismantle air cooler; check on water and gas sides; clean if required; replace gaskets and perform pressure test.
18.4 Check cooling water inlet and outlet pipes, vent pipes, drain pipes, and mountings of all coolers.
18.5 Check condition and performance of temperature and pressure measuring devices at all coolers.
18.6 Check condition and performance of temperature gauges and alarms.
18.7 Check condition and performance of grounding brush.



19. Fixtures for Rotor Withdrawal and Reassembly (Vendor Scope)

19.1 Skid plate.
19.2 Shoe.
19.3 Rest.
19.4 Protective sheet.
19.5 Copper sheet, etc.



20. Generator Work Scope

20.1 Disassembly

20.1.1 Remove coupling guard and check runout on Gen–LGB coupling flanges. Remove GAG if applicable (Generator Auxiliary Compartment).
20.1.2 Remove exciter bearing and check runout and loading.
20.1.3 Remove exciter yoke and check runout.
20.1.4 Disassemble exciter rotor.
20.1.5 Remove generator both end covers.
20.1.6 Check fan clearances and remove fan guards.
20.1.7 Remove bearing upper housing, bearing, and check bearing and seal clearances.
20.1.8 Prepare for generator rotor thread-out.
20.1.9 Thread out rotor.
20.2 Cleaning and Inspection – Stator

20.2.1 Cleaning/varnishing of winding, core, and end covers.
20.2.2 Checking of stator core looseness, slot wedge movements, condition of teeth, rusting, etc.
20.2.3 Visual inspection of ventilation passages for any blockages.
20.2.4 Visual inspection of slot discharges.
20.2.5 ELCID test of stator core.
20.2.6 Checking of RTDs’ healthiness and replacement if required.
20.2.7 Measurement and necessary improvement of IR and PI of stator winding.
20.2.8 Checking of generator space heaters and replacement if required.
20.3 Rotor

20.3.1 Rotor cleaning, inspection, and varnishing.
20.3.2 Visual inspection of journals and polishing.
20.3.3 Conducting ultrasonic and DP tests on retaining rings, journals, and fan blades.
20.3.4 Checking of worn-out surfaces due to labyrinths/scrapers.
20.3.5 Visual inspection of rotor slot emerging faces and ventilation hole blockages.
20.4 Disassembly of Existing Exciter–PMG Set

20.4.1 Removal of existing Exciter–PMG set from Steam Turbine Generator and cleaning and inspection.
20.4.2 Checking of contacts and input pins for tolerances.
20.4.3 Checking of DC connecting leads and earth-fault monitor.
20.4.4 Inspection of yoke and armature.
20.4.5 Inspection of Permanent Magnet Generator (PMG), QA coils, main poles, and locking.
20.4.6 Checking of rotating diodes, fuses, and RC block in diode wheel.
20.4.7 Checking of armature shaft journals; polishing and cleaning.
20.4.8 Insulation checks of bearing housing of exciter and bearing pedestal.
20.4.9 Checking of exciter rotor and main rotor blue contact.
20.4.10 Measurement of PI, IR, and winding resistance.
20.5 Generator Bearings

20.5.1 Checking of general condition of bearings.
20.5.2 Blue matching/suiting and dimensional measurement of bearings.
20.5.3 Dye-penetrant (DP) testing.
20.5.4 Checking of bearing oil seals and scrapers; repair or replacement if required.
20.5.5 Checking of bearing RTDs.
20.5.6 Checking of bearing insulation; replacement if required.
20.5.7 Bearing bedding, loading, and interference checks.
20.6 Assembly

20.6.1 Install rotor.
20.6.2 Bearing loading.
20.6.3 Check alignment between generator and LGB and correct.
20.6.4 Check generator air gap and correct.
20.6.5 Install fan guards and adjust fan clearances.
20.6.6 Install end covers.
20.6.7 Check bearings and seal clearances and assemble bearing upper half housings.
20.6.8 Assembly of exciter yoke.
20.6.9 Exciter air gap checks and correction.
20.6.10 Exciter bearing loading check and correction.
20.6.11 Coupling generator to LGB.
20.6.12 Install enclosures and bus bars.
20.6.13 Install GAG if applicable.
20.6.14 Cleanup, visual inspection, pre-test, and startup checks.

All works shall be performed as per OEM guidelines.



21. Control and Instrumentation Section

21.1 Removal and re-fixing of all mounted pressure and temperature gauges in the STG. Calibration check and correction wherever required.
21.2 Removal and re-fixing of all mounted pressure and temperature switches in the STG. Calibration check and correction wherever required.
21.3 Calibration check and correction wherever required of pressure transducers.
21.4 Healthiness check of all thermocouples by measuring millivolt outputs at a range of temperatures. Inspection and replacement of junction boxes (replacement parts to be provided by APGCL).
21.5 Removal and re-fixing of vibration transducers with their cables; checking the healthiness of vibration transducers and cables.
21.6 Removal and re-fixing of STG speed probes along with their junction boxes.
21.7 Removal and re-fixing of generator bearing RTDs.
Note: For the above calibration works, the vendor shall arrange their own calibrating instruments and master gauges to LTPS site. Any additional work required to execute the above instrumentation works shall be entirely within the vendor’s scope with no additional charge.



22. Governing System and Protections (Vendor Scope)
22.1 SR IV Governor (Hydraulic Governor)

22.1.1 Check for soundness of components; replace damaged or worn-out components.
22.1.2 Check bellows for soundness with kerosene; replace if required.
22.1.3 Check spring soundness.
22.2 Amplifier Unit

22.2.1 Check freeness of sliding components; replace damaged or worn-out components.
22.2.2 Test tension springs for spring constant where facility is available; replace deviated assemblies.
22.2.3 Replace all O-rings and packings to prevent future oil leaks.
22.2.4 Replace damaged or worn-out parts if specific operational problems are observed.
22.2.5 Check spring assemblies; ensure relation between bellow lift and secondary oil pressure is as per protocol.
22.3 Servometer

22.3.1 Check freeness of sliding components; replace damaged or worn-out components if required.
22.3.2 Check soundness of axial bearing on control slide; replace if necessary.
22.3.3 When control slide is replaced, replace mating control sleeve.
22.3.4 Replace all O-rings and packings to prevent oil leaks.
22.3.5 Ensure relation between secondary oil pressure and servometer lift is established as per protocol.
22.4 Governing Valves

22.4.1 Check free operation of valve spindles; replace gland packing rings if steam leakage is observed.
22.4.2 Check blue matching of valve cones with diffusers; lap if necessary.
22.4.3 Check correct valve opening sequence and exact valve lifts; record idle lifts and correct deviations from design values.
22.4.4 Check straightness of valve spindles.
22.4.5 Replace damaged or worn-out parts.
22.5 Stop Valve

22.5.1 Ensure availability of spares before opening, especially seal rings and retaining rings.
22.5.2 Check blue matching of pilot and main valve cones with valve seat.
22.5.3 Check straightness of valve spindle.
22.5.4 Inspect all parts and replace damaged or worn-out parts.
22.5.5 Ensure tester piston is assembled in the same orientation and not reversed.
22.6 Starting Device

22.6.1 Check free operation of sliding components.
22.6.2 Replace damaged or worn-out components if problems are observed.
22.6.3 Check correct working of all protections and record.
22.6.4 Replace damaged components in protection systems if required.
22.6.5 During commissioning, ensure functioning of overspeed governor by overspeeding the machine during solo run, including testing through overspeed testing device.



23. Post-Shutdown Activity

23.1 Recording of operating parameters at full speed no-load (FSNL) and in load during trial run. The unit shall be loaded to maximum available load within 16 hours of reaching FSNL during the trial run. All operating parameters shall be within OEM limits.
23.2 Cleaning and clearing of site.
23.3 All readings, parameters, and conditions for both pre-shutdown and post-shutdown activities shall be jointly signed with APGCL.



24. Report

24.1 The contractor, after completion and proper commissioning of the unit, shall submit a detailed report on overhauling activities, including clearances, parameters, and observations.



25. Equipment, Tools, Consumables, and Manpower
25.1 Scope of Contractor

25.1.1 All tools and tackles including lifting slings/ropes, testing equipment, electrical testing equipment, measuring instruments (calibration certificates to be produced at site), repairing instruments, welding machines, and other related equipment required for major overhauling of the Steam Turbine.
25.1.2 Valid test certificates for lifting tools and equipment.
25.1.3 Consumables such as detergent, cleaning oil, cleaning compounds, DP chemicals, gases, electrodes and filler rods, M-seal, lead wires, varnishing compounds, etc., as per IS standards.
25.1.4 Complete manpower including supervisory staff and certified EOT crane operator.
25.1.5 Compressed air required for grit blasting.
25.1.6 Any additional work emerging during overhauling for successful completion of the STG shall be within contractor’s scope.
25.2 Scope of APGCL

25.2.1 LTPS, APGCL shall issue shutdown notice two weeks in advance.
25.2.2 Provide available technical literature and OEM service manuals.
25.2.3 Provide EOT crane.
25.2.4 Provide electrical power, water supply, and air supply for pneumatic tools.
25.2.5 Provide all spares directly related to the turbine and emergency stop valves.
25.2.6 Guest house accommodation for contractor’s engineers on chargeable basis.
25.2.7 Departmental quarters and barracks for skilled and unskilled labor with water and lighting on chargeable basis.

The scope of work shall ‘further’ include but not limited to: -

· Packing and loading the ordered materials by bidder.

· Safe transportation of the materials ordered to LTPS site.

· To buy Insurance against any loss & damage of the materials during transit up to LTPS site and thereafter till handover of the items to APGCL.

For visit at LTPS Site, bidder shall contact the General Manager of the Plant in advance seeking permission for such site visit.

Contact Details of the General Manager of Lakwa Thermal Power Station (LTPS) is given below: -

Mr. Janardan Das, 

General Manager, LTPS, APGCL.

Contact No.: 9435529107 (M).

Email Id: janardan.das@apgcl.org 

Consignee Address Details

The General Manager, 

Lakwa Thermal Power Station (LTPS), Maibella, APGCL.

District: Charaideo, State: Assam, PO: Suffry, PIN: 785689
Contact No.: 9435529107 (M).

Email Id: janardan.das@apgcl.org 

SECTION-V
5. Bidding Forms
Bidders shall fill-up and sign-seal and submit the below given relevant Forms – B1 to B7 and B9 & B10 in technical bid.
5.1 Letter of Bid

FORM-B1

Letter of Bid (the bidder must prepare the Letter of Bid on its letterhead clearly showing the Bidder’s complete name and address.)

Date: [insert date (as DD, MM, YYYY) of Bid Submission]

Tender Ref. No.: ______________________________________

To: 

The Chief General Manager (Gen), APGCL

3rd Floor Bijulee Bhawan

Paltanbazar, Guwahati-781001

a) We have examined and have no reservations to the Bidding Documents, including Addenda issued to Bidders;

b) We meet the eligibility and qualification criteria as set out in this Bidding Document;

c) We have submitted the required bid security (EMD) and tender processing fee as stated in the bid document.

d) We offer to supply following tendered item(s) in conformity with all terms and conditions as specified in the Bidding Documents including the quantity, quality standard and delivery conditions, etc., as specified in the bid document under scope of work:
	Sl.

No.
	Name of the Item(s)


	Description
	Remarks

	1
	
	
	

	2
	
	
	

	3
	
	
	

	4
	
	
	


e) We have submitted both technical and price bid for above mentioned items and our bid shall be valid for 180 (one hundred eighty days) from the start date of online submission of bid, and it shall remain binding upon us and may be accepted at any time before the expiration of that period.

f) If our bid is accepted, we commit to furnish a performance security in accordance with the Performance Security Deposit Clause of the Bidding Document.

g) We are not participating, as a Bidder, in more than one bid in this bidding process.

h) We, along with any of our suppliers, OEM, Service Provider etc. are not debarred by any procuring entity under the State Government, the Central Government or any State Government or any Public Undertaking, Autonomous Body, Authority by whatever name called under them;

i) We hereby certify that we have taken steps to ensure that no person acting for us or on our behalf will engage in any activities which is in contravention of the Code of Integrity proscribed in the Bidding Documents;

j) We hereby certify that we are neither associated nor has been associated directly or indirectly with any personnel/official or any other entity that has prepared the specifications and other documents for the subject matter of procurement;

k) We hereby certify that we have fulfilled our obligations to pay all such taxes as payable to the Central Government or the State Government or any local authority;

l) We hereby certify that we are not insolvent, in receivership, bankrupt or being wound up, not have its affairs administered by a court or a judicial officer, not have its business activities suspended and must not be the subject of legal proceedings for any of the foregoing reasons;

m) We hereby certify that our directors and officers have not been convicted of any criminal offence related to their professional conduct or the making of false statements or misrepresentations as to their qualifications to enter into a procurement contract within a period of three years preceding the commencement of the procurement process, or not have been otherwise disqualified pursuant to debarment proceedings;

n) We understand that this bid shall constitute a binding contract between us, until a formal contract is prepared and executed; and

o) We understand that you are not bound to accept the lowest evaluated bid or any other bid that you may receive.

Name of the Bidder SHAPE  \* MERGEFORMAT 



Name of the person duly authorized to sign the Bid on behalf of the Bidder

Title of the person signing the Bid SHAPE  \* MERGEFORMAT 



Signature of the person named above SHAPE  \* MERGEFORMAT 



5.2 Bidder Information Form

FORM-B2

Bidder Information

 [The Bidder shall fill in this Form in accordance with the instructions indicated below. No alterations to its format shall be permitted and no substitutions shall be accepted.]

Date: [insert date (as DD, MM, YYYY) of Bid Submission] 

Tender Ref. No.: _________________________________________

	1. Bidder’s Name [insert Bidder’s legal name]

	2. Bidder’s year of registration/incorporation: [insert Bidder’s year of registration/incorporation]

	3. Bidder’s Address: [insert Bidder’s legal address]

	4. Activities Undertaken by the Bidder:

	5. Bidder’s Authorized Representative Information

a) Name: [insert Authorized Representative’s name]
b) Address: [insert Authorized Representative’s Address]
c) Telephone/Fax numbers: [insert telephone/fax numbers]

d) Email Address: [insert Authorized Representative’s email address]


	6. Details of the Manufacturer and the Production/Processing facility from where the offered goods/item(s) have been produced and processed.

Sl.

No.

Name of the Goods/Item(s) offered

Name of the Manufacturer 

Details of the Production Facility

Details of the Manufacturing License 

1

2

3

4

5

6

7



	7. Years of experience in similar line of activity:



	8. List of clients in Govt/Public Sector to whom supply has been done in last three years:



	9. Details of the Bank Account:

(i) Name of the Bank:

(ii) Type of Account:

(iii) Account Number:

(iv) IFSC:




· Copy of Manufacturing License is to be enclosed along with the Technical Bid.
Signature of the Bidder/ Authorized Signatory

(Name, Address & Designation)

5.3 Letter of Authorization                                                  
FORM-B3
NOT APPLICABLE

-----------
5.4 Details of Orders

FORM- B4
Name of the Bidder: ____________________________

Tender Reference No._____________________________

	Name of the Client 
	Order No. and Date
	Description of the Goods Supplied & Work Executed
	Value of Order
	Quantity


	Reason for delay in completion, if any.

	1
	2
	3
	4
	5
	6

	
	
	
	
	
	


        Signature 

                 (Bidder/ Authorised Representatives)

The Bidder shall also furnish the following documents in connection with their past performance:

i) Copy of Orders.
ii) Documentary evidence (Client’s certificate) in support of satisfactory completion of contract: Work Completion Report and Performance Certificate.

5.5 Financial Strength of the Bidder

FORM-B5
Certificate on Financial Strength

(On the letterhead of Chartered Accountant/Statutory Auditor)

We/I have verified the Audited Financial Statement of Accounts and other documents of…………………….. having registered office at …………. pertaining to the financial year 2022-23, 2023-24 and 2024-25. Based on our verification of the aforesaid statements and records, we certify that the following details are true to the best of our information and according to the explanation given to us.
(Amount in INR Lakhs)
	Financial Information
	Financial Year
	Average

	
	2022-23
	2023-24
	2024-25
	

	
	Audited
	Audited
	Audited
	

	Total Turnover 
	
	
	
	

	Turnover from Similar Business
	
	
	
	

	Net worth
	
	
	
	


I/We also certify that the Bidder is in similar business for more than three years as on due date of submission of bid.

Date:   
                                                                                                                                      Signature and seal of the CA firm

Place:    

UDIN:……………………………………………….           

Note:   

a) The bidder must furnish CA Certified/Audited financial statements for the above-mentioned financial years.

b) Similar business shall include ………………………

5.6 Power of Attorney for Signing of Bid

FORM-B6
Format for Power of Attorney for Signing of Application
(On a Stamp Paper of Rs 100/-)
We, …………………………………………………. [name and address of the registered office] do hereby constitute, appoint and authorize Mr. / Ms. ………………………………(name and residential address) who is presently employed with us and holding the position of …………………………………………….as our attorney, to do in our name and on our behalf, all such acts, deeds and things necessary in connection with or incidental to our response to the Tender for _______[insert Name of the Work] including signing and submission of all documents and providing information to the Client (i.e. [insert name of the Bid Inviting Entity]) and its officials or representatives, representing us in all matters before Client, and generally dealing with Client in all matters in connection with our bid response. 
We hereby agree to ratify all acts, deeds and things lawfully done by our said attorney pursuant to this Power of Attorney and that all acts, deeds and things done by our aforesaid attorney shall and shall always be deemed to have been done by us. Dated this the _______ day of _______2025
For _________________________
(Signature)

(Name, Designation and Address)
Accepted
_________________________(Signature)
(Name, Title and Address of the Attorney)

Date: __________
Note:
i. The mode of execution of the Power of Attorney should be in accordance with the procedure, if any, as laid down by the applicable law and the charter documents of the executants(s) and when it is so required the same should be under common seal affixed in accordance with the required procedure.

ii. In case an authorized Director or key officials of the Applicant signs the Application, a certified copy of the appropriate resolution/document conveying such authority may be enclosed in lieu of the Power of Attorney. 

iii. In case the Application is executed outside India, the Applicant must get necessary authorization from the Consulate of India. The Applicant shall be required to pay the necessary registration fees at the office of Inspector General of Stamps.

5.7 Undertaking by the Bidder

FORM-B7
Affidavit

(To be submitted on non-judicial stamp paper of minimum Rs 50/- duly certified by Notary)
We, M/s. ……………… (the Bidder), (the names and addresses of the registered office) hereby certify and confirm that:
(i) We or any of our promoter(s) /director(s)/partner(s) are not blacklisted or otherwise disqualified pursuant to any debarment proceedings by any Central or State Government, Local Government or Public Sector Undertaking in India from participating in any bidding process, either individually or as member of a consortium as on the_______ (Date of Signing of Bidder).
(ii) We are not insolvent, in receivership, bankrupt, being wound up, having our affairs administered by a court or a judicial officer, having our business activities suspended or subject of legal proceedings for any of the foregoing reason;
(iii) We or any of our promoter(s), director(s), partner(s) and officers are not convicted of any criminal offence related to their professional conduct or the making of false statements or misrepresentations as to their qualifications to enter into a procurement contract within a period of three years preceding the commencement of the procurement process. 
(iv) There is no conflict of interest in submitting this Bid.
(v) We shall abide by the clauses/ conditions of Bidding Documents issued by the Procuring Entity and any amendment made thereafter.

We further confirm that, we are aware of the fact that, our Bid submitted in response of the Tender Ref. No. [insert tender number &date] for [insert the name of the Goods/subject matter of the Tender], would be liable for rejection in case any material misrepresentation is made or discovered at any stage of Bid evaluation or thereafter during the agreement period.

Signature of the Bidder/Authorized Representatives
Name of the Bidder/Authorized Representatives 

5.8 Bank Guarantee Format for Bid Security (EMD)

FORMAT-B8

Format of BG for Bid Security (EMD)

(IN STAMP PAPER of Minimum Rs 100/-)
     Bank Guarantee No: ________________, Date: _____________

Bank Details: 

Guarantor: 

Tender No:

Name of Work:

Name of Bidder/Applicant:

Beneficiary: Chief General Manager (Gen),

                   Assam Power Generation Corporation Ltd. (APGCL)



      3rd Floor, Bijulee Bhawan, Paltanbazar, Guwahati – 781001, Assam.

Whereas ……………………..(Name and address of the bidder) is willing to submit their bid against the above mentioned tender no: ………………………. for ………………………….(Name of Work) invited by the beneficiary on behalf of Assam Power Generation Corporation Ltd. and as per tender/bid conditions, the applicant is required to submit a Bank Guarantee as Earnest Money Deposit.
At the request of the applicant, we as Guarantor, hereby irrevocably undertake to pay the beneficiary any sum or sums not exceeding in total an amount of Rs…………..(in numeric) (Rupees …………………….only- In words) if:

1) The bidder withdraws or amends, impairs or derogates from the bid in any respect within the period of validity of the bid.

2) The bidder fails to furnish the Performance Security for the due performance of the contract/Work Order against this tender.

3) The bidder fails or refuses to execute the contract.

We undertake to pay the beneficiary up to the above amount upon receipt of its first written demand, without the beneficiary having to substantiate its demand, provided that in its demand the beneficiary will note that the amount claimed by it due to it owing to the occurrence of one or more of the conditions, specifying the occurred condition or conditions.

This guarantee will remain in force up……………(date) i.e. for 01 (one) Year from the start date of online submission of bid up to amount Rs…………. (in numeric) (Rupees …………………….only- In words) and any demand in respect thereof should reach the bank not later than the above date. 

Notwithstanding anything contrary contained in any law for the time being in force or banking practice, this guarantee shall not be assignable or transferable by the beneficiary, notice or invocation by any person such as assignee, transferee or agent of beneficiary shall not be entertained by the bank. Any invocation of guarantee can be made only by the beneficiary directly.

Notwithstanding anything to the contrary contained herein:
1. Our liability under this bank Guarantee shall not exceed Rs………….(in numeric) (Rupees …………………….only- In words).
2. This Bank Guarantee shall be valid up to…………….(date) i.e. from 01 (one) Year from the start date of online submission of bid.
3. The beneficiary’s right as well as the Bank’s liability under this guarantee shall stand extinguished unless a written claim or demand is made under this guarantee up…………..(date) i.e. up to a period of 01 (one) Year from the start date of online submission of bid.
Dated at
this 

day of 
,2026
(Signature on behalf of the Nationalized/Scheduled Bank)

(Seal of the Nationalized/Scheduled Bank)

Address of the main Branch of the Bank……………………

Address of the BG issuing Bank…………………

5.9 Statutory Tax Compliance
Statutory Tax Compliance

Self–Undertaking for Payment of Statutory Taxes

To,

The Procuring Entity,

[Name of Department/Organization]

[Address]

Subject: Self–Undertaking regarding payment of statutory taxes before applying for tender Tender/Bid Reference No & Date: _____________________________.
a) I/We have duly paid and cleared all statutory taxes, cess, dues, and levies payable to Local Authorities, Panchayats, Municipalities, State Government, and the Central Government up to the date of this tender submission and undertake to promptly discharge any such dues that may arise during the tenure of the contract.

b) I/We shall be solely responsible for payment of all applicable taxes, including GST, duties, license fees, cess, and any other statutory liabilities arising in connection with the performance of the contract.
c) I/We undertake to immediately inform the Procuring Entity of any statutory revision, demand, or default and shall bear complete responsibility for settlement of such dues, keeping the Procuring Entity fully indemnified against any liability in this regard.

d) I/We hereby confirm that all notices, demands, or proceedings issued by any Tax Authority up to the date of this submission have been duly complied with and settled. Any outstanding demand has been disclosed to the Procuring Entity, and I/We undertake to settle the same before award of contract, keeping the Procuring Entity indemnified against any liability.

e) In case of any reduction in the rate or amount of GST, taxes, duties, or levies after the Notification of Award, the corresponding benefit shall be duly passed on to the Procuring Entity without delay.

f) This undertaking shall remain valid and binding for the entire duration of the tender evaluation and, if awarded, for the full tenure of the contract including any extensions, until its closure.

g) I/We understand that at any stage if it is found that any statement or document submitted is false/forged/invalid, the Procuring Entity has discretion to terminate the contract and proceed with alternate arrangements as per the tender’s risk purchase clause if any.

I/We declare that the above statements are true to the best of my/our knowledge and belief.
Authorized Signatory
Name: ____________________

Designation: ______________

Firm/Company Name: ________

Date: ____________________

Place: ___________________

Company Seal:

5.10 Checklist of Documents 
To be submitted along with Technical Bid by Bidder:
FORM-B10
CHECKLIST 

	Sl. No.
	Description of the Document
	Page
	Remarks (if any)

	
	
	From
	To
	

	1
	
	
	
	

	2
	
	
	
	

	3
	
	
	
	

	4
	
	
	
	

	5
	
	
	
	

	6
	
	
	
	

	7
	
	
	
	

	8
	
	
	
	

	9
	
	
	
	

	10
	
	
	
	

	11
	
	
	
	


SECTION-VI
6. General Terms and Conditions (GTC):
The bidder must adhere to the clauses of this tender document and also, the tender must be submitted as per instructions given in this document, in the absence of which the submitted tender of the bidder may not be considered for evaluation at this end. However, in case of deviation from any of APGCL’s tender document clause by the bidder, the same must be stated clearly as per the format given below:

EXCEPTION AND DEVIATION PROFORMA

	Sl. No.
	Ref of Bid Document
	Subject
	Deviation Details

	
	Page No.
	Clause No.
	
	

	
	
	
	
	


In case the bidder doesn’t state the deviation(s) clearly, it will be presumed that the bidder has accepted all terms and conditions of this tender document. Also, acceptance/rejection of bidder’s deviation(s) shall be at sole discretion of APGCL. 

The clauses under the ‘Terms & Conditions of Contract’ are given below:
6.1 Firm Price:
The basic price(s) quoted by the bidder shall be firm without any variation in any way till completion of the work in full. 
The price offered in the Price Bid (BoQ) for the item(s) shall be based on FOR consignee location/DDP {Delivery Duty Paid} (Place of destination) price. (i.e., Charges against Freight, Transit Insurance, Packing and Forwarding etc. shall be inclusive). The basic prices shall also be inclusive of any charges against loading/unloading, travelling expenses of Contractor’s Personnel, boarding & lodging of Contractor’s Personnel at site, etc. 
Unit GST shall be quoted in the BoQ.
6.2 Performance Security Deposit:

On receipt of the Letter of Acceptance/Order, the successful bidder shall have to deposit a Bank Guarantee from a Nationalized or Scheduled Bank of RBI for an amount equivalent to 10% (ten percent) of the total value of Order (including GST, etc.) as performance security, within 28 (twenty eight) days from the date of receipt of the LOA/Order or before signing of contract, whichever is earlier, duly pledged in favor of the Chief General Manager (Gen), APGCL and such security deposit shall be valid up to 45 (forty-five) days beyond the date of completion of all contractual obligations including warranty and other obligations, if any. 

If the Contractor fails or neglects to perform any of his obligations under the contract/as per order/tender, then APGCL shall have the right to forfeit either in full or in part at its absolute discretion, the security deposit furnished by the Contractor. No interest shall be payable on such deposits. 
Note: The successful bidder is requested to advise the Bank Guarantee issuing bank to comply with the following and ensure to submit, the receipt of the copy of SFMS message as sent by the issuing bank branch, along with the original bank Guarantee in APGCL’s tender issuing office:

The Bank Guarantee issued by the Bank must be routed through SFMS platform as per following details:

i.   MT/IFN760/MT/IFN760 COV for issuing of Bank Guarantee.

ii. MT/IFFN 760/MT/IFN 767 COV for amendment of Bank Guarantee.

The above message/intimation shall be sent through SFMS by the BG issuing bank branch to Axis Bank, Paltan Bazar Branch, A/C no. 37501020007573, IFS code-UTIB0000375, Branch Address- AXIS Bank Ltd, Commercial Building, A.T. Road, Guwahati-781001, India.

Apart from Bank Guarantee, Performance Security Deposit can also be submitted through Fixed Deposit (FD) and Demand Draft (DD), pledged/drawn in favor of The Chief General Manager (Gen), APGCL, Bijulee Bhawan, Paltan Bazar, Guwahati-1.  All other Terms & Conditions regarding the Performance Security Deposit shall remain the same as mentioned in the above paragraphs.

In case, performance bank guarantee, fixed deposit, demand draft (DD) is not submitted by the bidder, then 10% of the total order value (including P&F, freight insurance and taxes etc.) shall be deducted from the Bidder’s Bill/Invoice as Performance Security Deposit and this amount shall be retained by APGCL for the entire Warranty Period/Contractual Obligation Period. If the Contractor fails or neglects to perform any of his obligations under the contract/as per order/tender, then APGCL shall have the right to forfeit either in full or in part at its absolute discretion, such amount. No interest shall be payable on such deposits.

Note: The Bid Security (EMD) deposited by a Bidder may be forfeited in case the bidder does not deposit the required performance security and/or sign the contract within the specified time period.
6.3 Packing: 

The Bidder shall provide packing of the Goods as is required to prevent their damage or deterioration during transit to their destination. During transit, the packing shall be sufficient to withstand, without limitation, rough handling and exposure to extreme temperatures, salt and precipitation, and open storage. Packing case size and weights shall take into consideration, where appropriate, the remoteness of the goods’ final destination and the absence of heavy handling facilities at all points in transit. 
6.4 Insurance:
a. The Contractor shall, unless otherwise specified by the Purchaser (APGCL), insure the materials through their underwriter at their cost and shall keep it insured against any loss/damage/pilferage in transit, destruction or damage by fire/flood, exposure to vagaries of weather or through riot, civil commotion, war or rebellion, for the full value of the materials until the materials are received at the Purchaser's (APGCL) destination store and till commissioning/handover to APGCL.

b. The Contractor shall be responsible for safe arrival of the goods at destination (APGCL Store), their unloading and their receipt by the consignee. Assam Power Generation Corporation Limited will discharge consignee's responsibilities only and shall not be responsible for any damage/loss/ pilferage/ non-delivery by the carriers.

c. In case of any loss/damage/pilferage/non-delivery/short delivery by carriers etc. the supplier (Contractor) shall replace free of cost the missing/damaged/lost materials immediately/within 30 (thirty) days from the receipt of report thereof from the consignee without waiting for settlement of their claims with their carriers/ under-writers. Normally such reports from the consignee to the supplier (Contractor) shall be initiated immediately or within a period of 30 (thirty) days from the date of receipt of each consignment by him.

d. If it is considered necessary that the damaged equipment either in part or in full be sent back to the manufacturer's works for repair, the manufacturers/ suppliers (Contractor) will furnish the Bank Guarantee for the full value of equipment needing repairs and such Bank Guarantee shall remain valid till such time the equipment are repaired and returned to the consignee in good condition. The to and fro freight, handling and insurance charges in such cases will be borne by the Contractor.

e. Unless otherwise mutually agreed upon, in case of failure by the supplier to replenish/ make good of the loss/ damage/ short supplied quantities, within the stipulated period, the Purchaser (APGCL) reserves the right to forfeit the security deposit and/or adjust any outstanding payment to the Contractor with APGCL or take any other appropriate action.

f. All materials will be dispatched against clear door delivery basis unless otherwise agreed by the Purchaser (APGCL).
6.5 Clarification and Additional Information: 

During the submitted bid’s evaluation, APGCL may request the bidder for any clarification on the submitted bid and/or documents related to the tender. The bidder shall submit the sought clarifications and/or document(s) within stipulated time as determined by the undersigned. However, seeking clarification and document(s) during bid evaluation shall be on sole discretion of APGCL.
6.6 Precautions to be Taken During Execution of Work:

The Contractor shall take reasonable and statutory precaution during execution of the work at work site so as to avoid accident and damage to equipment and injury to workman and to prevent theft, pilferage etc.

6.7 Liability for Accident and Damage: 
The Contractor shall not claim for compensation arising out of any accident(s) or damages done during the course of work execution at work site & the Contractor will be responsible for paying compensation to the worker as per Workmen Compensation Act, 1923 and subsequent amendments thereof. It is further clarified that in case any payment is to be made by the Contractor under the said Workmen Compensation Act, the same shall be paid forthwith and in case of failure in making such payments APGCL shall make payment and the amount so paid shall be deducted from the bills of the Contractor.

The Contractor shall adequately insure against liability to third party, in the joint names of the Employer, the Contractor and the sub-contractor for any loss, damage, death or bodily injury which may occur to any physical property owned by others, the goods/materials of the contract or to any person which may arise out of the performance of the contract.

6.8 Acceptance of the Order/LOA:

Acceptance of the Order/LOA in writing shall be conveyed by the supplier/Contractor to the Purchaser/Employer (APGCL) within 07 (seven) days from the date of issue of the such Order/LOA failing which, it will be presumed the Contactor has accepted all the Clauses, Terms & Conditions etc. in full.

6.9 Force Majeure:

Normally, force majeure shall cover only Act of God, fire, war, riots, epidemics and act of Government, etc. Any constraints other than those specified above, will not constitute a force majeure condition. In view of other constraints beyond the control of the Contractor, primarily due to statutory compulsion, extension of delivery time may also be considered on merit of individual case. 
In case of a force majeure condition, the Contractor shall notify APGCL in writing such condition within 10 (ten) days from the beginning of such delay for consideration and acceptance. Unless otherwise directed by the Purchaser (APGCL) in writing, the Supplier (Contractor) shall continue to perform its obligations under the Contract as far as is reasonably practical and shall seek all reasonable alternative means for performance not prevented by the Force Majeure event.
6.10 Settlement of Disputes:

a. Amicable Settlement:
If any dispute or difference (s) of any kind whatsoever arise between the parties in connection with or arising out of the work/contract, including without prejudice to the generality of the foregoing, any question regarding its existence, validity or termination, or the execution of the Contract whether during the progress of the Contract or after its completion and whether before or after the termination, abandonment or breach of the Contract, the parties shall seek to resolve any such disputes or differences by mutual consultation between the authorized representatives of both the parties for amicable settlement of the dispute within a period of ninety (90) days after receipt by one party of the other party’s request for such amicable settlement.
b. Arbitration:

Any dispute, controversy or claim arising out of or relating to this work/contract or the breach, termination or invalidity thereof, that cannot be settled amicably between both the parties shall be settled by Arbitration.
In any arbitration proceeding hereunder-
a) Arbitration shall be in accordance with the Arbitration & Conciliation Act, 1996 or any statutory amendment thereof.

b) Arbitration shall be by a sole arbitrator, if agreed upon by the Parties. Failing agreement on the identity of such sole arbitrator, each Party shall appoint one arbitrator, and these two appointed arbitrators shall jointly appoint a third arbitrator, who shall chair the arbitration panel and act as the Presiding Arbitrator.

c) In an arbitration proceeding consisting of three arbitrators, if a party fails to appoint an arbitrator within 30 days from the receipt of a request to do so from the other party; or the two appointed arbitrators fail to agree on the third arbitrator within thirty days from the date of their appointment, the appointment shall be made upon request of a party by the High Court or by the President, Institution of Engineers (India), Assam State Centre.
d) In an arbitration with sole arbitrator, if the parties fail to agree on the arbitrator within 30 days from receipt of a request by one party from the other party to so agree, the appointment shall be made, upon request of a party, by the High Court or by the President, Institution of Engineers (India), Assam State Centre.

e) Proceedings shall, unless otherwise agreed by the Parties, be held in Guwahati.

f) English language shall be the official language for all purposes.

g) Decision of the sole arbitrator or of a majority of the arbitrators (or of the third arbitrator if there is no such majority) and the Arbitral Award shall be final and binding on the parties and the persons claiming under them respectively and shall be enforceable in any court of competent jurisdiction, and the Parties hereby waive any objections to or claims of immunity in respect of such enforcement.

h) The arbitrators and the parties to the arbitration shall maintain confidentiality of all arbitral proceedings except award where its disclosure is necessary for the purpose of implementation, enforcement and setting aside of the award.

i) The cost of arbitration shall be equally shared among both the parties.

6.11 Legal Jurisdiction:  

Any disputes or differences arising under, out of, or in connection with this work/contract, shall be subject to the exclusive jurisdiction of courts at Guwahati only.
6.12 Mistakes/Errors in submitted Bid: 
The Contractor shall be responsible and liable for any change in the work due to any discrepancies, errors, or omissions in the submitted bid which have arisen due to inaccurate information or particulars furnished by the Contractor, even though approved by APGCL.
6.13 Indemnification:
The Contractor shall indemnify APGCL against all claims, actions, suits and proceedings for the infringement or alleged infringement of any patent, design or copyright protected either in the country of origin or in India for the use of any equipment supplied by the Contractor but such indemnity shall not cause any use of the equipment other than for the purposes indicated by or reasonably to be inferred from the specification.
6.14 Subletting Contract: 
The Contractor shall not, without the consent in writing of APGCL assign or sublet his contract, or any substantial part thereof, or interest therein of benefit or advantage whatsoever, other than for raw materials or for minor details or for any part of the work of which the Sub-contractors are named in the tender provided any such consent shall not relieve the Contractor from any obligation, duty or responsibility under the contract.
6.15 Variation of Quantity: 
APGCL might increase or decrease the quantity of materials by 20% if so required and the bidder shall agree to the same and shall supply the materials at the same quoted rates/prices in BOQ and terms and conditions stipulated in the tender except in regard to delivery schedule/work completion period, which shall be mutually agreed upon in case of increase in the ordered quantity from that in the tender.
6.16 Co-Operation with Other Contractors: 
The Contractor shall agree to co-operate with the APGCL's other contractors for associated supplies and freely exchange with them such technical information as is necessary to obtain the most efficient and economical design and to avoid unnecessary duplication. No remuneration shall come from APGCL for such technical co-operation.
6.17 Contractual Failure: 
In the event of contractual failure of any respect on the part of the Contractor, APGCL shall be entitled to forfeit the performance security deposit or any deposit or any payment due to the Contractor from this or his other contracts, towards the recovery of APGCL's claim for damages arising out of the failure of this Contract. In addition, APGCL may black-list or ban the Contractor or pending enquiry, suspend him or take any other steps considered suitable.
6.18 Rejection: 
In the event, any of the materials supplied by the Contractor or work executed is found defective or otherwise not in conformity with the requirements of the contract/tender specifications, APGCL shall either reject the material/work or request the Contractor in writing to rectify the same. The Contractor, on receipt of such notification shall rectify or replace the defective material/rectify the defective work free of cost to APGCL. If the Contractor fails to do so, APGCL may at its option: -
(a) Replace or rectify such defective/non-conforming material/correct the defective work and recover the extra cost so involved plus 15% as overhead charge from the Contractor, or
(b) Terminate the contract for default, or
(c) Acquire the defective material at a reduced price as considered equitable under the circumstances. 

6.19 Deduction from Contract Price: 
All cost, damages or expenses which APGCL may have made for which, under the contract, the Contractor is liable, may be deducted by APGCL from any money due or becoming due by APGCL to the Contractor or may be recovered by action at law or otherwise from the Contractor.

In the event of recovery to the necessary extent becoming impossible owing to insufficiency of the earnest money/security deposit and withheld amounts, the balance due to APGCL may at the option of APGCL be recovered from any money due to the Contractor from APGCL under other contracts with the Contractor.
6.20 Death, Bankruptcy etc.: 
If the Contractor becomes bankrupt or being a corporation is in the process of winding up, amalgamation or reorganization, then APGCL shall be at liberty to: -
(a) Terminate the contract forthwith by notice in writing to the Contractor or to the liquidator or receiver or to any person in whom the contract may become vested.
(b) Give such liquidator, receiver or other person the option of carrying out the contract subject to his providing a guarantee for the due and faithful performance of the contract up to an amount to be determined by APGCL.

In case of death of the Contractor before completion of the work, then APGCL shall be at liberty to:

(a) Close up the contract and take over the completed portion of work/supply done and made as per specification and make final payment to the legal heir of the Contractor on receipt of claim from such legal heir.
(b) Give the contract to the legal heir of the Contractor subject to his depositing a performance security for the due and faithful performance of the contract. The performance security amount shall be determined by APGCL commensurate with the incomplete portion of the work/supply. APGCL will enter into a fresh contract with the legal heir of the Contractor on the same terms and conditions of the earlier contract.

6.21 Regulation of Local Authorities:
The Contractor shall abide by the regulation of local Authorities unless such regulation is repugnant to any terms of the contract agreed upon.

The Contractor is required to fulfill all criteria related to Labour Laws.

The Contractor will also comply with all regulations/directives of both State & Central Government Pollution Boards. 
6.22 Suspension Of Business Dealings with Firms/Contractors: 
APGCL may suspend business dealings with a Firm/Contractor, if:

(a) The Central Bureau of Investigation or any other investing agency recommends such a course in respect of a case under investigation; and if a prima facie case is made out that the firm is guilty of an offence involving unethical, unlawful, fraudulent means in relation to business dealings, which, if established, would result in business dealings with it being banned.
(b) APGCL has past record of non-performance of the Firm in it’s previously awarded contracts.
(c) APGCL has record of ban against the Firm by other Government / Public sector utility.
(d) However, APGCL shall give the Firm/Contractor a fair chance to explain the circumstances of such previous suspensions.
6.23 Banning Of Business Dealings with Firms/ Contractors: 
APGCL may ban business dealings with a Firm/Contractor, if:
(a) The owner (s) of the Firm/Contractor is convicted by a court of law following prosecution for offences involving unethical, unlawful, fraudulent means in relation to business dealings.
(b) There is strong justification that the Firm has been guilty of malpractices, such as, bribery, corruption, fraud, substitution of tenders, misrepresentation, evasion or habitual default in payment of any Government tax, etc.
(c) The Firm continuously refuses to return government dues without showing adequate cause and Government are reasonably satisfied that this is not due to reasonable dispute which would attract proceeding in arbitration or court of law.
(d) The Firm is found guilty of involving in unethical practices, such as:
1. "Corrupt practice" involving offering, giving, receiving or soliciting, directly or indirectly, of anything of value to influence the action of any such official procurement process or in contract execution.
2. "Fraudulent practice" involving misrepresentation or omission of facts in order to influence a procurement process or the execution of a contract to the detriment of the Employer.
3. "Collusive practice" involving a scheme among bidders (prior to or after submission) designed to establish bid prices at artificial non-competitive levels and to deprive the Employer of the benefits of free and open competition.
4. “Coercive practice” involving harming or threatening to harm directly or indirectly, persons or their property to influence procurement process or the execution of a contract.
APGCL may sanction a Firm/ Contractor or its successor, including declaring ineligible, indefinitely or for a period of not less than 3 (three) years.
6.24 Language:
Contract as well as all correspondence and documents relating to the Contract exchanged by the Contractor and the Purchaser (APGCL), shall be written in English language. Supporting documents and printed literature that are part of the Contract may be in another language provided they are accompanied by a self-certified accurate translation of the relevant passages in English language, in which case, for purposes of interpretation of the Contract, this translation shall govern.

The Contractor shall bear all costs of translation to the governing language and all risks of the accuracy of such translation, for documents provided by the Supplier.

6.25 Joint Venture or Consortium:
If the Contractor is a joint venture, or consortium, all the parties shall be jointly and severally liable to the Purchaser (APGCL) for the fulfillment of the provisions of the Contract and shall designate one party to act as a leader with authority to bind the joint venture or consortium. The composition or the constitution of the joint venture or, consortium, shall not be altered without the prior consent of the Purchaser (APGCL).
In the case of a Joint Venture: -

(a) no partner of the Joint Venture shall submit an independent bid for the same package for which the Joint Venture submits a bid as this shall constitute conflict of interest;

(b) all partners of the Joint Venture shall be jointly and severally liable for the bid and for the execution of the Contract in accordance with the terms of the contract and a relevant statement to this effect shall be submitted by them in evidence thereof;

(c) in the event of the bid of Joint Venture being accepted, they shall either form a registered Joint Venture Company or a Limited Liability Partnership, or a Partnership Firm or else the contract documents and the Joint Venture Agreement, etc. shall be duly signed and executed in such a manner as may be required for making it legally binding on all partners and clearly indicating, amongst other things, the proposed distribution of responsibilities, both financial as well as technical, for execution of the work amongst them; and

(d) the Joint Venture shall nominate a Lead Partner who shall have the authority to conduct all business for and on behalf of any or all the parties of the Joint Venture during the bidding process and during execution of the contract. This authorization shall be evidenced by submitting a power of attorney signed by the legally authorized signatories of all the partners or, otherwise, all the parties in Joint Venture shall sign the Agreement.

(e) Each partner/member of the JV/Consortium must comply with all required bidder’s qualification criteria (i.e., eligibility criteria, experience criteria etc.) independently. 
6.26 Nationality and Country of Origin Requirements:

The Contractor and its Subcontractors shall have the nationality of any country with which India has not banned trade relations.

All Goods to be supplied under the contract shall have their origin in India or any other country with which India has not banned trade relations. The term “origin” used in this clause means the place where the goods are mined, grown, produced, or manufactured or from where the related services are arranged and supplied.
6.27 Tax and Duty Responsibility.:

The Contractor shall be responsible for all taxes, duties, license fees, etc. incurred until completion of contracted work of the purchaser (APGCL).
6.28 Inspection & Testing:
6.28.1 The Contractor shall at its own expense and at no cost to the Purchaser (APGCL) carry out all such tests and/or inspections of the Offered Goods as per any Standard Practice/Requirement. 

6.28.2 The inspections and tests may be conducted on the premises of the Supplier (Contractor) or its Subcontractor, at point of delivery, and/or at the Goods’ final destination, or in another place in India. If conducted on the premises of the Supplier or its Subcontractor, all reasonable facilities and assistance including access to drawings and production data, shall be furnished to the inspectors at no charge to the Purchaser (APGCL).
6.28.3 If required, the Purchaser (APGCL) or its designated representative shall be entitled to attend the tests and/or inspections, and the Purchaser (APGCL) will bear its own costs and expenses incurred owing to traveling and board and lodging expenses only.
6.28.4 Whenever the Supplier (Contractor) is ready to carry out any such test and inspection, it shall give a reasonable advance notice, including the place and time, to the Purchaser (APGCL). The Supplier shall obtain from any relevant third party or manufacturer any necessary permission or consent to enable the Purchaser (APGCL) or its designated representative to attend the test and/or inspection.
6.28.5 The Supplier (Contractor) shall provide the Purchaser (APGCL) with a report of the results of any such test and/or inspection.

6.28.6 The Purchaser (APGCL) may reject any Goods or any part thereof that fail to pass any test and/or inspection or do not conform to the specifications. The Supplier (Contractor) shall either rectify or replace such rejected Goods or parts thereof or make alterations necessary to meet the specifications at no cost to the Purchaser (APGCL), and shall repeat the test and/or inspection, at no cost to the Purchaser (APGCL), upon giving a notice.
6.28.7 The Supplier (Contractor) agrees that neither the execution of a test and/or inspection of the Goods or any part thereof, nor the attendance by the Purchaser or its representative, nor the issue of any report, shall release the Supplier (Contractor) from any warranties or other obligations under the Contract.
6.29 Confidential Information:

a. Any information derived or otherwise communicated by the Purchaser (APGCL) to the Supplier (Contractor) in connection with the contract shall be kept/ treated as secret and shall not without written consent of the Purchaser (APGCL) be published or disclosed to any third party or made use of by the Supplier except for the purpose of execution of the contract. 
b. The Purchaser (APGCL) and the Supplier (Contractor) shall keep confidentiality and shall not, without the written consent of the other party hereto, divulge to any third party any documents, data, or other information furnished directly or indirectly by the other party hereto in connection with the Contract, whether such information has been furnished prior to, during or following completion or termination of the Contract. Notwithstanding the above, the Supplier may furnish to its Subcontractor such documents, data, and other information it receives from the Purchaser to the extent required for the Subcontractor to perform its work under the Contract, in which event the Supplier shall obtain from such Subcontractor an undertaking of confidentiality like that imposed on the Supplier under GTC Clause Copyright.
c. The Purchaser (APGCL) shall not use such documents, data, and other information received from the Supplier (Contractor) for any purposes unrelated to the contract. Similarly, the Supplier shall not use such documents, data, and other information received from the Purchaser for any purpose other than the performance of the Contract.
d. The obligation of a party under GTC Sub-Clauses 6.29 (a, b, c) above, however, shall not apply to information that:
i. the Purchaser or Supplier need to share with the such institution(s) participating in the financing of the Contract;
ii. now or hereafter enters the public domain through no fault of that party;
iii. can be proven to have been possessed by that party at the time of disclosure and which was not previously obtained, directly or indirectly, from the other party; or
iv. otherwise lawfully becomes available to that party from a third party that has no obligation of confidentiality.
e. The above provisions of GTC Clause 6.29 shall not in any way modify any undertaking of confidentiality given by either of the parties hereto prior to the date of the Contract in respect of the Supply/Work or any part thereof.
f. The provisions of GTC Clause 6.29 shall survive completion or termination for whatever reason, of the Contract.

6.30 Limitation of Liability:

Except in cases of criminal negligence or willful misconduct, the aggregate liability of the Supplier (Contractor) to the Purchaser (APGCL), whether under the Contract, in tort or otherwise, shall not exceed the total Contract Price, provided that this limitation shall not apply to the cost of replacing the substandard Goods supplied/ substandard work executed, or to any obligation of the supplier to indemnify the purchaser (APGCL) with respect to patent infringement.
6.31 Copyright:

The copyright in all drawings, documents, and other materials containing data and information furnished to the Purchaser (APGCL) by the Supplier (Contractor) herein shall remain vested in the Supplier, or, if they are furnished to the Purchaser/Authority directly or through the Supplier by any third party, including suppliers of materials, the copyright in such materials shall remain vested in such third party.
SECTION VII

7. Special Terms and Conditions (STC)
7.1 Terms of Payment:

Initial Advance of 10% of the ordered value may be release on submission of equivalent amount of Advance Bank Guarantee (ABG). The ABG should be valid till the full recovery of advance amount. Advance amount shall be adjusted @ 10% from each bill till the full recovery of the advance.
70% payment of the Supply Part (including 100% GST of the total supply part) shall be made after successful delivery and acceptance of the ordered materials at LTPS Site and subjected to fulfilment of the Performance Security Deposit Clause of this Tender. {Part Payment against partial delivery of materials at LTPS site can be made, subjected to maximum of five (05) lots}.

Balance 20% payment of the Supply Part along with the 100% Major Overhauling Charges (Service Charge) shall be made after successful completion of entire Major Overhauling works of Steam Turbine and Steam Turbine Generator Unit-8 of Waste Heat Recovery Project (WHRP), LTPS. The major overhauling work shall be considered as complete after successful 72 hours uninterrupted trial run of the Unit with all parameters showing acceptable correct values as per APGCL engineers from site and subsequent issue of Work Completion Certificate from GM, LTPS.
Final 10% payment of the Supply Part shall be made on submission of Major Overhauling Report by the Contractor to APGCL.
Paying Authority:

The Chief General Manager (F&A), APGCL,

3rd Floor, Bijulee Bhawan, Paltan Bazar,

Guwahati-781001.

Note: 

· All bills are to be processed through The General Manager (LTPS), APGCL.
· Performance Security Deposit shall be submitted within twenty-eight (28) days from the receipt of Letter of Acceptance/Order from the Procuring Entity (APGCL) or before signing of the Contract, whichever is earlier.
7.2 Warranty Clause:

i.  Supply Part: The materials supplied shall be guaranteed for a period of 18 (eighteen) months from the date of delivery & acceptance of materials at LTPS site or 12 (twelve) months from the date of completion of major overhauling work, whichever is earlier. The major overhauling work shall be considered as complete after successful 72 hours uninterrupted trial run of the Unit with all parameters showing acceptable correct values as per APGCL engineer from site and subsequent issue of Work Completion Certificate from GM, LTPS.
ii.   Service Part: The workmanship for the Major Overhauling of Steam Turbine and Generator Unit No-8, LTPS shall be guaranteed for a period of 12 (twelve) months from the date commissioning and handover of the Unit after completion of the major overhauling work and post successful 72 hours uninterrupted trial run of the unit with all parameters showing acceptable correct values as per APGCL engineer from site and subsequent issue of Work Completion Certificate from GM, LTPS. 
Note: The major overhauling work shall be considered as complete after successful 72 hours uninterrupted trial run of the Unit with all parameters showing acceptable correct value as per APGCL engineers from site and subsequent issue of Work Completion Certificate from GM, LTPS. Free replacement/repairing of materials/free service shall have to be provided by the Contractor pertaining to any defect that may develop under normal running condition of the machine (Steam Turbine Unit, Generator, etc.) during the Guarantee period.
iii.  If the Contractor fails to rectify the defects within a reasonable time, APGCL may fix a date by which the Contractor would rectify the defects, failing which APGCL may:
(a) Carry out remedial work himself or through others, in a reasonable manner and at the contractor’s risk and cost. The cost incurred by APGCL in remedying the defects shall be recovered from the Contractor by APGCL.
(b) Determine and certify a reasonable reduction in the contract price or
(c) May terminate the contract in respect of such parts of the work and APGCL shall be entitled to recover all sums paid for such parts of the work.
7.3 Work Completion Period:

For Supply Part: The Work Completion Period for completion of supply of the total ordered materials at LTPS site shall be 06 (six) months from the date of Order. 
For Service Part: The Work Completion Period for completion of entire service of Major Overhauling of the BHEL make 37.2 MW Steam Turbine (HNK 71/2.8-4, T-669) and Steam Turbine Generator (TARI 800-24P, TG1587) Unit-8 of Waste Heat Recovery Project (WHRP) at Lakwa Thermal Power Station, APGCL, Maibella shall be 30 (thirty) days from the date of providing of site clearance by APGCL to the successful bidder. 
The major overhauling work shall be considered as complete after successful 72 hours uninterrupted trial run of the Unit with all parameters showing acceptable correct values as per APGCL engineers from site and subsequent issue of Work Completion Certificate from GM, LTPS. 
The Bidder shall submit the breakup of their Order Execution Schedule during submission of their technical bid and they shall adhere to the submitted Order execution Schedule during order execution.
	Timeline for Work Execution

	For Supply Part (Item Wise):
	
	No. of Days from placing the PO

	
	a.
	Beginning of Manufacturing Process
	

	
	b.
	Completion of Manufacturing
	

	
	c.
	Materials Ready for dispatch at bidder’s/manufacturer’s factory/warehouse.
	

	
	d.
	Dispatch of Materials
	

	
	e.
	Transportation Time to LTPS site
	

	
	f.
	Delivery of materials at LTPS site
	

	

	For Service Part:
	a.
	The bidder shall mention milestone wise timeline of the work execution schedule of the Service Part.
	

	
	b.
	
	

	
	c.
	
	

	
	d.
	
	

	
	e.
	
	

	
	f.
	
	


Liquidated damage due to delay in completion of supply of materials & service for the Major Overhauling shall be levied as per the Liquidated Damage Clause of this Tender.

7.4 Liquidated Damage (LD):

The date of delivery/completion of work shall be deemed to be the essence of the contract and shall be completed not later than the date specified in the order/contract. In case of failure to deliver the material or perform service in full or deliver the material or perform service within the stipulated work completion period, the Purchaser/Employer (APGCL) shall be entitled to: -
7.4.1 Recover an amount at the rate of 1% (one percent) of the Order value of Material/Service delayed per week or part thereof of delay, subjected to maximum of 10% (ten percent) of the Order value of Material/Service delayed as Liquidated Damage. However, the payment of liquidated damage shall not in any way relieve the Contractor from any of its obligation to complete the work or from any other obligation and liabilities of the Contractor under the Contract/as per order.

7.4.2 Purchase the undelivered material/equipment from elsewhere or to complete the balance work, giving notice to the Contractor and to recover any extra expenditure incurred thereby for having to purchase these materials or complete the work at a higher price, at risk and responsibility of the Contractor.
7.4.3 Cancel the Contract/Order wholly or in part and to purchase materials/equipment and execute the work/service at the full risk and cost of the Contractor and forfeit the security deposit.  

7.5 Technical Documents:

Any Technical documents such as drawings, specifications etc. (if any) shall be submitted by the bidder along with the Technical Bid.
7.6 Inspection, Testing, and Dispatch Clearance

Right of Inspection:

APGCL reserves the right to carry out inspection and/or witness acceptance and routine tests or any other tests of the manufactured equipment/goods either during the manufacturing process or after the completion of manufacturing.

Intimation for Inspection:

The Contractor shall inform the Chief General Manager (Gen.), APGCL at least 15 (fifteen) days in advance regarding the period when the materials will be ready for inspection and testing at the manufacturer’s works, or elsewhere. APGCL shall depute its engineers to witness the inspection and testing activities.

Factory Acceptance Tests (FAT):

The bidder shall arrange for the conduct of all Factory Acceptance Tests in accordance with relevant IS/IEC standards or any other relevant Standard, free of charge to APGCL.

Dispatch Clearance:

Materials shall be dispatched to the site only after receiving dispatch clearance from the Chief General Manager (Gen.), APGCL, subsequent to satisfactory testing and inspection.

7.7 Cyber Security Clause:

In case applicable for the Offered Products/Tendered Products, bidders shall note and adhere to the following requirements as given below under Cyber Security: -

All bidders shall adhere to the Order of Ministry of Power, Govt. of India, No. 12/34/2020 – T&R, dated 24/12/2021 and No. 25-10/72/2024-PG, dated 06/08/2025 regarding Testing of power system equipment for use in the Supply System and Network in the Country for Cyber Security and shall also follow the Guidelines of CEA for Cyber Security in Power Sector, 2021. The products offered and thereafter supplied by bidder shall adhere to the above Order and Guidelines or any amendments issued/recent Guidelines. Bidder shall submit all the requisite documents in this regard including Test Certificates, etc. from Designated Laboratories of their offered/supplied products and shall fulfil all the mandatory requirements in this regard.

If applicable, Bidder shall submit his signed & sealed confirmation regarding adherence to the above requirements along with all mandatory documents, test reports from Designated Laboratories, etc. in technical bid.

Note: Order of Ministry of Power, Govt. of India, No. 12/34/2020 – T&R, dated 24/12/2021 and No. 25-10/72/2024-PG, dated 06/08/2025 and Guidelines of CEA for Cyber Security in Power Sector, 2021 are attached herewith for reference of bidders.
7.8 Mandatory documents:

The bidder must upload the scanned copies of the following mentioned documents along with the technical bid on assamtenders.gov.in, failing which the submitted bid of the bidder may be treated non-responsive.

(a) Copy of PAN Card and EPF Registration.
(b) Copy of GST Registration Certificate of the bidder’s Firm.
(c) Documents related to bidder’s eligibility and past experience.
(d) Statutory documents related to bidder’s Firm.
(e) Documents related to the bidder’s average annual turnover& net worth during 03 (three) Financial Year (FY 2022-23, 2023-24 & 2024-25).
(f) Signed & Sealed Confirmation from Bidder stating that they had quoted for all items (entire bidder’s scope) required as per this Tender Clause Section-IV: Schedule of Requirements)/BoQ. No Part Offer is accepted.
(g) Technical documents of the products offered (if any) (as per Clause 7.5).
(h) Payment proof of EMD.
(i) Copy of Valid Manufacturing License/Factory Registration Certificate indicating manufacturing address, if bidder is the OEM or manufacturer of Capital Parts.

(j) For Major Overhauling/Erection & Commissioning Service Agency: Statutory Registration Document, other Statutory Document for providing such service.

(k) For JVs/Consortia: Copy of the JV/Consortium Agreement, duly signed by all members, along with other relevant statutory documents. 

(l) Timeline for Work Execution as per format given in Clause 7.3. 

(m) All Bidding Forms (B1 to B7, B9), duly filled up as per the instructions provided therein.
(n) All requisite documents, test reports of Designated Laboratories, etc. (if applicable) regarding Cyber Security Guidelines. 

(o) Fitment & Compatibility Certificates regarding the products offered.
(p) Qualification document of bidder’s manpower for Overhauling Work as per Table-I of Clause 2.5.2 (A3).

(q) LTPS Site Visit Certificate.
(r) All other documents as sought in this Tender.  
(s) Any other document as deemed necessary as per this Tender. 
   




                       Chief General Manager (Gen),
                                                                             APGCL, Guwahati-1.
Annexures:

1. Annexure-I: Order of Ministry of Power, Govt. of India, No. 12/34/2020 - T&R, dated 24/12/2021.

2. Annexure-II: Order of Ministry of Power, Govt. of India, No. 25-10/72/2024-PG, dated 06/08/2025

3. Annexure-III: Guidelines of CEA for Cyber Security in Power Sector, 2021.


