
[image: image1.png]



BIDDING DOCUMENT
Name of Work: 
Design, Supply, Retrofitting Installation, Testing and Commissioning of 145 kV Isolators at 132 kV Switchyard of Lakwa Thermal Power Station, APGCL.
NATIONAL COMPETITIVE BIDDING

(e-Procurement)

Tender No.: APGCL/CGM (Gen)/2026-27/145 kV Isolator- LTPS/01
Issued by:

The Chief General Manager (Generation), 
Assam Power Generation Corporation Limited

3rd Floor, Bijulee Bhawan, Paltan Bazar, Guwahati-781001

Contents

5SECTION-I


51.
NOTICE INVITING TENDER (NIT)


6SECTION-II


62.
INSTRUCTION TO BIDDERS (ITB)


62.1
Introduction


62.2
Language of Bids


62.3
Code of Integrity


72.4
Conflict of Interest


82.5
Bidders’ Eligibility


92.6
Bidders’ Qualification


10BIDDING DOCUMENT


102.7
Content of this Bidding Document


102.8
Clarifications of Bidding Documents


102.9
Pre-Bid Meeting


102.10
Amendments to Bidding (Tender) Document


11PREPARATION OF BIDS


112.11
Documents Comprising the Technical Bid


122.12
Price Bid


122.13
Preparation and Submission of Bid


122.14
Bid Prices


132.15
Bid Currency


132.16
Documents Establishing Compliance


132.17
Documents Establishing Eligibility & Qualification of the Bidder


132.18
Period of Validity of Bids


142.19
Bid Processing Fee


142.20
Bid Security (EMD)


16OPENING OF BIDS


162.21
Extension of Due Date for Submission of Bids


162.22
Opening of Bids


16EVALUATION AND COMPARISON OF BIDS


162.23
Confidentiality


162.24
Preliminary Examination of Bids


172.25
Clarification of Bids


172.26
Immaterial Non-conformities in Bids


172.27
Determination of Responsiveness


182.28
Non-conformities, Errors, and Omissions.


182.29
Evaluation and Comparison of Bids.


182.30
Right to Accept or Reject any or all Bids


19AWARD OF CONTRACT


192.31
Award of Contract


192.32
Notification of Award


192.33
Performance Security


202.34
Signing of Contract


20SECTION-III


203.
Evaluation and Qualification Criteria


203.1
Evaluation Criteria & Methodologies


203.2
Qualification Criteria


22SECTION-IV


224.
Schedule of Requirements


32SECTION-V


325.
Bidding Forms


325.1
Letter of Bid


345.2
Bidder Information Form


365.3
Manufacturer’s Letter of Authorization


375.4
Details of Work Orders


385.5
Financial Strength of the Bidder


395.6
Power of Attorney for Signing of Bid


405.7
Undertaking by the Bidder


415.8
Bank Guarantee Format for Bid Security (EMD)


435.9
Statutory Tax Compliance


445.10
Checklist of Documents Submitted along with Technical


45SECTION-VI


456.
General Terms and Conditions (GTC)


456.1
Firm Price:


456.2
Performance Security Deposit:


466.3
Packing:


466.4
Insurance:


476.5
Clarification and Additional Information:


476.6
Precautions to be Taken During Execution of Work:


476.7
Liability for Accident and Damage:


476.8
Acceptance of the Order/Contract:


476.9
Force Majeure:


486.10
Settlement of Disputes:


496.11
Legal Jurisdiction:


496.12
Mistakes/Errors in submitted Bid:


496.13
Indemnification:


496.14
Subletting Contract:


496.15
Variation of Quantity:


496.16
Co-Operation with Other Contractors:


496.17
Contractual Failure:


496.18
Rejection:


506.19
Deduction from Contract Price:


506.20
Death, Bankruptcy etc.:


506.21
Regulation of Local Authorities:


506.22
Suspension Of Business Dealings with Firms/Contractors:


516.23
Banning Of Business Dealings with Firms/ Contractors:


516.24
Language:


516.25
Joint Venture or Consortium:


526.26
Nationality and Country of Origin Requirements:


526.27
Tax and Duty Responsibility.:


526.28
Inspection & Testing:


536.29
Confidential Information:


546.30
Limitation of Liability:


546.31
Copyright:


55SECTION VII


557.
Special Terms and Conditions


557.1
Terms of Payment


557.2
Warranty Clause:


567.3
Work Completion Period:


577.4
Liquidated Damage (LD):


577.5
Technical Specifications, Drawings, Test Reports etc.:


577.6
Inspection, Testing, and Dispatch Clearance


587.7
Cyber Security Clause:


587.8
Mandatory documents:




SECTION-I

1. NOTICE INVITING TENDER (NIT)

Assam Power Generation Corporation Limited

3rd Floor, Bijulee Bhawan, Paltan Bazar, Guwahati-781001

Website: - www.apgcl.org

Notice Inviting Tender
Tender No. APGCL/CGM (Gen)/2026-27/145 kV Isolator- LTPS/01
(i) The Chief General Manager (Generation) APGCL hereby invites online Bids from eligible Bidders following two-bid system of bidding for “Design, Supply, Retrofitting Installation, Testing and Commissioning of 145 kV Isolators at 132 kV Switchyard of Lakwa Thermal Power Station, APGCL”.
(ii) Open Competitive Bidding method shall be followed for selection of most preferred bidder for the tendered Item(s). 
(iii) The Bidding Documents can be downloaded by any prospective bidders from the Procurement portal i.e., http://assamtenders.gov.in, free of cost.
(iv) All Bids must be accompanied by Bid Processing Fee of Rs. 1,600.00 (Rupees One Thousand Six Hundred Only) and Bid Security (EMD) of the amount of Rs. 1,60,000.00 (Rupees One Lakh Sixty Thousand Only).
No Exemptions to Bid Security (EMD) is allowed. 
(v) Bids must be submitted online at the e-Procurement portal (i.e., http://assamtenders.gov.in) on or before the due date for submission i.e., up to 12.00 Hrs of 09/06/2026.
(vi) The Technical Bid will be opened online on 12:00 Hrs of 12/06/2026 and the Price Bid shall be opened online only for the technically qualified bidders. (The date of opening of the price bid shall be intimated later on the Portal).
                                                                                           --Sd--
    Chief General Manager (Gen)

APGCL, Bijulee Bhawan, Guwahati-1

SECTION-II
2. INSTRUCTION TO BIDDERS (ITB)
(Note: The Terms – ‘Bidder’, ‘Contractor’, ‘Supplier’ has been used interchangeably in this document.)

2.1 Introduction

2.1.1 Assam Power Generation Corporation Ltd. (APGCL) is a state GENCO operating in the state of Assam and with the vision of availability of reliable and quality power at competitive rates and on a sustainable basis. 

APGCL has various gas based thermal power plants as well as hydro power plants. The Thermal Power Plants of APGCL are Lakwa Thermal Power Station, located in the District of Charaideo and Namrup Thermal Power Station, located in the District of Dibrugarh in the State of Assam. The various Hydro Plants of APGCL are Karbi Langpi Hydro Electric Power Project and Myntriang Small Hydro Electric Project, both located in the District of Karbi Anglong in the State of Assam. In addition, there are a few hydro and solar projects in pipeline/under construction of APGCL.

2.1.2 The Procuring Entity (i.e., APGCL) has issued this Bidding Document for the supply of goods and services as specified in “Section IV- Schedule of Requirement” in connection with the notice inviting tenders from the eligible bidders.
2.1.3 This Section provides the relevant information as well as instructions to assist prospective bidders in preparation and submission of bids. It also includes the mode and procedure to be adopted by the Procuring Entity (APGCL) for receipt and opening as well as scrutiny and evaluation of bids and subsequent placement of award of contract.
2.1.4 Before preparing and submitting the bids (Technical & Price) online at the e-Procurement portal in the prescribed manner, the bidder should read and examine all the terms and conditions, instructions, etc., contained in this Bidding Document. Failure to provide the required information or to comply with the instructions incorporated in this Bidding Document may result in rejection of bid.
2.1.5 The Bidder shall bear all costs and expenditure incurred and/or to be incurred by it in connection with its bid including preparation, mailing and submission of its bid and subsequently processing the same. The Procuring Entity shall, in no case be responsible or liable for any such cost, expenditure, etc., regardless of the conduct or outcome of the bidding process.

2.2 Language of Bids

Bid submitted by the Bidder and all subsequent correspondences and documents relating to the bid exchanged between the Bidder and the Procuring Entity (APGCL), shall be written in English language. However, the language of any printed literature furnished by the bidder in connection with its bid may be written in any other language, provided the same is accompanied by a self-certified English translation and, for purposes of interpretation of the bid, the English translation shall prevail.

2.3 Code of Integrity

2.3.1 The Procuring Entity (APGCL) and all its officials or employees, whether involved in the procurement process or otherwise, or bidders and their representatives or consultants or service providers participating in a procurement process or other persons involved, directly or indirectly in any way in a procurement process shall maintain an unimpeachable standard of integrity.
2.3.2 Govt. of Assam prescribes to uphold the Code of Integrity, which prohibits officials or employees of a Procuring Entity or any person(s) participating in the bidding process, as bidder or otherwise, the following:

(i) any offer, solicitation or acceptance of any bribe, reward or gift or any material benefit, either directly or indirectly, in exchange for an unfair advantage in the procurement process or to otherwise influence the procurement process;

(ii) any omission, including a misrepresentation that misleads or attempts to mislead so as to obtain a financial or other benefit or avoid an obligation;

(iii) any collusion, bid rigging or anti-competitive behavior to impair the transparency, fairness and progress of the procurement process;

(iv) improper use of information shared between the procuring entity and the bidders with an intent to gain unfair advantage in the procurement process or for personal gain;

(v) any financial or business transactions between the bidder and any officer or employee of the Procuring Entity, who are directly or indirectly related to the tender or execution process of contract;

(vi) any coercion including impairing or harming or threatening to do the same, directly or indirectly, to any party or to its property to influence the procurement process;

(vii) any obstruction of any investigation or audit of a procurement process;

(viii) making false declaration or providing false information for participation in

a) tender process or to secure a contract;

b) disclosure of Conflict of Interest;

c) disclosure by the bidder of any previous transgressions with any entity in India or any other country during the last three years or of any debarment by any other Procuring Entity.

2.3.3 In case of any breach of the Code of Integrity by a bidder or a prospective bidder, as the case may be, the TIA (Tender Inviting Authority)/APGCL after giving a reasonable opportunity of being heard, may take appropriate measures including –

(i) exclusion of the bidder from the procurement process;
(ii) calling off pre-contract negotiations and forfeiture or encashment of bid security;
(iii) forfeiture or encashment of any other security or bond relating to procurement;
(iv) recovery of payments made by the Tender Inviting Entity (APGCL) along with interest thereon at bank rate;
(v) cancellation of the relevant contract and recovery of compensation for loss incurred by it;
(vi) Initiate available legal actions available under different laws in India.

(vii) debarment of the bidder from participation in any tender issued by the Procuring Entity (APGCL) for a period not exceeding three years.

2.4 Conflict of Interest

2.4.1 Conflict of Interest for a Procuring Entity or its personnel (i.e., officials or employees) and bidders is a situation in which a party has interests that could improperly influence that performance of its duties or responsibilities, contractual obligations, or compliance with applicable laws and regulations.

2.4.2 Govt. of Assam describes the situations in which a Procuring Entity or its personnel maybe considered to be in a situation of Conflict of Interest include, but are not limited to the following-

(i) Conflict of Interest occurs when the private interests of a Procuring Entity or its personnel, such as personal, non-official, extra-professional or other relationships or personal financial assets, interfere or appear to interfere with the proper performance of its professional functions or obligations as a procurement official.

(ii) within the procurement environment, a Conflict of Interest may arise in connection with such private interests as personal investments and assets, political or other social activities and affiliations while in the service of the Procuring Entity, employment after retirement from service or of relatives or the receipt of a gift that may place the Procuring Entity or its personnel in a position of obligation;

(iii) Conflict of Interest also includes the use of assets of the Procuring Entity including human, financial and material assets, or the use of the office of the Procuring Entity or knowledge gained from official functions for private gain or to prejudice the position of someone the Procuring Entity or its personnel does not favour;

(iv) Conflict of Interest may also arise in situations where the Procuring Entity or any of its personnel is seen to benefit directly or indirectly or allow a third party, including family, friends, or someone they favour, to benefit directly or indirectly from the decision or action of the Procuring Entity.

2.4.3 The situations in which bidders participating in a procurement process or their representatives may be in Conflict of Interest include, but are not limited to the following:

(i) If they or their personnel or representatives or agents have any relationship or financial or business transactions or interests with any official of the Procuring Entity that are directly or indirectly involved in or related to the procurement process or execution of contract;

(ii) If they receive or have received any direct or indirect subsidy from any other bidder;

(iii) If they have the same legal representative for purposes of the bid;

(iv) If they have a relationship with each other, directly or through common third parties that puts them in a position to have access to information about or influence on the bid of another;

(v) If they participate in more than one bid in the same bidding process;

(vi) If they have controlling partners in common;

(vii) If a bidder or any of its affiliates participated as a consultant in the preparation of the design or technical specifications of the subject matter of procurement of the bidding process or were involved in such preparation in anyway.

2.4.4 In case of a holding company having more than one independently manufacturing/processing/producing unit or more than one unit having common business ownership or management, only one unit shall be allowed to submit bid or quote to prevent any Conflict of Interest. Similar restrictions shall apply to closely related sister or subsidiary companies. Such bidders must proactively declare such sister or subsidiary company or common business or management units in similar lines of business.

2.5 Bidders’ Eligibility

2.5.1 Bidder shall be a single business entity or JV/Consortium/Corporation etc. having a formal intent and legal competency to enter into an agreement or contract. 
2.5.2 The Bidder shall refer Section III, Eligibility Criteria for details.
2.5.3 Bidder should not have a Conflict of Interest as prescribed and specified in ITB Para 2.4, which materially affects fair competition.
2.5.4 In addition, any bidder participating in the bidding process shall–

(i) Have fulfilled his obligation to pay such of the tax payable to the Central Government or the State Government or any local authority.
(ii) not be insolvent, in receivership, bankrupt or being wound up, not have its affairs administered by a court or a judicial officer, not have its business activities suspended and must not be the subject of legal proceedings for any of the foregoing reasons;
(iii) not have, and their directors and officers do not have, been convicted of any criminal offence related to their professional conduct or the making of false statements or misrepresentations as to their qualifications to enter into a procurement contract within a period of three years preceding the commencement of the procurement process, or not have been otherwise disqualified pursuant to debarment proceedings.
(iv) not be debarred by any Procuring Entity under the State Government, the Central Government, Autonomous body, Authority by whatever name called under them.
2.6 Bidders’ Qualification

2.6.1 Bidders should substantially meet the qualification criteria as stipulated in the “Section III - Evaluation and Qualification Criteria”.
2.6.2 Bidders should fill and submit the Forms provided in “Section V - Bidding Forms” with relevant information and supporting evidence of fulfillment of their qualification, along with the technical bid.
BIDDING DOCUMENT

2.7 Content of this Bidding Document

2.7.1 The Bidding Documents include the following Sections, which should be read in conjunction with any amendment issued in accordance with ITB Para 2.10.

(i) Section I

Notice Inviting Tender (NIT)

(ii) Section II

Instructions to Bidders (ITB)

(iii) Section III 
Evaluation and Qualification Criteria

(iv) Section IV
Schedule of Requirements

(v) Section V 

Bidding Forms

(vi) Section VI 
General Terms and Conditions (GTC)
(vii) Section VII
Special Terms and Conditions (STC)
2.7.2 Unless downloaded directly from the e-Procurement portal, the Procuring Entity (APGCL) shall not be responsible for the correctness of the Bidding Document, responses to requests for clarification, the Minutes of the Pre-bid meeting, if any, or amendment(s) to the Bidding Documents in accordance with ITB Para 2.10.
2.7.3 Bidders are expected to examine all instructions, forms, terms, and specifications in the Bidding Documents and to furnish with its Bid all relevant information and documents as required by the Bidding Documents.

2.8 Clarifications of Bidding Documents

2.8.1 A Bidder requiring any clarification of the Bidding Document shall communicate in writing to the Procuring Entity through e-mail with reference to the Bidding Document at the following email Ids:
· abhijit.saha@apgcl.org
· migom.mili@apgcl.org 
The Procuring Entity (APGCL) will respond in writing to any request for clarification, provided that such a request is received well before the end date of bid submission date.

2.8.2 The Procuring Entity (APGCL) may also promptly publish a brief description of the enquiry but without identifying its source and its response at the official website/e-Procurement portal.

2.8.3 Should the clarification result in changes to the essential elements of the Bidding Documents, the Procuring Entity shall amend the Bidding Documents following the procedure given under ITB Para 2.10.

2.9 Pre-Bid Meeting

DELETED
2.10 Amendments to Bidding (Tender) Document

2.10.1 At any time prior to the due date for submission of bid, the Procuring Entity (APGCL) may amend or modify the Bidding Document by issuing amendment(s) pursuant to ITB Para 2.8 and 2.9 or for any other reason, it deemed fit.
2.10.2 Such amendment(s) will be published at the e-Procurement portal and the same shall be binding on all prospective Bidders.
2.10.3 To give reasonable time to prospective bidders to take necessary action in preparing their bids, the Procuring Entity may, at its discretion, extend the deadline for the submission of bids and other allied time frames, which are linked with that deadline.
2.10.4 Any Bidder who has downloaded the Bidding Documents should check the amendment(s), if any, issued on the Procurement portal. The Procuring Entity (APGCL) shall not be responsible, in any manner, if any prospective Bidder misses any amendment(s) published on the portal.
PREPARATION OF BIDS

2.11 Documents Comprising the Technical Bid

2.11.1 The bid shall be submitted online in two parts (i.e., Technical Bid & Price Bid) at the e-Procurement portal by the bidder within due date and time. The Technical Bid shall consist of the following documents.

i) “Letter of Bid” as per Form provided in Section V – Bidding Forms (Form-B1);

ii) “Bidder Information” as per Form provided in Section V: Bidding Forms (Form-B2);

iii) “Manufacturer’s Authorization Letter”, in case the bidder is not the Manufacturer of the quoted Isolator, as per Form given in Section V: Bidding Forms (Form-B3);
iv) “Details of Supply and Work Done by Bidder” as per format given in Section V: Bidding Form along with supporting documents (Form-B4);
v) “Certificate on Financial Strength” of the Bidder as per format given in Section V: Bidding Forms (Form-B5);

vi) Duly Executed “Power of Attorney” for the Authorized Signatory of the Bid as per format given in Section V: Bidding Forms (Form-B6);
vii) “Undertakings by the Bidder” as per format given in Section V: Bidding Forms (Form-B7)
viii) Self-Undertaking on “Statutory Tax Compliance” as per format given in Section V: Bidding Forms (B-9)
ix) “Bid Processing Fee” in accordance with ITB Para 2.19;
x) “Bid Security” furnished in accordance with ITB Para2.20;
xi) Documents establishing compliance to the required quality standards of the product offered and of the process followed by the manufacturer in accordance with ITB Para 2.16 and Section-IV: Schedule of Requirements; Technical Specifications of the Offered Products & Services in compliance with APGCL Bid requirement shall be submitted.
xii) Bidder’s Certificate of Incorporation/ Registration, Article and Memorandum of Association/JV documents or any such registration document.
xiii) Self-attested copy of PAN;
xiv) Self-attested copy of GST Registration Certificate.
xv) Audited Statement of Accounts/Chartered Accountant Certified Financial Documents (Balance Sheet, P&L Statement, Cash Flow Statement) for last three financial years ending on 31/03/2025.
xvi) All other documents as per this Bid requirement.
xvii) “Checklist of Documents” submitted along with the Bid in the Format (Form-B10) as given in Section V: Bidding Forms
NOTE: ALL BIDDER’S DOCUMENTS INCLUDING BID DOCUMENTS, ANNEXURES, FINANCIAL STATEMENTS, DOCUMENTS RELATED TO ELIGIBILITY AND EXPERIENCE, AND ALL OTHER DOCUMENTS SUBMITTED BY BIDDER MUST BE SIGNED/COUNTER-SIGNED ON ALL PAGES BY THE BIDDER’S PERSONNEL AUTHORIZED IN THE POWER OF ATTORNEY DOCUMENT FORM B6.

Also, all documents submitted by bidder against any request for shortfall document on the portal must be signed and sealed by the competent person as named in the Power of Attorney document Form-B6.
2.12 Price Bid

2.12.1 The blank Price Bid in the form of BoQ should be downloaded from the portal https://assamtenders.gov.in and saved on Bidder’s computer without changing filename otherwise price bid will not get uploaded. The Bidder should fill in the details in the same file (BOQ) and upload the same back to the portal. Hardcopy of Price bid will not be accepted.
2.12.2 Price Bid (BoQ) must be submitted online (soft copies) only on the portal. The BoQ (excel sheet available in e-procurement portal) is specific to the Bidder and is not interchangeable. The BoQ file shall be downloaded from the e-procurement portal and prices shall be quoted in the respective fields before uploading it. The Price bids submitted in any other formats will be treated as non-responsive and not considered for tabulation and comparison. The BoQ should be submitted online on the portal i.e., https://assamtenders.gov.in.
2.12.3 Price Bid shall be prepared in accordance with ITB Para 2.14.
2.13 Preparation and Submission of Bid

2.13.1 The Bidder shall prepare the Technical Bid comprising of all documents as mentioned in ITB-2.11 and any other document requested or as required as per this tender. APGCL Bid document along with all documents submitted by the bidder against this APGCL Tender shall be signed & sealed on all pages by the competent person as named in the Power of Attorney document provided in Form B6. Also, all documents submitted by bidder against any request for shortfall documents on the Portal must be signed and sealed by the competent person as named in the Power of Attorney document provided in Form B6. Corrections in the bid such as interlineations, erasures, or overwriting shall be valid only if they are duly signed or initialed by the person signing the bid.
2.13.2 The Bidder shall submit both Technical and Price Bid online at the e-Procurement portal within due the date and time for submission.
2.13.3 The bidding documents issued by the Procuring Entity in the e-procurement portal (i.e., https://assamtenders.gov.in) will appear in the “Latest Tender”. The Bidders/ Guest users can download the Bidding documents only after the due date & time of issue. The publication of the Bidding Document (i.e., Tender) will be for specific period till the due date for submission of bids after which the same will be removed from the list of “Latest Tender”.
2.13.4 Portal Registration: The bidder intending to participate in the bid is required to register in the e-Procurement portal using an active personal/ official e-mail ID as his/her Login ID and attach his/her valid   Digital Signature Certificate (DSC) - Class II or III to his/her unique Login ID. He/ She must submit the relevant information as asked for about the bidder. The portal registration of the bidder is to be authenticated by the State Procurement Cell after verification of original valid certificates/documents.
For further details the bidder may visit the Assam Tender Portal https://assamtenders.gov.in.
2.13.5 The bidder can download the bidding document and undertake the necessary preparatory work and thereafter upload the completed bid at their convenience before due date and time for submission.
2.13.6 The bidder shall upload technical bid in “.pdf” format.

2.14 Bid Prices

2.14.1 The prices quoted by the Bidder in the Price Bid (Price Schedule i.e. BoQ) shall conform to the requirements specified below.
2.14.2 The Bidder must quote for all items in the price schedule (BOQ). No part offer of the tender shall be accepted.
2.14.3 The price quoted by the Bidder shall be fixed (remain firm) during the Bidder’s performance of the Contract and shall not be subject to variation on any account, unless otherwise specified in this Bidding Document. The bid submitted with adjustable price quotation shall be treated as nonresponsive and shall be rejected.
2.14.4 The price offered in the Price Bid (BoQ) for the item(s) shall be based on FOR consignee location/ DDP (Place of destination) price. (Any charges against Freight, Transit Insurance, Packing and Forwarding etc. shall be all inclusive)
2.14.5 The price quoted by bidder shall also be inclusive of any charges against loading/unloading, travelling expenses of Contractor’s Personnel, boarding & lodging of Contractor’s Personnel at site etc.
2.14.6 The bidder must unconditionally offer in the Bid to supply the goods and other associated services as specified for each item in Section-IV: Schedule of Requirements.
2.15 Bid Currency

2.15.1 The bidder should submit its quote in Indian Rupees (INR) only.

2.15.2 Bids, where prices are quoted in any other currency, shall be treated as non-responsive and rejected.
2.16 Documents Establishing Compliance

2.16.1 The Bidder shall furnish as part of its Bid the documentary evidence that the item(s) offered by it conforms to the required specifications, quality standard and other criteria as specified in Section-IV: Schedule of Requirements.

2.16.2 The documentary evidence may be in the form of literature, drawings, certificate, or data, and shall consist of a detailed item by item description of the essential technical and performance characteristics of the item(s) offered, demonstrating substantial responsiveness of the quality standards & other requirements as per Section-IV: Schedule of Requirements.
2.17 Documents Establishing Eligibility & Qualification of the Bidder

2.17.1 To establish their eligibility in accordance with ITB Para 2.5, Bidders shall fill up and submit all bidding forms and shall submit all requisite documents etc. as per APGCL requirement.
2.17.2 The documentary evidence of the Bidder’s qualifications to participate in the bid and own the contract, shall be establish to the Bid Evaluation Committee’s satisfaction that the Bidder meets each of the qualification criteria specified in Section-III: Evaluation and Qualification Criteria and any other criteria/clause mentioned in APGCL Bid Document.
2.18 Period of Validity of Bids

2.18.1 Bids shall remain valid for the period 180 (one hundred eighty days) from the start date of online bid submission. A bid valid for a shorter period shall be rejected as non-responsive.

2.18.2 In exceptional circumstances, prior to the expiration of the bid validity period, the Procuring Entity may request bidders to extend the period of validity of their bids. The request and the responses shall be made in writing. A Bidder may refuse the request without forfeiting its Bid Security.

2.18.3 The Bidder who agrees to the extension of the period of validity of bids so requested by the Procuring Entity (APGCL) shall also extend the period of validity of bid securities submitted by them or submit new bid security to cover the extended period of validity of their bids. A bidder whose bid security is not extended, or new bid securities not submitted shall be considered to have refused the request to extend the period of validity of its bids and rejected as non-responsive. The decision of the Procuring Entity will be final and binding in this regard.
2.19 Bid Processing Fee

2.19.1 The Bidder shall furnish as part of its bid, the Bid Processing Fee (non- refundable), of the amount Rs. 1,600.00/- (Rupees One Thousand Six Hundred Only) which shall be collected online from Bidder during bid submission at https://assamtenders.gov.in. 
2.20 Bid Security (EMD)
2.20.1 The Bidder shall furnish as part of its bid, a Bid Security (EMD) of Rs. 1,60,000.00 (Rupees One Lakh Sixty Thousand Only) which shall be deposited online during bid submission at https://assamtenders.gov.in.

2.20.2 The bid security can also be submitted in the form of Bank Guarantee issued by a Scheduled Bank in India.

(i) If EMD is submitted through BG, the bidder will be required to upload the scan copy of the BG during online Bid submission and the original Hard Copy of the BG should reach APGCL HQ on or before bid opening. For details regarding submission of EMD through BG, bidders are requested to refer clause 2.20.12.
2.20.3 In case, bid security is submitted in form of Bank Guarantee, it should be submitted using the format provided below in this document. The Bank Guarantee submitted as Bid Security shall be verified and confirmed from the competent authority of the concerning issuing Bank.
2.20.4 The Bid Security must remain valid for a period of one year from the start date of online submission of bid.
2.20.5 Any bid not accompanied by a Bid Security (EMD) as specified in ITB Para 2.20 shall be rejected as non-responsive.
2.20.6 The Bid Security of unsuccessful bidder (Technically Rejected) shall be released upon completion and declaration of Technical Evaluations of the submitted bids.
2.20.7 The Bid Security of unsuccessful bidder (Technically Accepted but is not the L1 bidder) shall be released within 30 working days after signing of Agreement and deposit of performance security by the successful bidder.
2.20.8 The Bid Security of successful Bidders shall be released within 30 working days upon the successful Bidder’s signing the contract and furnishing the Performance Security pursuant to ITB Para 2.33 and ITB Para 2.34.
2.20.9 In case Procuring Entity (APGCL) decides to cancel the procurement process, it shall return the bid security of all bidders after the decision to cancel procurement process.
2.20.10 The Bid Security of the bidder, who withdraws its bid prior to deadline for submission of bids, in case bid withdrawal is permitted, shall be returned after the opening of the bids.
2.20.11 The Bid Security deposited by a Bidder may be forfeited in the following cases:

i) when the bidder withdraws or modifies its bid after due date for submission.
ii) when the bidder does not deposit the required performance security and/or sign the contract within the specified period; and 
iii) if the bidder breaches any provisions of Code of Integrity prescribed for bidders as per ITB Para 2.3.

2.20.12 Instructions to bidder who intends to pay the EMD (Bid Security) amount of the tender through Bank Guarantee (BG).

For bidders opting for payment of EMD through BG, the bidder shall follow the below steps at online portal https://assamtenders.gov.in 
· The bidder shall select the EMD exemption option as “Yes” and in the following steps shall upload the Scanned BG documents and proceed.
· If the bidder selects the EMD exemption option as “No” then the system shall prompt to pay the EMD fees online. There shall be no option to upload the scanned BG document against EMD in that case and the bidder has to pay the EMD online only. This is due to limitation/restriction of the portal. The bidder may not be able to proceed further or revert to the former menu. Hence for BG payment of EMD, the bidder shall select “YES” option.
· Since EMD exemption is not given for this tender and due to the limitation/restriction of the portal, the bidder may not be able to proceed with BG as EMD by selecting the “No EMD exemption option” of the portal, hence, the bidders are advised to proceed by selecting the EMD exemption as “Yes” in case EMD is submitted though BG.

Address to which the Original EMD BG is to be submitted on or before Bid Opening:

The Deputy General Manager (Procurement), 

Assam Power Generation Corporation Ltd.,

3rd Floor, Bijulee Bhawan, Paltan Bazar,

Guwahati-1.

The BG shall be duly pledged in favour of the Chief General Manager (Gen), APGCL and shall be valid for 01 (one) year period from the Start Date of online Bid submission.

No interest shall be payable on such deposits.

Note: The bidder is requested to advice the Bank Guarantee Issuing Bank to comply with the following and ensure to submit, the receipt of the copy of SFMS message as sent by the issuing bank branch, along with the original bank Guarantee in APGCL’s tender issuing office:

The Bank Guarantee issued by the Bank must be routed through SFMS platform as per the following details:

I.
MT/IFN760/MT/IFN760 COV for issuing of Bank Guarantee.

II.
MT/IFFN 760/MT/IFN 767 COV for amendment of Bank Guarantee.

The above message/intimation shall be sent through SFMS by the BG issuing bank branch to Axis Bank, Paltan Bazar Branch, A/C no. 375010200007573, IFS code-UTIB0000375, Branch Address- AXIS Bank Ltd, Commercial Building, A.T. Road, Guwahati-781001, India.

BG format for EMD is given below in Section V: of this document.
Note: No EMD Exemption is provided for this Tender.
OPENING OF BIDS
2.21 Extension of Due Date for Submission of Bids

2.21.1 Bids must be submitted (online on e-tender portal) within due date and time for submission of bid.
2.21.2 The date of submission and opening of bids shall not be extended except when–

i) Sufficient number of bids have not been received within the given time and the Purchase Committee of the Procuring Entity is of the opinion that further bids are likely to be submitted if time is extended; or
ii) The Bidding Documents are required to be substantially modified because of discussions in pre-bid meeting or other wise for any other reason and the time for preparations of bids by the prospective bidders appears to be insufficient for which such extension is required.
2.21.3 In cases where the time and date of submission of bids is extended, an amendment to the Bidding Documents shall be issued in accordance with ITB Para 2.10, in which case all rights and obligations of the Procuring Entity and Bidders previously subject to the deadline shall thereafter be subject to the deadline extended.
2.21.4 If the due date for submission of bids is not a working day, the bids shall be opened at the same time and hour on the next working day.
2.21.5 Bidder can withdraw or resubmit an online bid any time prior to the due date and time for submission of Bid (except details of online submission of Bid Security & Processing fee). In case of online resubmission of the bid, the latest submitted bid shall be available for evaluation.
2.22 Opening of Bids

2.22.1 Technical Bids submitted by the Bidders through the e-Procurement portal shall be opened online on the due date for opening of the bid.

EVALUATION AND COMPARISON OF BIDS

2.23 Confidentiality

2.23.1 Information relating to the evaluation of bids including finalization of the list of technically qualified bidders, price comparison and recommendation for award of contract, shall not be disclosed to bidders or any other persons not officially concerned with the bidding process until information on Contract Award is officially communicated to all Bidders.

2.23.2 Any effort by a Bidder to influence the officials of the Procuring Entity (APGCL) or its committee in the evaluation or contract award decisions may result in the rejection of its Bid.

2.23.3 Notwithstanding ITB Para 2.23.2, from the time of bid opening to the time of Contract Award, if any Bidder wishes to contact the officials of the Procuring Entity (APGCL) on any matter related to the bidding process, it should do so in writing.

2.24 Preliminary Examination of Bids

2.24.1 The Bid Evaluation Committee duly constituted by the Procuring Entity (APGCL) shall conduct a preliminary scrutiny of the bidders’ bids at the beginning to assess the prima-facie responsiveness and record its findings thereof particularly in respect of the following:

i) That the bid is prepared in the prescribed manner and contains the documents and information as required.

ii) the bid is valid for the period, specified in the Bidding Documents.

iii) that the bid is accompanied by due Bid Security and Bid Processing Fee.

iv) That the bid is unconditional, and that the bidder has agreed to give the required performance security; and

v) whether any other conditions specified in the Bidding Documents are fulfilled.
2.25 Clarification of Bids

2.25.1 To assist in the examination, evaluation, comparison and qualification of the bids, the Bid Evaluation Committee may, at its discretion, ask any bidder in writing for clarification by a specific date regarding its bid specifically therein that if the bidder does not comply or respond by that date his bid shall be liable to be rejected. The request of the Committee for clarification and the response of the bidder thereto shall be in writing. Depending on the outcome, such bids shall be ignored or considered further.
2.25.2 Any clarification submitted by a bidder about his bid that is not in response to a request by the Committee specifically shall not be considered.
2.25.3 No substantive change to qualification information or to a submission, including changes aimed at making an unqualified bidder qualified or an unresponsive submission, responsive shall be sought, offered, or permitted under any circumstances.
2.25.4 All communication generated as above shall be included in the record of the procurement proceedings.

2.26 Immaterial Non-conformities in Bids

2.26.1 The Bid Evaluation Committee may waive non-conformities in the bid that do not constitute a material deviation, reservation or omission and deem the bid to be responsive.

2.26.2 The Bid Evaluation Committee may request the bidder to submit necessary information or documents which are historical in nature like audited statements of accounts, tax clearance certificate, PAN, etc. within a reasonable period. Failure of the bidder to comply with the request within the given time shall result in the rejection of its bid.

2.26.3 The Bid Evaluation Committee may rectify immaterial non-conformities or omissions based on the information or documentation received from the bidder under ITB Para 2.26.2.

2.27 Determination of Responsiveness

2.27.1 The Bid Evaluation Committee constituted by the Procuring Entity shall determine the responsiveness of a bid to the Bidding Documents based on the contents of the bid submitted by the Bidder;
2.27.2 A bid shall be deemed to be substantially responsive if it meets the requirements of the Bidding Documents without any material deviation, reservation, or omission where: 

(a) “deviation” is a departure from the requirements specified in the Bidding Document;
(b) “reservation” is the setting of limiting conditions or withholding from complete acceptance of the requirements specified in the Bidding Documents; and
(c) “omission” is the failure to submit part or all of the information or documentation required in the bidding documents.

2.27.3 A “material deviation, reservation, or omission” is one that,

(a) If accepted, shall: -

i) effect in any substantial way the scope, quality, or performance of the subject matter of procurement specified in the Bidding Documents; or
ii) limit in any substantial way, inconsistent with the Bidding Documents, the rights of the Procuring Entity or the obligation of the Bidder under the proposed contract; or

(b) if rectified shall unfairly affect the competitive position of other Bidders presenting responsive bids.

2.27.4 The Bid Evaluation Committee shall examine the technical aspects of the bid to confirm that all requirements of Bidding Documents have been met without any material deviation, reservation or omission.
2.27.5 The Bid Evaluation Committee shall regard a bid as responsive if it conforms to all requirements set out in the Bidding Documents, or contains minor deviations that do not materially alter or depart from the characteristics, terms, conditions and other requirements set out in the Bidding Documents, that is, there is no material deviation, or if it contains errors or oversights that can be corrected without any change in the substance of the bid;
2.27.6 Bids that are not responsive or contain any material deviation shall be rejected. Bids declared as non-responsive shall be excluded from any further evaluation.
2.28 Non-conformities, Errors, and Omissions.

2.28.1 Provided that a Bid is substantially responsive, the Bid Evaluation Committee may waive any non-conformities in the Bid.
2.28.2 Provided that a bid is substantially responsive, the Bid Evaluation Committee may request that the Bidder submit the necessary information or documentation, within a reasonable period, to rectify nonmaterial, non-conformities or omissions in the bid related to documentation requirements. Such omission shall not be related to any aspect of the price of the Bid. Failure of the Bidder to comply with the request may result in the rejection of its Bid.

2.29 Evaluation and Comparison of Bids.

2.29.1 The Evaluation Committee of the Procuring Entity (APGCL) for Evaluation of this Bid shall use the criteria and methodologies listed in this Clause/document.
2.29.2 The Price Bid of only those bidders who are technically responsive/ qualified shall be opened online for comparative evaluation.
2.29.3 Unless otherwise specified in “Section III: Evaluation and Qualification Criteria”, the evaluation shall be done on the total offered price in BOQ which shall be inclusive of Total Basic Price, Freight, Insurance, Packing and Forwarding, GST.
(Note: Unit GST shall be quoted by bidder in BOQ)

The responsive bidder offering lowest total price (inclusive of Total Basic Price, Freight, Insurance, Packing and Forwarding, GST etc.) shall be declared L1 (lowest) bidder. In case of tie, the bidder having highest average annual turnover in last three years shall be declared as the most preferred bidder.
2.29.4 The list of responsive and non-responsive bidder shall be published at the e-Procurement portal i.e., https://assamtenders.gov.in along with the reason for non-responsiveness.

2.30 Right to Accept or Reject any or all Bids

2.30.1 The Procuring Entity (APGCL) reserves the right to accept or reject any bid, and to cancel / annul the bidding process and reject all bids at any time prior to contract award, without thereby incurring any liability to the Bidders for which the management of the Procuring Entity shall keep record of clear and logical reasons properly for any such action / recall of bidding process. In case of cancellation / annulment, all bids submitted and specifically, bid securities, shall be promptly returned to the Bidders.
AWARD OF CONTRACT
2.31 Award of Contract

2.31.1 Subject to ITB 2.30.1, the contract shall be awarded to the lowest responsive bidder for the tendered item(s) as determined in the manner specified in ITB 2.29.

2.31.2 Procuring Entity (APGCL) shall award the tendered work to L1 bidder.

2.31.3 In case of a tie between two or more bidders in the price bid, then the bidder having highest average annual turnover (during the last three FY i.e., FY 2022-23, 2023-24 & 2024-2025) amongst them (all L1 bidders) shall be declared as most preferred bidder.
2.32 Notification of Award

2.32.1 Prior to the expiration of the period of bid validity, the Procuring Entity (APGCL) shall notify the successful Bidder, in writing, that its Bid has been accepted. The notification letter (called the “Letter of Acceptance”) shall specify the price of the goods/works/service that the Procuring Entity (APGCL) will pay the Supplier/Contractor in consideration of timely completion of contracted work (called “the Contract Price”). In addition, the contracted rate quantity to be supplied and scope of work/service to be carried out by the contracted party shall also be specified (called “the Contract Qty/Works”). APGCL may also issue a Work Order/Purchase Order containing details of the Scope of Supply & Work/Service, Price, Terms & Conditions etc. 

2.32.2 Until a formal Contract is prepared and executed, the Letter of Acceptance/Work Order/Purchase Order shall constitute a binding Contract. In case where a Contract is not executed, the Work Order/Purchase Order shall constitute the final binding of the contract for Contractor to execute and complete the work.
2.32.3 Procurement Entity (APGCL) shall promptly respond in writing to any unsuccessful Bidder who, after notification of award in accordance with ITB Para 2.32.1, requests in writing the grounds on which its bid was not selected.

2.33 Performance Security

2.33.1 Within twenty-eight (28) days of the receipt of Letter of Acceptance/Work Order/Purchase Order from the Procuring Entity (APGCL) or before signing of the Contract, whichever is earlier, the successful Bidder, shall furnish the Performance Security in accordance with the General Terms & Condition (GTC).
2.33.2 Failure of the successful Bidder to submit the above-mentioned Performance Security or sign the Contract shall constitute sufficient grounds for the annulment of the award and forfeiture of the Bid Security. In that event the Procuring Entity (APGCL) may award the Contract to the next lowest evaluated Bidder, whose bid is substantially responsive, provided it agrees to lowest evaluated bid price i.e., L1 price.
2.33.3 The validity of the performance security shall be for a period of 45 (Forty-Five) days beyond the date of completion of all contractual obligations including warranty and maintenance obligations, if any. All claims under the warranty etc. shall be preferred to the executants bank up to 6 (six) months from the above-mentioned 45 (forty-five) days period.
2.33.4 Performance Security Deposit can also be submitted by the Contractor in the form of Fixed Deposit/Demand Draft.

2.34 Signing of Contract

2.34.1 Promptly after notification of Award/issue of Letter of Acceptance/issue of Work/Purchase Order, the Procuring Entity may send the successful Bidder the draft Contract Agreement.

2.34.2 The successful Bidder shall sign, date, and return the contract to the Procuring Entity (APGCL) within twenty-eight (28) days of receipt of the Letter of Acceptance/Work/Purchase Order along with required performance security.
SECTION-III

3. Evaluation and Qualification Criteria

3.1 Evaluation Criteria & Methodologies

3.1.1 Evaluation Criteria 

(i) The Procuring Entity shall use the criteria and methodologies listed in this Section/in this Document to evaluate Bids. By applying the criteria and methodologies the TEC (Tender Evaluation Committee) shall determine the Most Advantageous Bid for Item/ Schedule/Work. That is the Bid that meets the Qualification Criteria and has been determined to be:

a) substantially responsive to the bidding document, and
b) the lowest evaluated cost for the item(s) or the Schedule, Works, as the case may be, as per ITB 2.29.

(ii) The determination of bidder quoting lowest cost shall be based on the comparison of evaluated total bid price carried out on “Delivery Duty Paid (DDP) consignee site basis”, quoted by substantially responsive bidders and shall be inclusive of all P&F, Freight, Insurance, loading/unloading charges, travelling charges, boarding, lodging, fooding charges, GST, any other tax/duties, etc. That is, L1 bidder shall be the one who quoted the lowest total price inclusive of all cost components including GST in the BoQ (i.e., Price Bid) of the tender.
3.2 Qualification Criteria

3.2.1 Eligibility Criteria

To be eligible for participation in this tender, the bidder must satisfy at least one of the following categories:

a) Manufacturer: The bidder is the direct manufacturer of the Isolator offered. Here, the bidder shall submit necessary documents supporting the claim that the bidder is a manufacturer of the offered isolator.  
b) Authorized Representative: The bidder is a formally authorized vendor or authorized dealer of Isolator Manufacturer. Here the bidder shall submit Authorization Letter from the Manufacturer of the offered Isolator in Form B3 format. Also, the bidder shall submit supporting documents regarding his Principal being a manufacturer of the offered Isolator.
3.2.2 Required Minimum Experience 

(i) The bidder should have successfully executed at least 01 (one) work for the Supply, Installation, Testing, and Commissioning (SITC) of 132 kV or above voltage grade Isolator(s) during the last 7 (seven) years.

· Calculation Period: The 7-year period shall be calculated from the date of successful completion of the work (as stated in the Completion Certificate) up to the state date of online bid submission for this tender.

· Documentation: Bidders shall submit copies of Work Orders and corresponding Completion Certificates issued by the client as primary evidence.
3.2.2.1 Type Test Requirements

(i) Standard Compliance: The bidder must submit valid Type Test Certificates for the offered Isolator model in technical bid. These tests must have been conducted at an accredited independent laboratory (such as CPRI, ERDA, KEMA, or equivalent) in accordance with relevant IEC/IS standards.

(ii) The Type Test reports must be dated within 10 (ten) years prior to the online bid submission start date of this tender.
(iii) The equipment offered in the bid must be of the same design, material, and similar rating as the unit subjected to the Type Tests. Bidders must submit the full test reports, including relevant drawings and technical parameters, for evaluation.

Note:
(i) Any adverse performance report from any client of the bidder regarding the quality of materials supplied, quality of work executed, or failure to meet the work schedule may be considered grounds for disqualification.

(ii) If a bidder provides Type Test certificates that are found to be expired, technically mismatched with the offered product, or issued by a non-accredited lab, the bid shall be deemed technically non-responsive.

3.2.3 Financial Standing

(i) The Bidder must have an average annual Turnover of at least Rs. 64.00 Lakh (Rupees Sixty-Four Lakh only) during the 03 (three) Financial Year, FY 2022-23, 2023-24 & 2024-25.

(ii) In this regard, a certified copy from the Chartered Accountant or Audited Financial Report for FY 2022-23, 2023-24 & 2024-25 should be submitted by the bidder along with his technical bid.
(iii) This must be accompanied by relevant financial documents viz. – Balance Sheet, Profit & Loss Statement, ITR, etc. of the 03 (three) financial year, FY 2022-23, 2023-24 & 2024-25.
(iv) The bidder should have a positive Net Worth for last three financial years FY 2022-23, 2023-24 & 2024-25.
SECTION-IV

4. Schedule of Requirements

4.1 Details of Requirement

Scope of Work for “Design, Supply, Retrofitting Installation, Testing and Commissioning of 145 kV Isolators at 132 kV Switchyard of Lakwa Thermal Power Station, APGCL”.
Scope of Work

APGCL proposes to replace 11 (eleven) existing 145 kV isolators as part of the upgradation of the 132 kV Switchyard at LTPS. The newly supplied isolators shall be installed on the existing isolator structures, where the current isolators are presently in service.

Out of the 11 isolators:

6 (six) are connected to the main Generating Station Bus of LTPS.

5 (five) are located on the line side.

Replacement of the 6 bus isolators will require a complete shutdown of the generating station bus, resulting in zero power generation during the replacement period.

To minimize disruption, APGCL intends to carry out the replacement/retrofitting work with the least possible downtime.

The successful bidder shall prepare a detailed execution plan in close consultation with APGCL site officials to ensure that the shutdown period is minimized and all works are completed safely and efficiently.

Bidder Responsibilities

The bidder should note the following:

(i) Tools, Tackles & Power Supply

The bidder shall arrange all necessary tools, tackles, and power supply at their own cost and risk. It is to be noted that the auxiliary power supply of the plant will not be available during the Bus Shutdown Period.

(ii) Testing Equipment

All testing equipment required for performing the necessary tests, including routine commissioning tests for the isolators, shall be arranged by the bidder at their own cost.

(iii) Retrofitting & Corrective Measures  
As the work involves retrofitting newly supplied isolators into existing structures, any corrective measures required (within the bidder’s scope of work) to ensure the desired performance of the isolators shall be the bidder’s responsibility without any additional financial implication to APGCL. Hence, its preferred that bidders do a Site Visit before bid submission. 
(iv) Site Visit

For further details regarding the existing isolator structures, etc., bidders are advised to visit the site on any working day for proper assessment before submission of bids.

Reference Drawings

A set of drawings of the existing isolator structures is provided in Annexure-I for bidders’ reference.

SCOPE OF SUPPLY AND INSTALLATION:
	Sl. No.
	Description
	Quantity
	Unit

	1
	Supply of 145 kV, 1600 A, 31.5 kA, 3-Phase DBCR Motor Operated Isolator with single earth switches (manual operated) with Solid Core Post Insulator as per Specification.
	06
	Set

	2
	Supply of 145 kV, 1600 A, 31.5 kA, 3-Phase DBCR Motor Operated Isolator with two earth switches (manual operated) with Solid Core Post Insulator as per Specification.
	05
	Set

	3
	Supply of Terminal Connectors as per Specification suitable for Moose Conductor.
	66
	Nos.

	4
	Dismantling of Existing Isolators
	11
	Set

	5
	Installation of newly supplied Isolators along with termination of conductors.
	11
	Set

	6
	Testing and Commissioning of all newly installed Isolators
	11
	Set


The scope of work shall further include, but not be limited to, the following activities:

· Packing and Loading: Proper packing and loading of all ordered materials by the bidder.

· Safe Transportation: Secure transportation of the materials to the LTPS site.

· Unloading at Site: Unloading of materials at the LTPS site in a safe and organized manner.

· Lifting Facility: Arrangement of appropriate lifting facilities at the site for execution purposes.

· Handling of Equipment: Lifting and lowering of all isolator equipment during execution of the work.

· Insurance Coverage: Procurement of insurance to indemnify against any loss or damage of materials during transit up to the LTPS site and thereafter until the items are officially handed over to APGCL.
For visit at LTPS Site, bidder shall contact the General Manager of the Plant in advance seeking permission for such site visit.

Contact Details of the General Manager of Lakwa Thermal Power Station (LTPS) is given below: -

Mr. Janardan Das, 

General Manager, LTPS, APGCL.

Contact No.: 9435529107 (M).

Email Id: Janardan.das@apgcl.org
4.2 Consignee Address Details

The General Manager, 

Lakwa Thermal Power Station (LTPS), APGCL.

District: Charaideo

State: Assam

PO: Suffry

PIN: 785689

Contact No.: 9435529107 (M).

Email Id: Janardan.das@apgcl.org 
4.3 TECHNICAL SPECIFICATION FOR 145 KV ISOLATOR

4.3.1 SCOPE

The scope covers design, manufacture, testing, supply, delivery, erection, testing and commissioning of Horizontal Centre rotating Double Break (HCDB), 3 pole gang, and motor operated isolator of rated current capacity as per technical specification enumerated herein.
4.3.2 STANDARD:

Disconnecting switches (isolators) covered by this specification shall conform to latest edition of IS:9921 (Part I to Part V) & IEC-129. Porcelain post insulators for the isolators shall conform to IS-2544 and/or IEC:168 as amended up to date except to the extent explicitly modified in this specification. Porcelain post insulators of isolator shall be guided by relevant technical specification of post insulator.
4.3.3 GENERAL INFORMATION:

The disconnecting switches (isolators) shall be installed as a replacement for existing isolators on the existing isolator structures in the 132 kV LTPS Sub-station.

Any material or accessories which may not have been specifically mentioned but which is usual and necessary for satisfactory and trouble-free operation and maintenance of the equipment shall be within the scope of supply without any extra financial implication.

Isolators shall be outdoor and off-load type. Earth switch shall be provided on 
isolator whenever called for.
4.3.4 DESIGN CRITERIA: 

The 145 KV Horizontal Centre rotating Double Break type isolator shall be gang operated through motor from local as well as from remote control panel. There should be provision for mechanical operation by hand of isolators locally. 

Earth switch wherever provided shall be constructional interlocked as well as electrically interlocked so that earth switch can be operated only when the main isolator is open and vice versa.
4.3.5 DUTY REQUIREMENT:

Isolator and earth switches shall be capable of withstanding the dynamic and thermal effect of maximum short circuit current of the system in their closed position. They shall be constructed such that they do not open under influence of short circuit current.

Earth switch can be capable of discharging trapped charges of the respective lines.

Isolator shall be capable of making/breaking normal current with no significant change in voltage occurs across the terminal of each pole of isolator on account of make / break operation.

The isolators shall be capable of making/breaking magnetising current of 0.7A at 0.15 power factor and capacitive current of 0.7A at 0.15 power factor at rated voltage.

The earth switch wherever provided shall be constructionally inter-locked so that earth switch can be operated only when the isolator is in open condition or vice versa. The constructional interlock shall be built in construction of isolator and shall be in addition to the electrical and mechanical interlocks provided in operating mechanism.

4.3.6 MAIN CONTACTS (MALE AND FEMALE):

The isolators with or without earthing switches shall have heavy duty self-aligning and self–cleaning type high pressure contacts. The contacts shall be made of hard drawn electrolytic copper. The high-pressure type contacts shall wipe the contact surface during opening and closing without causing any scouring or abrasion on the contact surface.

The contacts and other current carrying parts shall be so designed that their temperature rise under different operating conditions shall not exceed the value specified in IS:9921. Temporary rise of temperature due to passage of specified rated short circuit current shall not cause any annealing or welding of contact surfaces.

All current carrying parts including Earth Switch should be of Electrolytic Copper of current density 1.75 Ampere per sq. mm (Max.). For all aluminium parts, current density should be 0.75 ampere per sq. mm (Max.).

The female contacts of the horizontal type isolators shall consist of properly tempered loops of copper strip suitable for rated and short time current rating. The hard drawn electrolytic copper strips shall be silver plated of minimum 20 micron thickness and shall be fixed with powerful phosphor bronze or stainless-steel spring of required number.

4.3.7 INSULATORS:

The insulators to be used shall conform to IS:2544 and/or IEC-168 and shall be solid core type and shall be homogeneous; free from cavities, tough and impervious to moisture.

Glazing of porcelain shall be uniform brown colour free from blister, burns and other defects which may affect the mechanical and dielectric quality of the insulators.

All iron parts shall be hot dip galvanised. The joints shall be so designed that any thermal expansion of the metal and the porcelain parts shall not be loosened during the whole range of operation.

Puncture voltage of Insulator shall be greater than dry flashover voltage of respective Isolators.

The design of the isolator shall be such that pressure due to the contact shall not be transferred to the Insulators after the main blades are fully closed.

The cantilever strength (min) of solid core support insulator shall be as specified under ‘specific technical particulars’.

4.3.8 BASE OF THE ISOLATOR:

Each isolator shall be provided with a complete galvanised steel base with holes and designed to mount on a supporting structure, which shall be rigid, and self-supporting.

4.3.9 TERMINAL CONNECTORS:

Terminal connectors shall be suitable for carrying rated current continuously and also the rated short time current without exceeding temperature specified for the main blades. One end rigid and other end flexible type connectors shall be used.

The terminals of disconnecting switches (isolators) shall be provided with bimetallic terminal connectors suitable for connection to ACSR Moose. 

4.3.10 AUXILIARY SWITCHES:

All isolator and earthing switches shall be provided with auxiliary switches suitable for 220±10% V DC and continuous current carrying capacity of 10 Amps.

The contacts of the auxiliary switches shall be used for remote indication of open or close position in the control panel as well as for electrical interlock with other equipment. These contacts shall be housed in a suitable weatherproof cabinet for outdoor use to make it free from dust and prevent ingress of moisture during rain. Degree of protection of the cabinet IP-55 as per IS- 13947.

The number of auxiliary switches shall be determined as per requirement. An indicative number has been specified under specific technical parameters. 

4.3.11 EARTH SWITCH:

The Earthing switch shall include the complete operating mechanism and auxiliary contacts.

The earth switch of the isolator shall be manually operated by hand. The operating handle shall be such that it can easily be operated from standing height from ground. There shall be interlock between contacts of main blades and earth switches so that at one time either main blade or earth switch can be made ON. The earth switches shall be able to carry the same fault current as the main blades of the isolators and shall withstand dynamic stresses.

The earthing terminal of earth switch shall be able to carry the rated short time current rating for three seconds.

Earth switch shall be provided with flexible copper braids for connection to earth terminal. These braids shall have the same short time current capacity as the earth blade.

The frame of each isolator and earthing switch shall be provided with two reliable earth terminals for connection to the earth mat.

Isolator design shall be such that earthing switch position can be interchange to either side of the structure as per requirement at site.

The plane of movement and final position of the earth blades shall be such that adequate electrical clearance are obtained from adjacent live parts in the course of its movement between ON and OFF position.
4.3.12 OPERATING MECHANISM:

The operating mechanism shall be motor operated as well as manually operated and shall ensure quick and effective operation. The operating mechanism shall be housed in a weatherproof outdoor mechanism box near the base of the isolator.

Each isolator and earth switch shall be provided with a manual operating handle at a height of 1000 mm. (approx.) from the base of isolator support structure so that one man can open or close the isolator with ease in one movement while standing at ground level.

All operating linkages carrying mechanical loads shall be designed for negligible deflection. The isolator and earth switches shall be provided with ‘Over Center’ device in the operating mechanism to prevent accidental opening due to wind, vibration, short circuit forces or movement of the support structures.

All rotating parts shall be provided with grease packed roller or ball bearings in sealed housing designed to prevent ingress of moisture, dirt or other foreign material. Bearing pressure shall be kept low to ensure long life and ease of operation. Locking pins whenever used shall be rustproof.

Signaling of closed position shall not take place unless it is certain that the movable contacts have reached a position in which rated normal current, peak withstand current and short time withstand current can be carried safely. Signaling of open position shall not take place unless movable contacts have reached a position such that clearance between contacts is at least 80% of the isolating distance.

The position of movable main blade of each isolators and earthing switching shall be indicated by a mechanical indicator at the lower end of the vertical rod shaft for the isolator and earthing switch. The indicator shall be of metal and visible from operating level.

The isolator blades/earth switches shall be in continuous control throughout the entire cycle of operation. The operating rods and pipe shall be rigid enough to maintain control under adverse conditions to withstand all torsional and bending stresses arising from operation. All hinges / movable joints in current carrying parts shall be shunted with flexible copper conductors having adequate length and size to prevent breaking due to repeated operation. Operating rod of main and earth switch shall be pad lockable.

(i) The mechanism box shall have neoprene gasket hinged door at front with locking facility. All accessories inside the housing shall be easily accessible.
(ii) The box shall be suitable for mounting on structure as well as on plinth of adequate height.
(iii) The Control Cabinet/Operating mechanism box shall be made of 3 mm (min.) thick Aluminium sheet such that it provides adequate rigidity and shall be provided with removable gland plates at the bottom of the box for connection of cables. Space heater with thermostat and switch as well as one 230 Volt combined 5A/15A AC plug with socket and switch shall be provided. Mechanism Box shall have Degree of Protection not less than IP-55 as per IS:13947
(iv) Cubicle illumination lamp with door switch shall be provided.
(v) Suitable reduction gear shall be provided between motor and the drive shaft of the isolator. The mechanism shall stop immediately when motor supply is switched off.
(vi) Manual operation facility (with handle) should be provided with necessary interlock to disconnect motor.
(vii) Gear should be forged material and suitably chosen (rust free) to avoid bending/jamming on operation after a prolonged non-operation. Proper arrangement shall be provided for smooth transfer of rotary motion from motor shaft to the insulator along with stoppers to prevent over travel.

4.3.13 EARTHING:

Flexible conductor of adequate section shall be provided at the lower end of the vertical operating shaft for connection to station earthing system. It is for earth switch only. The frame of each Isolator and earthing switches shall be provided with two reliable earth terminals for Connecting G.S. Flat of 50×10mm.

4.3.14 SUPPORTING STRUCTURE:

The isolator shall be placed on rigid, self-supporting galvanized supporting structure. The base of the isolator shall be connected to the supporting structure through bolts of proper size as per requirement.

4.3.15 COMPLETENESS OF SUPPLY:

Any fittings, accessories or apparatus which may not have been mentioned in this specification, but which are necessary for efficient operation / performance shall deem to be included in the contract.

4.3.16 
GALVANISING:

All ferrous parts including nuts, bolts, washers and other ferrous parts shall be hot dip galvanised as per relevant IS to withstand at least six dips each of one minute duration in copper sulphate solution of requisite strength except threaded portion which should withstand four dips each of one minute duration.

4.3.17 TEST AT FACTORY AND TEST CERTIFICATES:

Following routine tests at manufacturer’s works shall be carried out. The contractor shall give at least 15 (fifteen) days advance notice to the Chief General Manager (Generation), APGCL intimating the actual date of inspection and details of all tests that are to be carried out:

(i) Power frequency dry test of the main circuit. (May be omitted as per IEC 60694 cl.7.1 subject to dimensional checking as per dimensions shown in type test report).
(ii) Voltage test on control and auxiliary circuits.
(iii) Measurement of resistance of the main circuit
(iv) Mechanical operation tests.
(v) Routine test report for all Isolators is to be submitted along with inspection Report.

All Acceptance Tests at manufacturer's works shall be carried out in presence of representative of APGCL as per relevant IS & IEC. on every lot offered for inspection. In addition to above, all routine tests are also to be carried out on each Isolator as per relevant IS & IEC. Selection of samples for acceptance test as well as rejection and retesting shall be guided by relevant IS & IEC. The entire cost of acceptance and routine tests that are to be carried out as per relevant IS shall be treated as included in quoted price of Isolators by bidder.
4.3.18 TEST REPORTS AND TYPE TESTS:

Only type tested Isolator as per relevant IS and IEC shall be offered. Isolator offered should be of similar type & similar design with ones on which type testing has been carried out as per relevant IS and IEC. 

Copies of type test reports carried out in Govt. recognized Test House or Laboratory /NABL accredited laboratory shall have to be submitted by successful bidder along with their technical bids. 

The submitted type test report shall prove that the type test have been carried out within ten years prior to the start date of online bid submission of this tender. 

Each type test report shall comply the following information with test result

(i) Compete identification, date and serial no.
(ii) Relevant drawings as documented with test report.
(iii) Method of application, where applied, duration and interpretation of each test.

4.3.19 SPECIFIC TECHNICAL PARTICULARS: Isolator
	Sl no.
	Description
	Parameters

	1
	Nominal System Voltage (kV)
	132 

	2
	Rated Voltage (kV)
	145

	3
	Frequency (Hz)
	50

	4
	No. of Phases
	3-Phase

	5
	System Neutral Earthing
	Effectively Earthed

	6
	No of poles
	3

	7
	Location
	Outdoor

	8
	Rated Insulation Level
	

	
	1.2/50 micro-sec. lightning Impulse Withstand Voltage (KVp)

i) Between line terminals and ground.

ii) Between line terminals with isolator open.
	±650

±750

	
	One minute PF withstand voltage (KVrms)

i) Between line terminals and ground.

ii) Between terminals when isolator is open.
	275

315

	9
	Rated Normal Current (Amps)
	1600

	10
	Rated Short Time withstand current of Main Contacts and Earth Switch (KA) and duration (for 3 sec) and dynamic current (KAP) of isolator and Earth Switch.
	i) 31.5 for 3 sec.

ii) 78.5 KAP

	11
	Mounting Condition
	On Structure

	12
	Method of operation Main / Earthing Switch
	Motor / Manual

	13
	Number of auxiliary switches for main isolator
	10NO+ 10NC(min.)

	14
	Number of auxiliary Switches in Earth Switch
	4 NO+ 4NC

	15
	Rated auxiliary AC Supply (Volt)
	400/230 V ±10%

	16
	Rated auxiliary DC Supply (Volt).
	220 V ±10%

	17
	Minimum creepage distance of support insulators (mm)
	3625

	18
	Phase to phase spacing (mm)
	2700

	19
	Operating Time of isolator
	Less than 12 seconds

	20
	Mechanical terminal load for horizontal centre break Isolator

i) Straight Load (N)

ii) Cross Load (N)
	500

170

	21
	Rated magnetising / capacitive current make and break
	0.7 Amps at 0.15 PF

	22
	All Contacts
	Silver –plated , minimum 20 micron

	23
	Temperature rise above ambient temperature of 50 deg C corresponding to maximum continuous current (ºC)
	Within limit as per table IV of IS : 9921(Pt. II) - 1982

	24
	Cantilever strength of support insulator (Kgf)
	400

	25
	Current Density of Copper (Max.) (A/Sq. mm.)
	1.75


4.3.20 GUARANTEED TECHNICAL PARTICULARS FOR ISOLATORS
(To be filled in and signed & submitted by the Bidder)

	1
	ISOLATOR
	

	a
	Name of Manufacturer
	

	b
	Type & Model of the Manufacturer
	

	c
	Date of Last Type Test
	

	d
	Type from Operation
	

	e
	Conforming Standard
	

	f
	Total Height of the Isolator
	

	g
	Total weight of the Isolator
	

	h
	Material of the Main Blades
	

	i
	Material of the Main Contacts
	

	j
	Rated Voltage (KV)
	

	k
	Maximum Voltage (KV)
	

	l
	Rated Frequency (Hz)
	

	m
	Insulation Level :
	

	i.
	1.2/50 micro-sec. L.I. withstand voltage
	

	ii.
	Between line terminals and ground parts (KVp)
	

	iii.
	Between Isolating Arms (KVp)
	

	iv.
	One minute Power frequency withstand Voltage (KVrms)
	

	v.
	Between line terminals and ground parts (KVp)
	

	vi.
	Between Isolating Arms (KVp)
	

	2
	ISOLATOR CURRENT
	

	a
	Rated normal current Amps (rms)
	

	b
	Short time current rating (KA) for  3 Sec.
	

	c
	Temperature rise above ambient of 50oC at rated current (oC)
	

	3
	ISOLATOR CLEARANCE
	

	a
	Clearance between : Phase to Phase (mm)
	

	b
	Clearance between : Phase to Earth (mm)
	

	c
	Clearance between Two arms in Open condition (mm)
	

	d
	Height of the Rotating Insulator (mm)
	

	4
	ISOLATOR DRIVES
	

	a
	Type of Drive Motor (Like AC Squirel Cage, DC Motor)
	

	b
	Volatge of Motor Drives
	

	c
	Provision of Manual Operation (Yes / No)
	

	d
	Rated auxiliary supply voltage to coil for close & Open Operation
	

	e
	Number and type of auxiliary contacts for
	

	f
	main blade
	

	g
	earth switch
	

	h
	Operating time for closing (secs.)
	

	i
	Operating time for opening (secs.)
	


SECTION-V
5. Bidding Forms
Bidders shall fill-up and sign-seal and submit the below given relevant Forms – B1 to B7 and B9 & B10 in technical bid.

5.1 Letter of Bid

FORM-B1

Letter of Bid (the bidder must prepare the Letter of Bid on its letterhead clearly showing the Bidder’s complete name and address.)

Date: [insert date (as DD, MM, YYYY) of Bid Submission]

Tender Ref. No.: ______________________________________

To: 

The Chief General Manager (Gen), APGCL

3rd Floor Bijulee Bhawan

Paltanbazar, Guwahati-781001

a) We have examined and have no reservations to the Bidding Documents, including Addenda issued to Bidders;

b) We meet the eligibility and qualification criteria as set out in this Bidding Document;

c) We have submitted the required bid security (EMD) and tender processing fee as stated in the bid document.

d) We offer to supply following tendered item(s) in conformity with all terms and conditions as specified in the Bidding Documents including the quantity, quality standard and delivery conditions, etc., as specified in the bid document under scope of work:

	Sl.

No
	Name of the Item(s)


	Description
	Remarks

	1
	
	
	

	2
	
	
	

	3
	
	
	

	4
	
	
	


e) We have submitted both technical and price bid for above mentioned items and our bid shall be valid for a period of 180 (one hundred eighty) days from the start date of online submission of bid and it shall remain binding upon us and may be accepted at any time before the expiration of that period.

f) If our bid is accepted, we commit to furnish a performance security in accordance with the Performance Security Deposit Clause of the Bidding Document.

g) We are not participating, as a Bidder, in more than one bid in this bidding process.

h) We, along with any of our, suppliers, OEM, Service Provider etc. are not debarred by any procuring entity under the State Government, the Central Government or any State Government or any Public Undertaking, Autonomous Body, Authority by whatever name called under them;

i) We hereby certify that we have taken steps to ensure that no person acting for us or on our behalf will engage in any activities which is in contravention of the Code of Integrity proscribed in the Bidding Documents;

j) We hereby certify that we are neither associated nor has been associated directly or indirectly with any personnel/official or any other entity that has prepared the specifications and other documents for the subject matter of procurement;

k) We hereby certify that we have fulfilled our obligations to pay all such taxes as payable to the Central Government or the State Government or any local authority;

l) We hereby certify that we are not insolvent, in receivership, bankrupt or being wound up, not have its affairs administered by a court or a judicial officer, not have its business activities suspended and must not be the subject of legal proceedings for any of the foregoing reasons;

m) We hereby certify that our directors and officers have not been convicted of any criminal offence related to their professional conduct or the making of false statements or misrepresentations as to their qualifications to enter into a procurement contract within a period of three years preceding the commencement of the procurement process, or not have been otherwise disqualified pursuant to debarment proceedings;

n) We understand that this bid shall constitute a binding contract between us, until a formal contract is prepared and executed; and

o) We understand that you are not bound to accept the lowest evaluated bid or any other bid that you may receive.

Name of the Bidder SHAPE  \* MERGEFORMAT 



Name of the person duly authorized to sign the Bid on behalf of the Bidder

Title of the person signing the Bid SHAPE  \* MERGEFORMAT 



Signature of the person named above SHAPE  \* MERGEFORMAT 



5.2 Bidder Information Form

FORM-B2

Bidder Information

[The Bidder shall fill in this Form in accordance with the instructions indicated below. No alterations to its format shall be permitted and no substitutions shall be accepted.]

Date: [insert date (as DD, MM, YYYY) of Bid Submission] 

Tender Ref. No.: _________________________________________

	1. Bidder’s Name [insert Bidder’s legal name]

	2. Bidder’s year of registration/incorporation: [insert Bidder’s year of registration/incorporation]

	3. Bidder’s Address: [insert Bidder’s legal address]

	4. Activities Undertaken by the Bidder:

	5. Bidder’s Authorized Representative Information

a) Name: [insert Authorized Representative’s name]
b) Address: [insert Authorized Representative’s Address]
c) Telephone/Fax numbers: [insert telephone/fax numbers]

d) Email Address: [insert Authorized Representative’s email address]


	6. Details of the Manufacturer and the Production/Processing facility from where the offered goods/item(s) have been produced and processed.

Sl.

No.

Name of the Goods/Item(s) offered

Name of the Manufacturer 

Details of the Production Facility

Details of the Manufacturing License 

1

2

3

4

5

6

7



	7. Years of experience in similar line of activity:



	8. List of clients in Govt/Public Sector to whom supply has been done in last three years:



	9. Details of the Bank Account:

(i) Name of the Bank:

(ii) Type of Account:

(iii) Account Number:

(iv) IFSC:




Signature of the Bidder/ Authorized Signatory

(Name, Address & Designation)

5.3 Manufacturer’s Letter of Authorization
FORM-B3
Manufacturer’s Authorisation Letter

Date: [insert date (as DD, MM, YYYY) of Bid Submission]

Tender Ref. No.: _______________________________

To: [insert complete name of Bid Inviting Entity]

WHEREAS

We [insert complete name & address], who are manufacturer of following items, do hereby authorize [insert complete name of Bidder] to submit a bid, the purpose of which is to provide the following item(s), produced/manufactured by us, and to subsequently negotiate and sign the Contract.

	S.

No
	Name of the Item(s)
	Quality

Certifications
	Details of the Mfg. License
	Details of Production Facility

	1
	
	
	
	

	2
	
	
	
	

	3
	
	
	
	

	4
	
	
	
	


We have been manufacturing product(s) of similar in nature as stated above since last three financial years ended on 31st March 2025. 

We shall stand guarantor with respect to the quality and genuineness for the goods manufactured or produced by us and supplied by <insert the name of the bidder> to <insert name of the procuring entity>, on the award of the contract.

We also stand guaranteed to fulfil the warranty and maintenance obligations with respect to the goods manufactured by us as per the bid terms and conditions either directly or through our authorized representatives.

Signed: [insert signature(s) of authorized representative(s) of the Producer/Manufacturer]

Name: [insert complete name(s) of authorized representative(s) of the Producer/Manufacturer]

Designation: [Designation]

Dated on
day of
, [insert date of signing]

Note: The Bidder (if not the manufacturer of the goods offered) shall require the Manufacturer to fill in this Form in accordance with the instructions indicated. This letter of authorization should be on the letterhead of the Manufacturer of the Goods offered and should be signed by a person with the proper authority to sign documents that are binding on the Manufacturer. The Bidder shall include it in its bid]
5.4 Details of Work Orders

FORM- B4
Name of the Bidder: ____________________________

Tender Reference No._____________________________

	Name of the Client 
	Order No. and Date
	Description of the Goods Supplied & Work Executed
	Value of Order
	Quantity


	Reason for delay in completion, if any.

	1
	2
	3
	4
	5
	6

	
	
	
	
	
	


Signature 

                 (Bidder/ Authorised Representatives)

The Bidder shall also furnish the following documents in connection with their past performance:

i) Copy of Orders.

ii) Documentary evidence (Client’s certificate) in support of satisfactory completion of contract: Work Completion Report.

5.5 Financial Strength of the Bidder

FORM-B5
Certificate on Financial Strength

(On the letterhead of Chartered Accountant/Statutory Auditor)

We/I have verified the Audited Financial Statement of Accounts and other documents of…………………….. having registered office at …………. pertaining to the financial year 2022-23, 2023-24 and 2024-25. Based on our verification of the aforesaid statements and records, we certify that the following details are true to the best of our information and according to the explanation given to us.
(Amount in INR Lakhs)
	Financial Information
	Financial Year
	Average

	
	2022-23
	2023-24
	2024-25
	

	
	Audited
	Audited
	Audited
	

	Total Turnover 
	
	
	
	

	Net worth
	
	
	
	


Date:                                                                                                                                                                   

                                                                        Signature and seal of the CA firm
Place:    

UDIN :……………………………………………….           

Note:   

a) The bidder must furnish CA Certified/Audited financial statements for the above-mentioned financial years.

5.6 Power of Attorney for Signing of Bid

FORM-B6
Format for Power of Attorney for Signing of Application
(On a Stamp Paper of Rs 100/-)
We, …………………………………………………. [name and address of the registered office] do hereby constitute, appoint and authorize Mr. / Ms. ………………………………(name and residential address) who is presently employed with us and holding the position of …………………………………………….as our attorney, to do in our name and on our behalf, all such acts, deeds and things necessary in connection with or incidental to our response to the Tender for [insert Name of Work] including signing and submission of all documents and providing information to the Client (i.e. [insert name of the Bid Inviting Entity]) and its officials or representatives, representing us in all matters before Client, and generally dealing with Client in all matters in connection with our bid response. 
We hereby agree to ratify all acts, deeds and things lawfully done by our said attorney pursuant to this Power of Attorney and that all acts, deeds and things done by our aforesaid attorney shall and shall always be deemed to have been done by us. Dated this the _______ day of _______2026
For _________________________
(Signature)

(Name, Designation and Address)
Accepted
_________________________(Signature)
(Name, Title and Address of the Attorney)

Date: __________
Note:
i. The mode of execution of the Power of Attorney should be in accordance with the procedure, if any, as laid down by the applicable law and the charter documents of the executants(s) and when it is so required the same should be under common seal affixed in accordance with the required procedure.

ii. In case an authorized Director or key officials of the Applicant signs the Application, a certified copy of the appropriate resolution/document conveying such authority may be enclosed in lieu of the Power of Attorney. 

iii. In case the Application is executed outside India, the Applicant must get necessary authorization from the Consulate of India. The Applicant shall be required to pay the necessary registration fees at the office of Inspector General of Stamps.

5.7 Undertaking by the Bidder

FORM-B7
Affidavit

(To be submitted on non-judicial stamp paper of minimum Rs 50/- duly certified by Notary)
We, M/s. ……………… (the Bidder), (the names and addresses of the registered office) hereby certify and confirm that:
(i) We or any of our promoter(s) / director(s) / partner(s) are not blacklisted or otherwise disqualified pursuant to any debarment proceedings by any Central or State Government, Local Government or Public Sector Undertaking in India from participating in any bidding process, either individually or as member of a consortium as on the_______ (Date of Signing of Bidder).
(ii) We are not insolvent, in receivership, bankrupt, being wound up, having our affairs administered by a court or a judicial officer, having our business activities suspended or subject of legal proceedings for any of the foregoing reason;
(iii) We or any of our promoter(s), director(s), partner(s) and officers are not convicted of any criminal offence related to their professional conduct or the making of false statements or misrepresentations as to their qualifications to enter into a procurement contract within a period of three years preceding the commencement of the procurement process. 
(iv) There is no conflict of interest in submitting this Bid.
(v) We shall abide by the clauses/ conditions of Bidding Documents issued by the Procuring Entity and any amendment made thereafter.

We further confirm that, we are aware of the fact that, our Bid submitted in response of the Tender Ref. No. [insert tender number &date] for [insert the name of the Goods/subject matter of the Tender], would be liable for rejection in case any material misrepresentation is made or discovered at any stage of Bid evaluation or thereafter during the agreement period.

Signature of the Bidder/Authorized Representatives
Name of the Bidder/Authorized Representatives 

5.8 Bank Guarantee Format for Bid Security (EMD)
FORMAT-B8
Format of BG for Bid Security (EMD)

(IN STAMP PAPER of Minimum Rs 100/-)
     Bank Guarantee No: ________________, Date: _____________

Bank Details: 

Guarantor: 

Tender No:

Name of Work:

Name of Bidder/Applicant:

Beneficiary: Chief General Manager (Gen),

                   Assam Power Generation Corporation Ltd. (APGCL)



      3rd Floor, Bijulee Bhawan, Paltanbazar, Guwahati – 781001, Assam.

Whereas ……………………..(Name and address of the bidder) is willing to submit their bid against the above mentioned tender no: ………………………. for ………………………….(Name of Work) invited by the beneficiary on behalf of Assam Power Generation Corporation Ltd. and as per tender/bid conditions, the applicant is required to submit a Bank Guarantee as Earnest Money Deposit.
At the request of the applicant, we as Guarantor, hereby irrevocably undertake to pay the beneficiary any sum or sums not exceeding in total an amount of Rs…………..(in numeric) (Rupees …………………….only- In words) if:

1) The bidder withdraws or amends, impairs or derogates from the bid in any respect within the period of validity of the bid.

2) The bidder fails to furnish the Performance Security for the due performance of the contract/Work Order against this tender.

3) The bidder fails or refuses to execute the contract.

We undertake to pay the beneficiary up to the above amount upon receipt of its first written demand, without the beneficiary having to substantiate its demand, provided that in its demand the beneficiary will note that the amount claimed by it due to it owing to the occurrence of one or more of the conditions, specifying the occurred condition or conditions.

This guarantee will remain in force up to………….(date) i.e. for 01 (one) Year from the start date of online submission of bid up to amount Rs…………. (in numeric) (Rupees …………………….only- In words) and any demand in respect thereof should reach the bank not later than the above date. 

Notwithstanding anything contrary contained in any law for the time being in force or banking practice, this guarantee shall not be assignable or transferable by the beneficiary, notice or invocation by any person such as assignee, transferee or agent of beneficiary shall not be entertained by the bank. Any invocation of guarantee can be made only by the beneficiary directly.

Notwithstanding anything to the contrary contained herein:
1. Our liability under this bank Guarantee shall not exceed Rs………….(in numeric) (Rupees …………………….only- In words).
2. This Bank Guarantee shall be valid up to ……………(date) i.e. For 01 (one) Year from the start date of online submission of bid.
3. The beneficiary’s right as well as the Bank’s liability under this guarantee shall stand extinguished unless a written claim or demand is made under this guarantee up to……………(date) i.e. up to a period of 01 (one) Year from the start date of online submission of bid.
Dated at
this 

day of 
,2026
(Signature on behalf of the Nationalized/Scheduled Bank)

(Seal of the Nationalized/Scheduled Bank)

Address of the main Branch of the Bank……………………

Address of the BG issuing Bank…………………

5.9 Statutory Tax Compliance

FORM B9

Statutory Tax Compliance
Self–Undertaking for Payment of Statutory Taxes 
To, 
The Procuring Entity, 

[Name of Department/Organization] 

[Address] 

Subject: Self–Undertaking regarding payment of statutory taxes before applying for tender Tender/Bid Reference No & Date: _____________________________. 

a) I/We have duly paid and cleared all statutory taxes, cess, dues, and levies payable to Local Authorities, Panchayats, Municipalities, State Government, and the Central Government up to the date of this tender submission and undertake to promptly discharge any such dues that may arise during the tenure of the contract.
b) I/We shall be solely responsible for payment of all applicable taxes, including GST, duties, license fees, cess, and any other statutory liabilities arising in connection with the performance of the contract.
c) I/We undertake to immediately inform the Procuring Entity of any statutory revision, demand, or default and shall bear complete responsibility for settlement of such dues, keeping the Procuring Entity fully indemnified against any liability in this regard.
d) I/We hereby confirm that all notices, demands, or proceedings issued by any Tax Authority up to the date of this submission have been duly complied with and settled. Any outstanding demand has been disclosed to the Procuring Entity, and I/We undertake to settle the same before award of contract, keeping the Procuring Entity indemnified against any liability.
e) In case of any reduction in the rate or amount of GST, taxes, duties, or levies after the Notification of Award, the corresponding benefit shall be duly passed on to the Procuring Entity without delay.
f) This undertaking shall remain valid and binding for the entire duration of the tender evaluation and, if awarded, for the full tenure of the contract including any extensions, until its closure.
g) I/We understand that at any stage if it is found that any statement or document submitted is false/forged/invalid, the Procuring Entity has discretion to terminate the contract and proceed with alternate arrangements as per the tender’s risk purchase clause if any. 

I/We declare that the above statements are true to the best of my/our knowledge and belief. 

Authorized Signatory 
Name: ____________________ 

Designation: ______________ 

Firm/Company Name: ________ 

Date: ____________________ 

Place: ___________________ 

Company Seal:
5.10 Checklist of Documents Submitted along with Technical

To be submitted along with technical bid by the bidder.
FORM-B10
CHECKLIST 

	Sl. No.
	Description of the Document
	Page
	Remarks

	
	
	From
	To
	

	1
	
	
	
	

	2
	
	
	
	

	3
	
	
	
	

	4
	
	
	
	

	5
	
	
	
	

	6
	
	
	
	

	7
	
	
	
	

	8
	
	
	
	

	9
	
	
	
	

	10
	
	
	
	

	11
	
	
	
	


SECTION-VI
6. General Terms and Conditions (GTC)
The bidder must adhere to the clauses of this tender document and also, the tender must be submitted as per instructions given in this document, in the absence of which the submitted tender of the bidder may not be considered for evaluation at this end. However, in case of deviation from any of APGCL’s tender document clause by the bidder, the same must be stated clearly as per the format given below:

EXCEPTION AND DEVIATION PROFORMA

	Sl.No.
	Ref of Bid Document
	Subject
	Deviation Details

	
	Page No.
	Clause No.
	
	

	
	
	
	
	


In case the bidder doesn’t state the deviation(s) clearly, it will be presumed that the bidder has accepted all terms and conditions of this tender document. Also, acceptance/rejection of bidder’s deviation(s) shall be at sole discretion of APGCL. 

The clauses under the ‘Terms & Conditions of Contract’ are given below:

6.1 Firm Price:
The basic price(s) quoted by the bidder shall be firm without any variation in any way till completion of the work in full. 

The price offered in the Price Bid (BOQ) for the item(s) shall be based on FOR consignee location/DDP (Delivery Duty Paid up to Place of destination) price (i.e., Charges against Freight, Transit Insurance, Packing and Forwarding etc. shall be inclusive). The basic prices shall also be inclusive of any charges against loading/unloading, travelling expenses of Contractor’s Personnel, boarding & lodging of Contractor’s Personnel at site, etc.
Unit GST shall be quoted in the BOQ.

6.2 Performance Security Deposit:

On receipt of the Letter of Acceptance/Order, the successful bidder shall have to deposit a Bank Guarantee from a Nationalized or Scheduled Bank of RBI for an amount equivalent to 10% (ten percent) of the total value of Order (including GST, etc.) as performance security, within 28 (twenty eight) days from the date of receipt of the LOA/Order or before signing of contract, whichever is earlier, duly pledged in favor of the Chief General Manager (Gen), APGCL and such security deposit shall be valid up to 45 (forty-five) days beyond the date of completion of all contractual obligations including warranty and other obligations, if any. All claims under the warranty, etc. shall be preferred to the executants bank up to 6 (six) months from the above mentioned 45 (forty-five) days period.
If the Contractor fails or neglects to perform any of his obligations under the contract/as per work order/tender, then APGCL shall have the right to forfeit either in full or in part at its absolute discretion, the security deposit furnished by the Contractor. No interest shall be payable on such deposits.
Note: The successful bidder is requested to advice the Bank Guarantee issuing bank to comply with the following and ensure to submit, the receipt of the copy of SFMS message as sent by the issuing bank branch, along with the original bank Guarantee in APGCL’s tender issuing office:

The Bank Guarantee issued by the Bank must be routed through SFMS platform as per following details:

i.   MT/IFN760/MT/IFN760 COV for issuing of Bank Guarantee.

ii. MT/IFFN 760/MT/IFN 767 COV for amendment of Bank Guarantee.

The above message/intimation shall be sent through SFMS by the BG issuing bank branch to Axis Bank, Paltan Bazar Branch, A/C no. 37501020007573, IFS code-UTIB0000375, Branch Address- AXIS Bank Ltd, Commercial Building, A.T. Road, Guwahati-781001, India.

Apart from Bank Guarantee, Performance Security Deposit can also be submitted through Fixed Deposit (FD) and Demand Draft (DD), pledged/drawn in favor of The Chief General Manager (Gen), APGCL, Bijulee Bhawan, Paltan Bazar, Guwahati-1.  All other Terms & Conditions regarding the Performance Security Deposit shall remain the same as mentioned in the above paragraphs.

Note: The Bid Security (EMD) deposited by a Bidder may be forfeited in case the bidder does not deposit the required performance security and/or sign the contract within the specified time period.

6.3 Packing: 

The Bidder shall provide packing of the Goods as is required to prevent their damage or deterioration during transit to their destination. During transit, the packing shall be sufficient to withstand, without limitation, rough handling and exposure to extreme temperatures, salt and precipitation, and open storage. Packing case size and weights shall take into consideration, where appropriate, the remoteness of the goods’ final destination and the absence of heavy handling facilities at all points in transit.
6.4 Insurance:
a. The Contractor shall, unless otherwise specified by the Purchaser (APGCL), insure the materials through their underwriter at their cost and shall keep it insured against any loss/damage/pilferage in transit, destruction or damage by fire/flood, exposure to vagaries of weather or through riot, civil commotion, war or rebellion, for the full value of the materials until the materials are received at the Purchaser's (APGCL) destination store and till commissioning/handover to APGCL.
b. The Contractor shall be responsible for safe arrival of the goods at destination (APGCL Store), their unloading and their receipt by the consignee. The Assam Power Generation Corporation Limited will discharge consignee's responsibilities only and shall not be responsible for any damage/ loss/ pilferage/ non-delivery by the carriers.
c. In case of any loss/damage/pilferage/non-delivery/short delivery by carriers etc. the supplier (Contractor) shall replace free of cost the missing/damaged/lost materials immediately/within 30 (thirty) days from the receipt of report thereof from the consignee without waiting for settlement of their claims with their carriers/ under-writers. Normally such reports from the consignee to the supplier (Contractor) shall be initiated immediately or within a period of 30 (thirty) days from the date of receipt of each consignment by him.
d. If it is considered necessary that the damaged equipment either in part or in full be sent back to the manufacturer's works for repair, the manufacturers/ suppliers (Contractor) will furnish the Bank Guarantee for the full value of equipment needing repairs and such Bank Guarantee shall remain valid till such time the equipment are repaired and returned to the consignee in good condition. The to and fro freight, handling and insurance charges in such cases will be borne by the Contractor.
e. Unless otherwise mutually agreed upon, in case of failure by the supplier to replenish/ make good of the loss/ damage/ short supplied quantities, within the stipulated period, the Purchaser (APGCL) reserves the right to forfeit the security deposit and/or adjust any outstanding payment to the Contractor with APGCL or take any other appropriate action.
f. All materials will be dispatched against clear door delivery basis unless otherwise agreed by the Purchaser (APGCL).
Also, insurance of all work personnel of the Contactor engaged during the work execution at work site is mandatory on behalf of the Contactor and necessary documents in this regard are required to be submitted by the Contactor to APGCL Official at work site before commencement of work. Without proper Insurance of all site personnel of the Contractor engaged for the work at work site, the Contractor shall not be allowed to execute the work at site and any delay in work completion for this shall be at Contractor’s sole responsibility. Cost of Insurance of Contractor’s Site Personnel working at work site shall be at Contractor’s scope.
6.5  Clarification and Additional Information: 

During the submitted bid’s evaluation, APGCL may request the bidder for any clarification on the submitted bid and/or documents related to the tender. The bidder shall submit the sought clarifications and/or document(s) within stipulated time as determined by the undersigned. However, seeking clarification and document(s) during bid evaluation shall be on sole discretion of APGCL.
6.6 Precautions to be Taken During Execution of Work:

The Contractor shall take reasonable and statutory precaution during execution of the work at work site so as to avoid accident and damage to equipment and injury to workman and to prevent theft, pilferage etc.
6.7 Liability for Accident and Damage: 
The Contractor shall not claim for compensation arising out of any accident(s) or damages done during the course of work execution at work site & the Contractor will be responsible for paying compensation to the worker as per Workmen Compensation Act, 1923 and subsequent amendments thereof. It is further clarified that in case any payment is to be made by the Contractor under the said Workmen Compensation Act, the same shall be paid forthwith and in case of failure in making such payments APGCL shall make payment and the amount so paid shall be deducted from the bills of the Contractor.
The Contractor shall adequately insure against liability to third party, in the joint names of the Employer, the Contractor and the sub-contractor for any loss, damage, death or bodily injury which may occur to any physical property owned by others, the goods/materials of the contract or to any person which may arise out of the performance of the contract.
6.8 Acceptance of the Order/Contract:

Acceptance of the Order/LOA in writing shall be conveyed by the supplier/Contractor to the Purchaser/Employer (APGCL) within 07 (seven) days from the date of issue of the such Order/LOA failing which, it will be presumed the Contactor has accepted the all the Clauses, Terms & Conditions etc. in full.
6.9 Force Majeure:

Normally, force majeure shall cover only Act of God, fire, war, riots, epidemics and act of Government, etc. Any constraints other than those specified above, will not constitute a force majeure condition. In view of other constraints beyond the control of the Contractor, primarily due to statutory compulsion, extension of delivery time may also be considered on merit of individual case. 
In case of a force majeure condition, the Contractor shall notify APGCL in writing such condition within 10 (ten) days from the beginning of such delay for consideration and acceptance. Unless otherwise directed by the Purchaser (APGCL) in writing, the Supplier (Contractor) shall continue to perform its obligations under the Contract as far as is reasonably practical and shall seek all reasonable alternative means for performance not prevented by the Force Majeure event.
6.10 Settlement of Disputes:

a. Amicable Settlement:
If any dispute or difference (s) of any kind whatsoever arise between the parties in connection with or arising out of the work/contract, including without prejudice to the generality of the foregoing, any question regarding its existence, validity or termination, or the execution of the Contract whether during the progress of the Contract or after its completion and whether before or after the termination, abandonment or breach of the Contract, the parties shall seek to resolve any such disputes or differences by mutual consultation between the authorized representatives of both the parties for amicable settlement of the dispute within a period of ninety (90) days after receipt by one party of the other party’s request for such amicable settlement.
b. Arbitration:

Any dispute, controversy or claim arising out of or relating to this work/contract or the breach, termination or invalidity thereof, that cannot be settled amicably between both the parties shall be settled by Arbitration.
In any arbitration proceeding hereunder-
a) Arbitration shall be in accordance with the Arbitration & Conciliation Act, 1996 or any statutory amendment thereof.

b) Arbitration shall be by a sole arbitrator, if agreed upon by the Parties. Failing agreement on the identity of such sole arbitrator, each Party shall appoint one arbitrator, and these two appointed arbitrators shall jointly appoint a third arbitrator, who shall chair the arbitration panel and act as the Presiding Arbitrator.

c) In an arbitration proceeding consisting of three arbitrators, if a party fails to appoint an arbitrator within 30 days from the receipt of a request to do so from the other party; or the two appointed arbitrators fail to agree on the third arbitrator within thirty days from the date of their appointment, the appointment shall be made upon request of a party by the High Court or by the President, Institution of Engineers (India), Assam State Centre.
d) In an arbitration with sole arbitrator, if the parties fail to agree on the arbitrator within 30 days from receipt of a request by one party from the other party to so agree, the appointment shall be made, upon request of a party, by the High Court or by the President, Institution of Engineers (India), Assam State Centre.

e) Proceedings shall, unless otherwise agreed by the Parties, be held in Guwahati.

f) English language shall be the official language for all purposes.

g) Decision of the sole arbitrator or of a majority of the arbitrators (or of the third arbitrator if there is no such majority) and the Arbitral Award shall be final and binding on the parties and the persons claiming under them respectively and shall be enforceable in any court of competent jurisdiction, and the Parties hereby waive any objections to or claims of immunity in respect of such enforcement.

h) The arbitrators and the parties to the arbitration shall maintain confidentiality of all arbitral proceedings except award where its disclosure is necessary for the purpose of implementation, enforcement and setting aside of the award.

i) The cost of arbitration shall be equally shared among both the parties.

6.11 Legal Jurisdiction:  

Any disputes or differences arising under, out of, or in connection with this work/contract, shall be subject to the exclusive jurisdiction of courts at Guwahati only.
6.12 Mistakes/Errors in submitted Bid: 
The Contractor shall be responsible and liable for any change in the work due to any discrepancies, errors, or omissions in the submitted bid which have arisen due to inaccurate information or particulars furnished by the Contractor, even though approved by APGCL.
6.13 Indemnification:
The Contractor shall indemnify APGCL against all claims, actions, suits and proceedings for the infringement or alleged infringement of any patent, design or copyright protected either in the country of origin or in India for the use of any equipment supplied by the Contractor but such indemnity shall not cause any use of the equipment other than for the purposes indicated by or reasonably to be inferred from the specification.
6.14 Subletting Contract: 
The Contractor shall not, without the consent in writing of APGCL assign or sublet his contract, or any substantial part thereof, or interest therein of benefit or advantage whatsoever, other than for raw materials or for minor details or for any part of the work of which the Sub-contractors are named in the tender provided any such consent shall not relieve the Contractor from any obligation, duty or responsibility under the contract.
6.15 Variation of Quantity: 
APGCL might increase or decrease the quantity of materials by 20% if so required and the bidder shall agree to the same and shall supply the materials at the same quoted rates/prices in BOQ and terms and conditions stipulated in the tender except in regard to delivery schedule/work completion period, which shall be mutually agreed upon in case of increase in the ordered quantity from that in the tender.
6.16 Co-Operation with Other Contractors: 
The Contractor shall agree to co-operate with the APGCL's other contractors for associated supplies and freely exchange with them such technical information as is necessary to obtain the most efficient and economical design and to avoid unnecessary duplication. No remuneration shall come from APGCL for such technical co-operation.
6.17 Contractual Failure: 
In the event of contractual failure of any respect on the part of the Contractor, APGCL shall be entitled to forfeit the performance security deposit or any deposit or any payment due to the Contractor from this or his other contracts towards the recovery of APGCL's claim for damages arising out of the failure of the Contract. In addition, APGCL may black-list or ban the Contractor or pending enquiry, suspend him or take any other steps considered suitable.
6.18 Rejection: 
In the event, any of the materials supplied by the Contractor or work executed is found defective or otherwise not in conformity with the requirements of the contract/tender specifications, APGCL shall either reject the material/work or request the Contractor in writing to rectify the same. The Contractor, on receipt of such notification shall rectify or replace the defective material/rectify the defective work free of cost to APGCL. If the Contractor fails to do so, APGCL may at its option: -
(a) Replace or rectify such defective/non-conforming material/correct the defective work and recover the extra cost so involved plus 15% as overhead charge from the Contractor, or
(b) Terminate the contract for default, or
(c) Acquire the defective material at a reduced price as considered equitable under the circumstances. 

6.19 Deduction from Contract Price: 
All cost, damages or expenses which APGCL may have made for which, under the contract, the Contractor is liable, may be deducted by APGCL from any money due or becoming due by APGCL to the Contractor or may be recovered by action at law or otherwise from the Contractor.

In the event of recovery to the necessary extent becoming impossible owing to insufficiency of the earnest money/security deposit and withheld amounts, the balance due to APGCL may at the option of APGCL be recovered from any money due to the Contractor from APGCL under other contracts with the Contractor.
6.20 Death, Bankruptcy etc.: 
If the Contractor becomes bankrupt or being a corporation is in the process of winding up, amalgamation or reorganization, then APGCL shall be at liberty to: -
(a) Terminate the contract forthwith by notice in writing to the Contractor or to the liquidator or receiver or to any person in whom the contract may become vested.
(b) Give such liquidator, receiver or other person the option of carrying out the contract subject to his providing a guarantee for the due and faithful performance of the contract up to an amount to be determined by APGCL.

In case of death of the Contractor before completion of the work, then APGCL shall be at liberty to:

(a) Close up the contract and take over the completed portion of work/supply done and made as per specification and make final payment to the legal heir of the Contractor on receipt of claim from such legal heir.
(b) Give the contract to the legal heir of the Contractor subject to his depositing a performance security for the due and faithful performance of the contract. The performance security amount shall be determined by APGCL commensurate with the incomplete portion of the work/supply. APGCL will enter into a fresh contract with the legal heir of the Contractor on the same terms and conditions of the earlier contract.

6.21 Regulation of Local Authorities:
The Contractor shall abide by the regulation of local Authorities unless such regulation is repugnant to any terms of the contract agreed upon.

The Contractor is required to fulfill all criteria related to Labour Laws.

The Contractor will also comply with all regulations/directives of both State & Central Government Pollution Boards. 
6.22 Suspension Of Business Dealings with Firms/Contractors: 
APGCL may suspend business dealings with a Firm/Contractor, if:

(a) The Central Bureau of Investigation or any other investing agency recommends such a course in respect of a case under investigation; and if a prima facie case is made out that the firm is guilty of an offence involving unethical, unlawful, fraudulent means in relation to business dealings, which, if established, would result in business dealings with it being banned.
(b) APGCL has past record of non-performance of the Firm in it’s previously awarded contracts.
(c) APGCL has record of ban against the Firm by other Government / Public sector utility.
(d) However, APGCL shall give the Firm/Contractor a fair chance to explain the circumstances of such previous suspensions.

6.23 Banning Of Business Dealings with Firms/ Contractors: 
APGCL may ban business dealings with a Firm/Contractor, if:
(a) The owner (s) of the Firm/Contractor is convicted by a court of law following prosecution for offences involving unethical, unlawful, fraudulent means in relation to business dealings.
(b) There is strong justification that the Firm has been guilty of malpractices, such as, bribery, corruption, fraud, substitution of tenders, misrepresentation, evasion or habitual default in payment of any Government tax, etc.
(c) The Firm continuously refuses to return government dues without showing adequate cause and Government are reasonably satisfied that this is not due to reasonable dispute which would attract proceeding in arbitration or court of law.
(d) The Firm is found guilty of being involving in unethical practices, such as:
1. "Corrupt practice" involving offering, giving, receiving or soliciting, directly or indirectly, of anything of value to influence the action of any such official procurement process or in contract execution.
2. "Fraudulent practice" involving misrepresentation or omission of facts in order to influence a procurement process or the execution of a contract to the detriment of the Employer.
3. "Collusive practice" involving a scheme among bidders (prior to or after submission) designed to establish bid prices at artificial non-competitive levels and to deprive the Employer of the benefits of free and open competition.
4. “Coercive practice” involving harming or threatening to harm directly or indirectly, persons or their property to influence procurement process or the execution of a contract.
APGCL may sanction a Firm/ Contractor or its successor, including declaring ineligible, indefinitely or for a period of not less than 3 (three) years.
6.24 Language:

Contract as well as all correspondence and documents relating to the Contract exchanged by the Contractor and the Purchaser (APGCL), shall be written in English language. Supporting documents and printed literature that are part of the Contract may be in another language provided they are accompanied by a self-certified accurate translation of the relevant passages in English language, in which case, for purposes of interpretation of the Contract, this translation shall govern.
The Contractor shall bear all costs of translation to the governing language and all risks of the accuracy of such translation, for documents provided by the Supplier.
6.25 Joint Venture or Consortium:
If the Contractor is a joint venture, or consortium, all the parties shall be jointly and severally liable to the Purchaser (APGCL) for the fulfillment of the provisions of the Contract and shall designate one party to act as a leader with authority to bind the joint venture or consortium. The composition or the constitution of the joint venture or, consortium, shall not be altered without the prior consent of the Purchaser (APGCL).
In the case of a Joint Venture: -

(a) no partner of the Joint Venture shall submit an independent bid for the same package for which the Joint Venture submits a bid as this shall constitute conflict of interest;

(b) all partners of the Joint Venture shall be jointly and severally liable for the bid and for the execution of the Contract in accordance with the terms of the contract and a relevant statement to this effect shall be submitted by them in evidence thereof;

(c) in the event of the bid of Joint Venture being accepted, they shall either form a registered Joint Venture Company or a Limited Liability Partnership, or a Partnership Firm or else the contract documents and the Joint Venture Agreement, etc. shall be duly signed and executed in such a manner as may be required for making it legally binding on all partners and clearly indicating, amongst other things, the proposed distribution of responsibilities, both financial as well as technical, for execution of the work amongst them; and

(d) the Joint Venture shall nominate a Lead Partner who shall have the authority to conduct all business for and on behalf of any or all the parties of the Joint Venture during the bidding process and during execution of the contract. This authorization shall be evidenced by submitting a power of attorney signed by the legally authorized signatories of all the partners or, otherwise, all the parties in Joint Venture shall sign the Agreement.
6.26 Nationality and Country of Origin Requirements:

The Contractor and its Subcontractors shall have the nationality of any country with which India has not banned trade relations.

All Goods to be supplied under the contract shall have their origin in India or any other country with which India has not banned trade relations. The term “origin” used in this clause means the place where the goods are mined, grown, produced, or manufactured or from where the related services are arranged and supplied.

6.27 Tax and Duty Responsibility.:

The Contractor shall be responsible for all taxes, duties, license fees, etc. incurred until completion of contracted work of the purchaser (APGCL).
6.28 Inspection & Testing:
6.28.1 The Contractor shall at its own expense and at no cost to the Purchaser (APGCL) carry out all such tests and/or inspections of the Offered Goods as specified in this document or as per any Standard Practice/Requirement. 

6.28.2 The inspections and tests may be conducted on the premises of the Supplier (Contractor) or its Subcontractor, at point of delivery, and/or at the Goods’ final destination, or in another place in India. All reasonable facilities and assistance including access to drawings and production data, shall be furnished to the inspectors at no charge to the Purchaser (APGCL).
6.28.3 If required, the Purchaser (APGCL) or its designated representative shall be entitled to attend the tests and/or inspections, and the Purchaser (APGCL) will bear its own costs and expenses incurred owing to traveling and board and lodging expenses only.
6.28.4 Whenever the Supplier (Contractor) is ready to carry out any such test and inspection, it shall give a reasonable advance notice, including the place and time, to the Purchaser (APGCL). The Supplier shall obtain from any relevant third party or manufacturer any necessary permission or consent to enable the Purchaser (APGCL) or its designated representative to attend the test and/or inspection.
6.28.5 The Supplier (Contractor) shall provide the Purchaser (APGCL) with a report of the results of any such test and/or inspection.
6.28.6 The Purchaser (APGCL) may reject any Goods or any part thereof that fail to pass any test and/or inspection or do not conform to the specifications. The Supplier (Contractor) shall either rectify or replace such rejected Goods or parts thereof or make alterations necessary to meet the specifications at no cost to the Purchaser (APGCL), and shall repeat the test and/or inspection, at no cost to the Purchaser (APGCL), upon giving a notice.
6.28.7 The Supplier (Contractor) agrees that neither the execution of a test and/or inspection of the Goods or any part thereof, nor the attendance by the Purchaser or its representative, nor the issue of any report, shall release the Supplier (Contractor) from any warranties or other obligations under the Contract.
6.29 Confidential Information:

a. Any information derived or otherwise communicated by the Purchaser (APGCL) to the Supplier (Contractor) in connection with the contract shall be kept / treated as secret and shall not without written consent of the Purchaser (APGCL) be published or disclosed to any third party or made use of by the Supplier except for the purpose of execution of the contract. 
b. The Purchaser (APGCL) and the Supplier (Contractor) shall keep confidentiality and shall not, without the written consent of the other party hereto, divulge to any third party any documents, data, or other information furnished directly or indirectly by the other party hereto in connection with the Contract, whether such information has been furnished prior to, during or following completion or termination of the Contract. Notwithstanding the above, the Supplier may furnish to its Subcontractor such documents, data, and other information it receives from the Purchaser to the extent required for the Subcontractor to perform its work under the Contract, in which event the Supplier shall obtain from such Subcontractor an undertaking of confidentiality like that imposed on the Supplier under GTC Clause Copyright.
c. The Purchaser (APGCL) shall not use such documents, data, and other information received from the Supplier (Contractor) for any purposes unrelated to the contract. Similarly, the Supplier shall not use such documents, data, and other information received from the Purchaser for any purpose other than the performance of the Contract.
d. The obligation of a party under GTC Sub-Clauses 6.29 (a, b, c) above, however, shall not apply to information that:

i. the Purchaser or Supplier need to share with the such institution(s) participating in the financing of the Contract;

ii. now or hereafter enters the public domain through no fault of that party;

iii. can be proven to have been possessed by that party at the time of disclosure and which was not previously obtained, directly or indirectly, from the other party; or

iv. otherwise lawfully becomes available to that party from a third party that has no obligation of confidentiality.

e. The above provisions of GTC Clause 6.29 shall not in any way modify any undertaking of confidentiality given by either of the parties hereto prior to the date of the Contract in respect of the Supply/Work or any part thereof.
f. The provisions of GTC Clause 6.29 shall survive completion or termination for whatever reason, of the Contract.
6.30 Limitation of Liability:

Except in cases of criminal negligence or willful misconduct, the aggregate liability of the Supplier (Contractor) to the Purchaser (APGCL), whether under the Contract, in tort or otherwise, shall not exceed the total Contract Price, provided that this limitation shall not apply to the cost of replacing the substandard Goods supplied/ substandard work executed, or to any obligation of the supplier to indemnify the purchaser (APGCL) with respect to patent infringement.

6.31 Copyright:

The copyright in all drawings, documents, and other materials containing data and information furnished to the Purchaser (APGCL) by the Supplier (Contractor) herein shall remain vested in the Supplier, or, if they are furnished to the Purchaser/Authority directly or through the Supplier by any third party, including suppliers of materials, the copyright in such materials shall remain vested in such third party.
SECTION VII

7. Special Terms and Conditions
7.1 Terms of Payment:

The payments shall be made subject to compliance with the Performance Security Deposit Clause of this tender. 

Supply Part:

Seventy percent (70%) of the Supply Part Value, inclusive of one hundred percent (100%) of the applicable Goods and Services Tax (GST), shall become due and payable against submission of the Supplier’s invoice, Warranty Certificate, Fitment Certificate, etc. and subjected to the successful, complete delivery and acceptance of the ordered items at the APGCL stores in good condition.

Works Part:

The remaining thirty percent (30%) of the Supply Part Value, together with one hundred percent (100%) of the Works Part Value (inclusive of applicable GST), shall become due and payable upon the successful completion of Retrofitting Installation, Testing and Commissioning of the supplied 145 kV Isolators at 132 kV Switchyard of Lakwa Thermal Power Station, APGCL, strictly in accordance with the terms and conditions of the Order and on successful handing over the site to APGCL.

Paying Authority:

The Chief General Manager (F&A), APGCL,

3rd Floor, Bijulee Bhawan, Paltan Bazar,

Guwahati-781001.

Note: 

· All bills are to be processed through The General Manager (LTPS), APGCL.
· Performance Bank Guarantee shall be submitted by the successful bidder within 28 (twenty-eight) days after receipt of the Work Order/Purchase Order from the Procuring Entity (APGCL) or before signing of the Contract, whichever is earlier.

7.2 Warranty Clause:

i. The materials supplied as well as workmanship shall carry a warranty covering a minimum period for rectification/free replacement thereof. The Contractor warrants that all the Goods are new, unused, and of the most recent or current models, and that they incorporate all recent improvements in design and materials, unless provided otherwise in the Tender document of APGCL. The Contractor further warrants that the Goods shall be free from defects arising from any act or omission of the Contractor or arising from design, materials, and workmanship, under normal use in the conditions prevailing in the state. The term “period of warranty" shall mean the period of 12 (Twelve) months from the date of successful commissioning of the ordered materials or 18 (eighteen) months from the date the materials are received in APGCL’s Store in good and acceptable conditions, whichever is earlier. During the period of warranty, the Contractor shall rectify all defects in design, materials and workmanship that may develop under normal use of the equipment upon written notice from the APGCL Engineer who shall indicate in what respects the equipment is faulty. This rectification/free replacement must be carried out within a reasonable period as determined and directed by the APGCL. The cost of rectification/free replacement will be to the Contractor’s account.
ii. If the Contractor fails to rectify the defects within a reasonable time, APGCL may fix a date by which the Contractor would rectify the defects, failing which the APGCL may:
(a) Carry out remedial work himself or through others, in a reasonable manner and at the contractor’s risk and cost. The cost incurred by APGCL in remedying the defects shall be recovered from the Contractor by APGCL.

(b) Determine and certify a reasonable reduction in the contract price or

(c) May terminate the contract in respect of such parts of the work and APGCL shall be entitled to recover all sums paid for such parts of the work.
(d) May forfeit either in part or in full, Performance Security Deposit.
7.3 Work Completion Period:

Supply Part: The Work Completion Period for the supply of all materials ordered, as per the Order, shall be Two Hundred Forty (240) days from the date of drawing & document approval by APGCL.
Submission and approval of Drawings and Documents

The successful bidder shall submit all required drawings and documents for approval to APGCL within twenty-one (21) days from the date of issue of the Work Order. However, all approvals process including revision of drawings and documents shall be completed by successful Bidder within the Forty-Five (45) days from date of issue of work order.

Any delay in submission of drawings or documents by bidder beyond the specified period shall be solely attributable to the bidder. However, time taken by APGCL for verification/approval of such drawings/documents shall not be attributable to the bidder in this case. 
Dismantling, Installation, Testing and Commissioning Part (Service Part): The dismantling of existing isolators, etc., installation, testing, and commissioning of all new supplied materials, along with all associated works as per the Order, shall be completed within Thirty (30) days from the date of issue of site clearance by APGCL.
The Bidder shall submit the breakup of their Order Execution Schedule during submission of their technical bid and they shall adhere to the submitted Order execution Schedule during order execution.
	Timeline for Work Execution

	For Supply Part (Item Wise):
	
	No. of Days from placing the PO

	
	a.
	Beginning of Manufacturing Process
	

	
	b.
	Completion of Manufacturing
	

	
	c.
	Materials Ready for dispatch at bidder’s/manufacturer’s factory/warehouse.
	

	
	d.
	Dispatch of Materials
	

	
	e.
	Transportation Time to LTPS site
	

	
	f.
	Delivery of materials at LTPS site
	

	

	For Service Part:
	a.
	The bidder shall mention milestone wise timeline of the work execution schedule of the Service Part.
	

	
	b.
	
	

	
	c.
	
	

	
	d.
	
	

	
	e.
	
	

	
	f.
	
	


Any delay in the submission of drawings, supply of materials or completion of installation, testing, and commissioning works can attract Liquidated Damages (LD) as stipulated under the Liquidated Damage Clause of this tender.
7.4 Liquidated Damage (LD):

The date of delivery/ completion of work shall be deemed to be the essence of the contract and shall be completed not later than the date specified in the order/ contract. In case of failure to deliver the material / equipment in full or to complete the work in full or to deliver the material or perform service within the stipulated work completion period, the Purchaser/Employer (APGCL) shall be entitled to: -
7.4.1 Recover an amount at the rate of 1 % (one percent) of the Contract Price/Order value per week or part thereof of delay, subjected to maximum of 10 % (ten percent) of the Contract Price/ Order value of Material/Work (service) delayed as Liquidated Damage. However, the payment of liquidated damage shall not in any way relieve the Contractor from any of its obligations to complete the work or from any other obligation and liabilities of the Contractor under the Contract/as per work order.

7.4.2 Purchase the undelivered material/equipment from elsewhere or to complete the balance work, giving notice to the Contractor and to recover any extra expenditure incurred thereby for having to purchase these materials or complete the work at a higher price, at risk and responsibility of the Contractor.
7.4.3 Cancel the Contract/Order wholly or in part and to purchase materials/equipment and execute the work at the full risk and cost of the Contractor and forfeit the security deposit.  
7.5 Technical Specifications, Drawings, Test Reports etc.:

The following shall be provided by the bidder in their technical bid.

(a) Technical Data Sheet/Specification of the offered Isolators in the format provided in Section IV: Schedule of requirements. 

(b) GA drawing of the offered Isolators.

(c) Type Test Report of the offered Isolators.

(d) Any other relevant information related to the work.

7.6 Inspection, Testing, and Dispatch Clearance
7.6.1 Right of Inspection:

APGCL reserves the right to carry out inspection and/or witness acceptance and routine tests of the manufactured equipment/goods either during the fabrication process or after the completion of manufacturing.

7.6.2 Intimation for Inspection:

The Contractor shall inform the Chief General Manager (Gen.), APGCL at least 15 (fifteen) days in advance regarding the period when the materials will be ready for inspection and testing at the manufacturer’s works. APGCL shall depute its engineers to witness the inspection and testing activities.

7.6.3 Factory Acceptance Tests (FAT):

The bidder shall arrange for the conduct of all Factory Acceptance Tests in accordance with relevant IS/IEC standards and as specified in Section IV: Schedule of Requirement, free of charge to APGCL.

7.6.4 Dispatch Clearance:

Materials shall be dispatched to the site only after receiving dispatch clearance from the Chief General Manager (Gen.), APGCL, subsequent to satisfactory testing and inspection.

7.7 Cyber Security Clause:
In case applicable for the Offered Products/Tendered Products, bidders shall note and adhere to the following requirements as given below under Cyber Security: -

All bidders shall adhere to the Order of Ministry of Power, Govt. of India, No. 12/34/2020 – T&R, dated 24/12/2021 and No. 25-10/72/2024-PG, dated 06/08/2025 regarding Testing of power system equipment for use in the Supply System and Network in the Country for Cyber Security and shall also follow the Guidelines of CEA for Cyber Security in Power Sector, 2021. The products offered and thereafter supplied by bidder shall adhere to the above Order and Guidelines or any amendments issued/recent Guidelines. Bidder shall submit all the requisite documents in this regard including Test Certificates, etc. from Designated Laboratories of their offered/supplied products and shall fulfil all the mandatory requirements in this regard.

Bidder shall submit his signed & sealed confirmation regarding adherence to the above requirements along with all mandatory documents, test reports from Designated Laboratories, etc. in technical bid.

Note: Order of Ministry of Power, Govt. of India, No. 12/34/2020 – T&R, dated 24/12/2021 and No. 25-10/72/2024-PG, dated 06/08/2025 and Guidelines of CEA for Cyber Security in Power Sector, 2021 are attached herewith for reference of bidders.

7.8 Mandatory documents:

The bidder must upload the scanned copies of the following mentioned documents along with the technical bid on assamtenders.gov.in, failing which the submitted bid of the bidder may be treated non-responsive. 

Note: All submitted documents, annexures, data sheets, statutory documents, financial documents, etc. must be signed/counter-signed by the bidder’s competent person named in the Power of Attorney document – Form B6. 
(a) Copy of PAN Card and EPF Registration.
(b) Copy of GST Registration Certificate of the bidder’s Firm.
(c) Documents related to bidder’s eligibility and past experience.
(d) Documents related to bidder’s Firm: Certificate of registration of the Firm (in case of Solo Proprietor)/Certificate of Incorporation (in case of Company), Joint Venture Agreement, etc. whichever is applicable. Note: In case of Joint Venture (JV), the bidder must be the Lead Partner in the JV.
(e) Documents related to the bidder’s average annual, Turnover, Net Worth during 03 (three) Financial Year (FY 2022-23, 2023-24 & 2024-25) These documents must be certified by a Chartered Accountant.
(f) Signed & Sealed Confirmation from Bidder stating that they had quoted for all items (entire bidder’s scope) required as per this Tender Clause Section-IV: Schedule of Requirements)/BoQ1. No Part Offer is accepted.
(g) All Technical documents of the product offered (as per Clause 7.5).
(h) Type Test Report of offered Isolators.

(i) Payment proof of EMD.

(j) Authorization Letter in case the bidder is not the manufacturer.
(k) Statutory document of Manufacturer of the offered materials along with address details, etc.
(l) All Bidding forms (B1 to B10), duly filled up as per the instructions provided therein.
(m) All other documents as sought in this Tender.  
(n) Any other document as deemed necessary as per this tender of APGCL.
                                                                                        --Sd--
   




                       Chief General Manager (Gen),
                                                                             APGCL, Guwahati-1
Annexures:

1. Annexure-I: Drawings for reference of bidder.
2. Annexure-II: Order of Ministry of Power, Govt. of India, No. 12/34/2020 - T&R, dated 24/12/2021.

3. Annexure-III: Order of Ministry of Power, Govt. of India, No. 25-10/72/2024-PG, dated 06/08/2025

4. Annexure-IV: Guidelines of CEA for Cyber Security in Power Sector, 2021.

